| SCR Number | 793 | SCR Title | SSR Related Telemetry for Cross Texas Transmission |
| --- | --- | --- | --- |
| Date of Decision |  | November 9, 2017 |  |
| Action |  | Tabled |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | To be determined |  |
| Priority and Rank Assigned |  | To be determined |  |
| Supporting Protocol or Guide Sections/Related Documents |  | Protocol Section 3.22.3, Subsynchronous Resonance Monitoring |  |
| System Change Description |  | This System Change Request (SCR) is intended to provide situational awareness of Subsynchronous Resonance (SSR) precursor conditions. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | Access to ERCOT-generated status telemetry, derived from monitoring Outages associated with SSR conditions, aids Cross Texas Transmission (CTT) operators in the reliable operation of series capacitor banks. CTT operators should have the same situational awareness as ERCOT operators. CTT can passively monitor affected line statuses, but without the calculated SSR condition monitoring points, CTT operators will not have the same visibility as ERCOT Operations. Preemptively bypassing series compensation to mitigate possible SSR scenarios will be impactful to the system during periods of high wind generation. To ensure reliable operations, all personnel involved with these switching decisions should have the same situational awareness. |  |
| PRS Decision |  | On 11/9/17, PRS unanimously voted to table SCR793 and refer the issue to ROS. All Market Segments were present for the vote. |  |
| Summary of PRS Discussion |  | On 11/9/17, participants discussed the need for the sponsor of SCR793 to provide additional explanation and description of the system changes that would be required by this SCR, and the need for ROS review of the procedures for management of series capacitors and concerns with having multiple entities engaged in the management of series capacitors. Participants also requested WMS review any recommendations provided by ROS for potential market impacts, particularly those related to asymmetrical access to information between Market Participants. |  |

| Sponsor |  |
| --- | --- |
| Name | Bharath K Ravulapati |
| E-mail Address | bravulapati@crosstexas.com |
| Company | Cross Texas Transmission, LLC |
| Phone Number | 512-982-5803 |
| Cell Number | 662-694-9125 |
| Market Segment | Investor Owned Utility (IOU) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Kelly Landry |
| E-Mail Address | klandry@ercot.com |
| Phone Number | 512-248-4630 |

Proposed System Change

Issue:

Transmission Service Provider (TSP) would like Subsynchronous Resonance (SSR) messages via Inter-Control Center Communications Protocol (ICCP).

Resolution:

This request will require -

1.	Either Real-Time Contingency Analysis (RTCA) code changes (or USERCAL implementation)

2.	Common Information Model (CIM) changes

3.	Alarm configuration/model changes

4.	ICCP Handbook change and Market Notice.