## Slide 1: Planning Geomagnetic Disturbance Task Force (PGDTF) Update to the ROS
January 11, 2018
Omar Urquidez
PGDTF Chairman
<number>
1/11/2018 ROS Meeting

## Slide 2: RARF Data Submission Update
RARF Submissions Expected - 289
  4 not submitted, 29 submitted but not accepted, all others accepted via validation rules
Resource Entity Substations Expected – 348
  313 substations accounted for, 35 substation records missing, completion rate 90%
<number>
1/11/2018 ROS Meeting

## Slide 3: Activities of the PGDTF – Nov
PGDTF Business Meetings on Nov 17th (Open)
  Finalized GIC System Model Procedure Manual for ROS approval
  Revisited Vulnerability Assessment Scope & Process and draft PGRR language for TPL-007-1 Requirement 3-Criteria
  Presentation on Transformer K Factor Assumptions
  Finalized 2018 Leadership Nominations
  Discussed NERC Approval of TPL-007-2
GIC System Model Building Face to Face Meeting – Nov. 16th (TSP Only)
  Began in depth transformer data reviews
  Began discussing GIC flow interpretation methods
  TSPs to begin submitting 2021 Summer Peak and 2021 MIN data December 1st
  Will be adding additional face to face meeting days for 2nd & 3rd Pass
  Next Model Face to Face Meeting is Jan. 10th & 11th
<number>
1/11/2018 ROS Meeting

## Slide 4: Activities of the PGDTF – Dec
PGDTF Business Meetings on Dec 13th (Open)
  Commented on Vulnerability Assessment Scope & Process and provided preliminary target dates
  Crafted four criteria options for consideration at January PGDTF Business Meeting (TPL-007-1 Requirement 3-Criteria)
  Discussed NERC Approval of TPL-007-2
    Implementation discussions tabled until other higher priority matters completed
<number>
1/11/2018 ROS Meeting

## Slide 5: Final GIC System Model Timeline
TSP Resubmission Deadline – October 20th
First Pass Release RAW & GIC Files – November 10th
First Pass GIC/VAR Values – November 13th
GIC Model Review Face to Face Meeting – November 16th
First Pass TSP Update Deadline – December 1st
Second Pass Release RAW & GIC Files – December 21st
Second Pass GIC/VAR Values – December 22nd
GIC Model Review Face to Face Meeting – January 10th & 11th
Second Pass TSP Update Deadline – January 19th
Third Pass Release RAW & GIC Files – January 28th
Third Pass GIC/VAR Values – January 29th
GIC Model Review Face to Face Meeting – February 15th & 16th
Final Pass Release RAW & GIC Files – March 1st
Final Pass GIC/VAR Values – March 1st
<number>
1/11/2018 ROS Meeting

## Slide 6: Questions and Answers
<number>
1/11/2018 ROS Meeting