ERCOT VOLTAGE PROFILE WORKING GROUP (VPWG)

## January 11, 2018 Report to ROS

### Recent Meeting

- VPWG met on Nov 14 and Dec 05

- 2018 VPWG Chair & Vice Chair:

- Sharmila Gurrala(CPS Energy) Chair

- Mathew Lewis (AEP) Vice Chair

- Voltage Profiles posted: 2018 WIN/SPG voltage profiles were posted to ERCOT MIS on Dec 1.

- VPWG Procedure: Team finalized the Voltage Study Procedure. Procedure is available for posting.

- NPRR776: ERCOT discussed further details of modelling and control room practices during use of the new setpoint and analog voltage. ERCOT is planning on sending out materials and conducting a training/tutorial session for TSPs to model in ERCOT IMM.

- RFI for Reactive Device Control Temporal Constraints: VPWG worked with ERCOT on survey for the RPC tool. ERCOT sent out the survey in November, and received good temporal constraint data back from TSP’s.

- NPRR849 - Clarification of the Range of Voltage Set Points at the Generation POI (an update to Protocol 3.15). VPWG will work with OWG at the earliest opportunity for joint discussion.

### Future Planned Meeting

- Next VPWG will be held on Jan 23.

Sharmila Gurrala	Mathew Lewis

VPWG Chair	VPWG Vice-Chair