ERCOT DYNAMICS WORKING GROUP (DWG) &

DYNAMIC MODEL TASK FORCE (DMTF)

## January Report to ROS

**DWG Update**

DWG met November 7-8, 2017

1. **Updated DWG Procedure Manual (ROS voting item)**
   1. Finalized new section on unacceptable dynamic models.
   2. Minor updates to other parts of the manual.
2. **Discussed 2018 Flat Start Case Building**
   1. 4700 MW of generation retiring between Dec 2017 and Feb 2018.
   2. DWG decided to remove the 4700 MW of generation and increase the wind dispatch to compensate in the flat start cases.
3. **Discussed Dynamic Load Model Issues**
   1. Issues related to case convergence and setting of load model parameters.
   2. ERCOT planning to hold a dynamic load model workshop with TSP’s in the first quarter of 2018.

**DMTF Update**

DMTF met December 12, 2017

1. **DMTF supports new Dynamic Model Template presented by ERCOT.**
   1. ERCOT/DMTF will host a Dynamic Model Template Workshop with TSP’s and RE’s on January 23rd.
   2. Goal is to get feedback from RE’s and TSP’s on usage of the templates for dynamic model submittals.
2. **DMTF supported addition of the unacceptable model list in the DWG procedure manual.**
   1. DMTF requests ERCOT to send out a market notice after ROS approval of DWG Procedure Manual to inform RE’s about the unacceptable model list.