DRAFT
Minutes of the Reliability Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, November 2, 2017 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Ayers-Brasher, Jennifer | E.ON |  |
| Bern, Alan | Oncor |  |
| Bunch, Kevin | EDF Energy Services |  |
| Burke, Tom | Golden Spread Electric Coop |  |
| Carter, Matt | Garland Power & Light | Alt. Rep. for Billy Lee |
| Coleman, Diana | OPUC |  |
| DeTullio, David | Air Liquide |  |
| Ee, Danny | Austin Energy |  |
| Fahey, Matt | Dynegy |  |
| Goff, Eric | Citigroup Energy |  |
| Greer, Clayton | Morgan Stanley |  |
| Hampton, Brenda | Luminant |  |
| Koellner, Kris | LCRA |  |
| Kroskey, Tony | Brazos |  |
| Kunkel, Dennis | AEP |  |
| Mejia, Arnulfo | Brownsville PUB | Alt. Rep. for Eli Alvarez |
| Moore, John | STEC |  |
| Palen, John | Reliant Energy Retail Services | Alt. Rep. for Robert Bailey |
| Reed, Cyrus | Sierra Club |  |
| Sandidge, Clint | Calpine Energy Solutions | Via Teleconference |
| Schwarz, Brad | Sharyland Utilities |  |
| Staples, Boone | Tenaska Power Services |  |
| Vo, Trieu | CPS Energy |  |
| Woitt, Wes | CenterPoint Energy |  |

| Guests: |  |  |
| --- | --- | --- |
| Abbott, Kristin | PUCT | Via Teleconference |
| Alford, Anthony | CenterPoint Energy | Via Teleconference |
| Bowen, Kenneth | CPS Energy | Via Teleconference |
| Bruce, Mark | Cratylus Advisors |  |
| Checkley, Jim | Cross Texas Transmission |  |
| Cook, Tim | Cross Texas Transmission | Via Teleconference |
| Coon, Patrick | MegaWatt Analytics |  |
| Cripe, Ramsey | Schneider Engineering | Via Teleconference |
| Downey, Marty | Enchanted Rock | Via Teleconference |
| Eckhoff, Christina | Texas RE | Via Teleconference |
| Galliguez, Percy | Brazos |  |
| Gillean, Rick | Cross Texas Transmission |  |
| Graham, Greg | Texas RE | Via Teleconference |
| Gray, Stan | Southern Cross |  |
| Gross, Blake | AEP |  |
| Henderson, Norris | FERC | Via Teleconference |
| Henry, Mark | Texas RE |  |
| Holland, Mike | Oncor | Via Teleconference |
| Jablonski, Ward | CenterPoint Energy | Via Teleconference |
| Jones, Liz | Oncor | Via Teleconference |
| Juricek, Mike | Oncor | Via Teleconference |
| Khayat, Maribel | CenterPoint Energy | Via Teleconference |
| Kremling, Barry | GVEC |  |
| Lane, Rob | Oncor |  |
| Lange, Clif | STEC | Via Teleconference |
| Morris, Sandy | Direct Energy | Via Teleconference |
| Moss, Steven | E.ON |  |
| Mueller, Paula | Texas RE | Via Teleconference |
| Owens, Frank | Cross Texas Transmission | Via Teleconference |
| Powell, Christian | LCRA |  |
| Ravulapati, Bharath | Cross Texas Transmission | Via Teleconference |
| Reid, Michael | Air Liquide |  |
| Reid, Walter | Wind Coalition |  |
| Rochelle, Jennifer | CES |  |
| Siddiqi, Shams | Crescent Power Inc. | Via Teleconference |
| Smith, Caitlin | Jewell & Associates | Via Teleconference |
| Solis, John | AEP | Via Teleconference |
| Thompson, David | PECI | Via Teleconference |
| Turner, Lucas | STEC | Via Teleconference |
| Urquidez, Omar | CenterPoint Energy |  |
| White, Lauri | AEP |  |
| Whitworth, Doug | Texas RE | Via Teleconference |
| Wittmeyer, Bob | Denton Municipal Electric |  |
| Williams, Scot | Oncor | Via Teleconference |

| ERCOT Staff: |  |  |
| --- | --- | --- |
| Anderson, Connor |  | Via Teleconference |
| Billo, Jeff |  |  |
| Bracy, Phil |  |  |
| Du, Pengwei |  | Via Teleconference |
| Flores, Isabel |  |  |
| Garcia, Freddy |  |  |
| Janak, Sarah |  | Via Teleconference |
| Li, Weifang |  | Via Teleconference |
| Mago, Nitika |  | Via Teleconference |
| Phillips, Cory |  | Via Teleconference |
| Reed, Bobby |  | Via Teleconference |
| Rickerson, Woody |  | Via Teleconference |
| Searcy, Robbie |  | Via Teleconference |
| Shaw, Pamela |  | Via Teleconference |
| Solis, Stephen |  | Via Teleconference |
| Thompson, Chad |  |  |
| Williams, Leslie |  |  |
| Woodfin, Dan |  |  |
| Xiao, Hong |  | Via Teleconference |

Unless otherwise indicated, all Market Segments were present for a vote.

- 2017 ROS Chair Alan Bern called the meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Bern reviewed the ERCOT Antitrust Admonition, which was displayed.

Agenda Review

Mr. Bern reviewed items scheduled for a vote at this meeting and noted changes to the order for which items would be taken up.

- Approval of Meeting Minutes (see Key Documents)

September 7, 2017

David DeTullio moved to approve the September 7, 2017 ROS meeting minutes as submitted.  Cyrus Reed seconded the motion.  The motion carried unanimously.

Technical Advisory Committee (TAC) Update/Assignments (see Key Documents)

Southern Cross Assignments Update

Matt Mereness presented a progress update on the Southern Cross Transmission Project and relevant assignments to ROS working groups.

ERCOT Updates (see Key Documents)

Operations Report

Freddy Garcia presented the Operations Reports for September 2017.

System Planning Report

Jeff Billo presented the September 2017 System Planning Report.  Mr. Billo noted that requests for generation interconnection studies have increased over the past year, and that many requests have been focused on wind and solar resources.

Annual Updates on Unannounced Testing

Sandip Sharma summarized results of unannounced Generation Resource capacity tests from Summer 2017.

Proposed Changes to Ancillary Service Methodology for 2018

Mr. Sharma presented proposed changes to Ancillary Service Methodology for 2018, and stated that ERCOT is not recommending any changes to the methodology for determining Regulation Service and Responsive Reserve Service, and that changes to quantities are determined by historic data unless otherwise noted.  Mr. Sharma also stated that ERCOT is proposing two changes to the methodology for determining Non-Spinning Reserve (Non-Spin) Service in 2018: to include solar generation and solar forecast in the calculations for net Load and net Load forecast, and to include an adjustment to account for additional over-forecast uncertainty from projected increases in installed wind capacity.

Clayton Greer moved to endorse the proposed changes to Ancillary Service Methodology for 2018.  Tom Burke seconded the motion.  The motion carried unanimously.

Resource Integration and Ongoing Operations Project/Assignments

Isabel Flores informed Market Participants of the Resource Integration and Ongoing Operations Project, and suggested forming a task force in order to provide an appropriate forum for discussion.  There were no objections.

New Protocol Revision Subcommittee (PRS) Referrals

Nodal Protocol Revision Request (NPRR) 849, Clarification of the Range of Voltage Set Points at a Generation Resource’s POI

Mr. Burke moved to request PRS continue to table NPRR849 for additional review by the Operations Working Group (OWG) and Voltage Profile Working Group (VPWG).  Brenda Hampton Seconded the motion.  The motion carried unanimously.

NPRR851, Procedure for Managing Disconnections for Bidirectional Electrical Connections

Mr. Burke noted that NPRR851 would be discussed at the November 9, 2017 PRS meeting.  Mr. Bern referred NPRR851 to OWG for review.

Revision Requests Tabled at PRS, Previously Referred to ROS (see Key Documents)

NPRR828, Include Fast Frequency Response as a Subset of Responsive Reserve

Eric Goff stated that following the Wholesale Market Subcommittee’s (WMS) recommendation to reject NPRR828, the Qualified Scheduling Entity Managers Working Group (QMWG) was subsequently assigned to explore the concept of integrating storage products into existing Ancillary Service markets by making those services more technology neutral.  Mr. Reed requested an ROS working group be assigned to study the reliability aspects of this concept.  Mr. Bern referred the issue to the Performance, Disturbance, Compliance Working Group (PDCWG).

Mr. Greer moved to recommend rejection of NPRR828.  Ms. Hampton seconded the motion.  The motion carried with two opposing votes in the Independent Generator (E.ON), and Consumer (Sierra Club) Market Segments, and four abstentions in the Investor Owned Utility (Oncor, CenterPoint), Independent Power Marketer (EDF), and Municipal (CPS Energy) Market Segments.

NPRR835, Removing the Capacity Limits from Resources Providing Fast Responding Regulation Service (FRRS)

Mr. Moss noted that E.ON intends to submit a request for withdrawal for NPRR835.  ROS took no action on this item.

NPRR837, Regional Planning Group (RPG) Process Reform

ROS took no action on this item.

Revision Requests Tabled at ROS

Planning Guide Revision Request (PGRR) 059, Related to NPRR837, Regional Planning Group Process Reform

ROS took no action on this item.

Planning Geomagnetic Disturbance Task Force (PGDTF) (see Key Documents)

Omar Urquidez reviewed recent PGDTF activity.

Outage Coordination Working Group (OCWG) (see Key Documents)

OCWG Scope

Martha Henson presented revisions to the OCWG Scope.

Mr. Burke moved to approve the OCWG Scope.  Dennis Kunkel seconded the motion.  Market Participants offered additional revisions regarding additional assignments from ROS to the OCWG.  Due to the nature of the proposed changes, Ms. Henson requested that the additional revisions be discussed with OCWG participants prior to an ROS vote.  Mr. Burke withdrew his motion.

PDCWG (see Key Documents)

Percy Galliguez reviewed recent PDCWG activity.

BAL-001-TRE Standard Workshop & Assignments

Mark Henry stated that stakeholders have identified a number of areas for improvement regarding the BAL-001-TRE standard, and requested additional input from the PDCWG.  Mr. Bern referred this item to PDCWG for further review.

OWG (see Key Documents)

Rick Gillean reviewed recent OWG activity.

VPWG (see Key Documents)

Scot Williams reviewed recent VPWG activity.

Black Start Working Group (BSWG) (see Key Documents)

John Solis reviewed recent BSWG activity.

Operations Training Working Group (OTWG) (see Key Documents)

Mark Spinner reviewed recent OTWG activities and informed Market Participants of upcoming training events.

Steady State Working Group (SSWG) (see Key Documents)

Mike Holland reviewed recent SSWG activity.

Network Data Support Working Group (NDSWG) (see Key Documents)

Tony Kroskey reviewed recent NDSWG activity.

Resource Data Working Group (RDWG) (see Key Documents)

John Palen reviewed recent RDWG activity.

Other Business

Review of Open Action Items

Mr. Bern noted that the Open Action Items List had been updated to reflect new assignments related to the Southern Cross Transmission Project.

2018 ERCOT Membership/Segment Elections

ERCOT Staff reminded Market Participants of the November 10, 2017 deadline for 2018 ERCOT Membership, and stated that Segment representative elections would begin the following week on November 13, 2017.

Review of 2018 Meeting Calendar

Market Participants reviewed proposed ROS meeting dates for 2018.

Adjournment

Mr. Bern adjourned the November 2, 2017 ROS meeting at 12:14 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2017/11/2/108743-ROS