## Slide 1: PLWG Report to ROS
January 11, 2018

## Slide 2
Agenda
2018 PLWG Meeting Dates
NPRR-837 Referral (Aug 3, 2017) - UPDATE
  PGRR-059 Referral (Aug 3, 2017) - UPDATE
  Clarification of Projects Associated with Direct Interconnection of New Generation (Sep 7, 2017) - UPDATE
  SCT Directive 5: Planning Model Considerations (Sep 7, 2017) - UPDATE
  **Note that today’s presentation is intended to only provide an update of ongoing discussions at the PLWG. If there is interest in further exploring any contentious items, please plan to attend the next regularly scheduled meeting of the PLWG

## Slide 3
2018 PLWG Meeting Dates
Mon, Jan 29
Mon, Feb 26
Wed, Mar 28
Wed, Apr 25
Wed, May 23
Mon, Jun 18
Wed, Jul 25
Wed, Aug 22
Mon, Sep 17
Wed, Oct 24
Wed, Nov 28
Wed, Dec 19

## Slide 4
ROS Assignments Update
NPRR-837 Referral (PLWG Review)
    NPRR-837 makes numerous clarifications to the RPG process and adjusts cost thresholds for all Tier levels:
      Section 3.11.1 – Removes duplicative language.
      Section 3.11.4.1 – Clarifications for project submission requirements.
      Section 3.11.4.3 – Clarifications to project Tier classifications including cost threshold adjustment.
      Sections 3.11.4.4 - 3.11.4.7 – Clarifications to processes surrounding each Tier level.
      Section 3.11.4.8 – Clarifications to determination of designated provider of transmission additions.
      Section 3.11.4.9 – Clarifications to RPG Acceptance and ERCOT endorsement.
      Section 3.11.4.10 – Clarifications to process when a project is modified after ERCOT has already endorsed it. Also introduces a TSP notification to RPG when project costs increase more than 25%.
      Section 3.11.4.11 – Adds new section for Non-TSP funded projects.

## Slide 5
ROS Assignments Update
NPRR-837 Referral (PLWG Review)
    “837NPRR-04 GridLiance Comments 071917” posted Jul 19, 2017
      Proposed adding back deleted language in Section 3.11.1(1). ERCOT clarified that the language was duplicative to other language in the Protocols.
      PLWG reached consensus not to add back the deleted language
    “837NPRR-09 Brazos Electric Comments 082417” posted Aug 24, 2017
      Proposed changes to how designated providers of transmission additions are determined in Section 3.11.4.8. Brazos was not present at PLWG meetings for discussions.
      PLWG consensus not to support these changes

## Slide 6
ROS Assignments Update
NPRR-837 Referral (PLWG Review)
    “837NPRR-10 CNP Comments 090817” posted Sep 13, 2017,
    “837NPRR-11 AEPSC Comments 091917” posted Sep 19, 2017, and
    “837NPRR-12 Oncor Comments 101317” posted Oct 13, 2017
      Clarifications to Section 3.11.4.3, mainly focused on clarifying new requirement for Tier 3 classification of 345kV projects.
      PLWG consensus to incorporate these changes into subsequent comments
      Clarifications to Section 3.11.4.10, mainly focused on clarifying when TSP reporting is required when project cost increases by more than 25%.
      PLWG consensus to incorporate these changes into subsequent comments

## Slide 7
ROS Assignments Update
NPRR-837 Referral (PLWG Review)
    “837NPRR-08 Calpine Comments 081617” posted Aug 16, 2017
      Proposed rejection of NPRR. Calpine discussions at PLWG were focused mainly on rejection of cost threshold defining project Tier levels.
      PLWG did not reach consensus to recommend rejection of the NPRR
    “837NPRR-13 Reliant Energy Comments 102317 ” posted Oct 23, 2017
      Modified Section 3.11.4.3(2) to allow Market Participants the ability to reclassify any project greater than $50M to a Tier 1 and any project less than $50M to a Tier 2 based solely on the cost of the project.
      Modified Section 3.11.4.7 to elevate Tier 2 projects to require ERCOT BOD endorsement.
      Modified Section 3.11.4.10(2) for RPG notification of project cost change by 10% instead of 25%.
      PLWG did not reach consensus on this set of comments, however, subsequent changes were made using this version.

## Slide 8
ROS Assignments Update
NPRR-837 Referral (PLWG Review)
    “837NPRR-14 LCRA TSC Comments 111017 ” posted Nov 10, 2017
      Proposed rejection of the changes recommended by Reliant Energy, because Section 3.11.4.3(2) already allows ERCOT to change the project Tier level based on stakeholder comments, ERCOT analysis or system impact of the project.
      PLWG did not reach consensus on this set of comments, however, subsequent changes were made using this version.
      Proposed deletion of Section 3.11.4.10(2), because project cost updates are already available through the PUCT Monthly Construction Report and through other means.
      PLWG consensus to delete with caveat that project cost data should be available to the market. This includes a review of why “TPIT with cost” is not available to the market and a push for PUCT to enforce requirements for the Monthly Construction Report to be provided in its native format.

## Slide 9
ROS Assignments Update
NPRR-837 Referral (PLWG Review)
    “837NPRR-15 CEI Comments 120417 ” posted Dec 04, 2017
      Proposed deletion of Section 3.11.4.11 (Non-TSP Funded Projects). CEI believes this should not be allowed under current processes and that the ROS and WMS need to clarify specific circumstances where this could be allowed.
      PLWG did not reached consensus on this set of comments
    “837NPRR-16 ERCOT Comments 120417” posted Dec 04, 2017
      Revised Business Case to clarify intent of NPRR
      Provide effective date of one year after ERCOT BOD approval for new requirements.
      Removed requirement for Tier 2 project review by the ERCOT BOD, introduced by Reliant Energy comments
      PLWG did not reached consensus on this set of comments

## Slide 10
ROS Assignments Update
NPRR-837 Referral (PLWG Review)
    Major points of contention
      Market Participant change of Tier threshold based solely on project cost
      ERCOT BOD review of Tier 2 projects
      Define under what circumstances Non-TSP funded projects should be allowed

## Slide 11
ROS Assignments Update
  PGRR-059 Referral (PLWG Review)
    PGRR059 Key Changes:
      Clarifies elements that should be included in RPG project submittals
        Removes reference to projects not included in the current RTP
      Clarifies RPG comment process
        Changes comment period to 15 business days instead of 21 calendar days
        Establishes 20 business day “study mode” period following comment period if comments received
        Clarifies how to treat comments received after the 15 business day comment period
    “059PGRR-04 CNP Comments 090817“ submitted Sep 8, 2017
      Adds language to better define “study mode” and provides guidance for reclassification of Tier 3 projects if modifications are made in response to comments received.
      PLWG consensus to recommend PGRR059 with CNP Comments

## Slide 12
ROS Assignments Update
  Clarification of Projects Associated with Direct Interconnection of New Generation
    Decided to table this topic until the scope of a new PUC docket is defined. See PUC docket 47199 open meeting notes posted Oct 19, 2017, which states:
    “If the Commission seeks further assessment of these proposals, the Commission may wish to direct Staff to open separate projects to continue evaluation of the following issue: …
        Assignment of certain interconnection costs to interconnecting generation”

## Slide 13
ROS Assignments Update
  SCT Directive 5: Planning Model Considerations
    ERCOT has identified three key areas for planning model considerations:
    Physical Modeling – The physical modeling of DC ties is already covered under SSWG and DWG procedure manuals.
    Import/Export study assumptions – Amount of assumed import/export in planning studies is still being discussed. Assumptions may vary between the different study cases (SSWG cases, DWG cases, RTP reliability, RTP economic, and PUC directed study). Southern Cross has provided 8760 hour assumptions from the study performed by Resero Consulting as a reference.
    Timeline for when to model in the case – May require changes to language of Planning Guide 6.9, but will have to wait for how Southern Cross will be registered at ERCOT (Directive 1).