## Contents
Table of Contents
Tab | Notes
Disclaimer | Please read
Updates | List of files and items updated in each file
Demand | Monthly peak demand data for this year and last year
Energy | Monthly energy data for this year and last year
LoadZones | Monthly peak demand and energy data for this year by load zone
WeatherZones | Monthly peak demand and energy data for this year by weather zone
EnergybyFuelType | Actual energy and percentages by fuel type
EnergybyFuelChart | Stacked chart of MWh by fuel type by month
EnergyComparisons | Bar graphs comparing this year's energy with last year's and with forecasted
DemandComparison | Graphs comparing this year's monthly peaks with last year's and with forecasted

## Disclaimer
Disclaimer
DEMAND AND ENERGY REPORT
FOR PLANNING PURPOSES ONLY
This ERCOT Working Paper has been prepared for specific ERCOT and market participant purposes and has been developed from data provided through the settlement process. The data may contain errors or become obsolete and thereby affect the conclusions and opinions of the Working Paper. ERCOT MAKES NO WARRANTY, EXPRESS OR IMPLIED, INCLUDING ANY WARRANTY OF MERCHANTABILITY OR FITNESS FOR ANY PARTICULAR PURPOSE, AND DISCLAIMS ANY AND ALL LIABILITY WITH RESPECT TO THE ACCURACY OF SAME OR THE FITNESS OR APPROPRIATENESS OF SAME FOR ANY PARTICULAR USE. THIS ERCOT WORKING PAPER IS SUPPLIED WITH ALL FAULTS.
Note: This report contains data updates reflecting final settlements from August 1, 2015 through December 31, 2016. ERCOT will continue to publish values based on preliminary settlements following the end of the month. Going forward, the reports will also reflect final settlements occurring 55 days after each Operating Day of the month. Consequently, monthly final settlement updates will be lagged by two months. For example, the February 2016 report with January data will show final settlement updates for November 2015. Values that have been updated based on final settlements are indicated throughout this report; all other values are based on preliminary settlements data.

## Updates
File Updated | 2017-03-07

## Demand
ELECTRIC RELIABILITY COUNCIL OF TEXAS
DEMAND FOR 2016
Updated 3/7/2017
NET SYSTEM MAXIMUM HOURLY DEMAND
Description | Jan** | Feb** | Mar** | Apr** | May** | Jun** | Jul** | Aug*** | Sep*** | Oct*** | Nov*** | Dec*** | Annual
2016 Demand, MW | 49262.5579 | 47416.4923 | 43347.1873 | 50932.0834 | 57223.8273 | 64896.2601 | 67468.9318 | 71110.1039 | 66948.5662 | 59864.268 | 50012.3511 | 57932.4325 | 71110.1039
Date | 2016-01-11 | 2016-02-04 | 2016-03-31 | 2016-04-25 | 2016-05-10 | 2016-06-15 | 2016-07-14 | 2016-08-11 | 2016-09-19 | 2016-10-05 | 2016-11-02 | 2016-12-19
Hour Ending | 08:00 | 08:00 | 18:00 | 18:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 16:00 | 08:00
Day of Week | Monday | Thursday | Thursday | Monday | Tuesday | Wednesday | Thursday | Thursday | Monday | Wednesday | Wednesday | Monday
Forecasted Demand, MW | 57691 | 56550 | 45965 | 49607 | 63158 | 63325 | 66802 | 70588 | 59636 | 54437 | 49799 | 51092 | 70588
Difference, percent | -14.61% | -16.15% | -5.695% | 2.671% | -9.396% | 2.481% | 0.9984% | 0.7396% | 12.26% | 9.97% | 0.4284% | 13.39% | 0.7396%
2015 Demand, MW | 56831.7803 | 54539.4251 | 53179.5284 | 45227.4211 | 53389.3965 | 61732.2719 | 67650.277 | 69877.0467 | 64458.1963 | 59186.5655 | 44945.1434 | 44934.2488 | 69877.0467
Date | 2015-01-08 | 2015-02-23 | 2015-03-06 | 2015-04-09 | 2015-05-18 | 2015-06-10 | 2015-07-30 | 2015-08-10 | 2015-09-08 | 2015-10-12 | 2015-11-05 | 2015-12-28
Hour Ending | 08:00 | 19:00 | 07:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 19:00 | 19:00
Day of Week | Thursday | Monday | Friday | Thursday | Monday | Wednesday | Thursday | Monday | Tuesday | Monday | Thursday | Monday
Increase, MW | -7569.2224 | -7122.9328 | -9832.3411 | 5704.6623 | 3834.4307 | 3163.9883 | -181.3452 | 1233.0572 | 2490.3699 | 677.7025 | 5067.2077 | 12998.1837
Increase, percent | -13.32% | -13.06% | -18.49% | 12.61% | 7.182% | 5.125% | -0.2681% | 1.765% | 3.864% | 1.145% | 11.27% | 28.93%
Max All Time | 57256.3073 | 57265 | 54587.4097 | 51800 | 58947 | 66548 | 67650.277 | 71110.1039 | 66948.5662 | 59864.268 | 50807 | 57932.4325
Date | 1/7/2014 at 0800 | 2/10/2011 at 0800 | 3/3/2014 at 0800 | 4/18/2006 at 1700 | 5/29/2012 at 1700 | 6/26/2012 at 1700 | 7/30/2015 at 1700 | 8/11/2016 at 1700 | 9/19/2016 at 1700 | 10/5/2016 at 1700 | 11/17/2014 at 0715 | 12/19/2016 at 0800
NET SYSTEM MAXIMUM DEMAND BASED ON 15-MINUTE INTERVALS
Description | Jan** | Feb** | Mar** | Apr** | May** | Jun** | Jul** | Aug** | Sep** | Oct** | Nov** | Dec** | Annual
2016 Demand, MW | 49735.9609 | 48047.9301 | 43531.9505 | 51146.3988 | 57386.7597 | 65001.2637 | 67517.8025 | 71150.3145 | 67070.857 | 59955.5331 | 50102.2599 | 58048.2808 | 71150.3145
Date | 2016-01-11 | 2016-02-04 | 2016-03-31 | 2016-04-25 | 2016-05-10 | 2016-06-15 | 2016-07-14 | 2016-08-11 | 2016-09-19 | 2016-10-05 | 2016-11-02 | 2016-12-19
Interval Ending | 07:15 | 07:15 | 17:00 | 17:00 | 17:00 | 17:00 | 16:30 | 16:30 | 16:00 | 16:30 | 16:00 | 07:30
Day of Week | Monday | Thursday | Thursday | Monday | Tuesday | Wednesday | Thursday | Thursday | Monday | Wednesday | Wednesday | Monday
Max All Time | 57812.739 | 57971 | 54660.2529 | 52024 | 59170 | 66577 | 67699.5589 | 71150.3145 | 67070.857 | 59955.5331 | 51272.8524 | 58048.2808
Date | 1/7/2014 at 0715 | 2/10/2011 at 0715 | 3/3/2014 at 0730 | 4/17/2006 at 1615 | 5/29/2012 at 1700 | 6/26/2012 at 1630 | 7/30/2015 at 1645 | 8/11/2016 at 1630 | 9/19/2016 at 1600 | 10/5/2015 at 16:30 | 11/17/2014 0800 | 12/19/2016 at 0730
NET SYSTEM MINIMUM DEMAND
Description | Jan** | Feb** | Mar** | Apr** | May** | Jun** | Jul** | Aug** | Sep** | Oct** | Nov** | Dec**
2016 Demand, MW | 25581.5717 | 25301.3582 | 25104.5958 | 25051.0635 | 25993.438 | 27873.0813 | 36194.4271 | 33364.768 | 27340.137 | 25529.9942 | 25449.4954 | 26948.5752
Date | 2016-01-31 | 2016-02-29 | 2016-03-27 | 2016-04-04 | 2016-05-04 | 2016-06-05 | 2016-07-10 | 2016-08-16 | 2016-09-30 | 2016-10-22 | 2016-11-14 | 2016-12-25
Interval Ending | 04:00 | 03:00 | 04:00 | 03:00 | 03:30 | 06:45 | 05:00 | 04:00 | 04:00 | 04:15 | 03:30 | 05:00
Day of Week | Sunday | Monday | Sunday | Monday | Wednesday | Sunday | Sunday | Tuesday | Friday | Saturday | Monday | Sunday
*Information for 2015 for this month has been updated based on final settlements.
**Information for 2016 for this month has been updated based on final settlements.
***Information for 2015 and 2016 for this month has been updated based on final settlements.

## Energy
ELECTRIC RELIABILITY COUNCIL OF TEXAS
ENERGY FOR 2016
Updated 3/7/2017
NET ENERGY FOR LOAD
Description | Jan** | Feb** | Mar** | Apr** | May** | Jun** | Jul** | Aug*** | Sep*** | Oct*** | Nov*** | Dec*** | Annual
2016 Energy, MWh | 27538067.6263 | 23596332.7493 | 24330487.6448 | 25071982.0839 | 28542014.6632 | 33391884.6925 | 38228287.3874 | 36472771.8956 | 32954881.0451 | 29236415.011 | 24505422.8639 | 27690753.4979 | 351559301.161
2016 YTD Energy, MWh | 27538067.6263 | 51134400.3756 | 75464888.0204 | 100536870.1043 | 129078884.7675 | 162470769.4601 | 200699056.8475 | 237171828.7431 | 270126709.7882 | 299363124.7993 | 323868547.6631 | 351559301.161
Forecasted Energy, MWh | 29208228 | 25368106 | 25031240 | 25106994 | 31171493 | 32340493 | 36092091 | 36778009 | 29792149 | 27194314 | 24881681 | 27598630 | 350563428
Difference, percent | -5.718% | -6.984% | -2.8% | -0.1395% | -8.436% | 3.251% | 5.919% | -0.8299% | 10.62% | 7.509% | -1.512% | 0.3338% | 0.2841%
YTD Forecasted Energy, MWh | 29208228 | 54576334 | 79607574 | 104714568 | 135886061 | 168226554 | 204318645 | 241096654 | 270888803 | 298083117 | 322964798 | 350563428
YTD Difference, percent | -5.718% | -6.307% | -5.204% | -3.99% | -5.009% | -3.421% | -1.772% | -1.628% | -0.2813% | 0.4294% | 0.2798% | 0.2841%
2015 Energy, MWh | 28847439.0274 | 25114475.7802 | 25355022.1119 | 24606485.9577 | 27877499.8837 | 32356581.9996 | 36975136.0283 | 36965273.4935 | 32161486.8503 | 27495201.2209 | 24016700.9886 | 25846132.9 | 347617436.2422
Increase, MWh | -1309371.4011 | -1518143.0309 | -1024534.4671 | 465496.1262 | 664514.7795 | 1035302.6929 | 1253151.3591 | -492501.5979 | 793394.1948 | 1741213.7901 | 488721.8753 | 1844620.5978 | 3941864.9188
Increase, percent | -4.539% | -6.045% | -4.041% | 1.892% | 2.384% | 3.2% | 3.389% | -1.332% | 2.467% | 6.333% | 2.035% | 7.137% | 1.134%
2015 YTD Energy, MWh | 28847439.0274 | 53961914.8076 | 79316936.9196 | 103923422.8772 | 131800922.761 | 164157504.7606 | 201132640.7889 | 238097914.2824 | 270259401.1327 | 297754602.3536 | 321771303.3421 | 347617436.2422
YTD Increase, MWh | -1309371.4011 | -2827514.432 | -3852048.8991 | -3386552.7729 | -2722037.9934 | -1686735.3005 | -433583.9414 | -926085.5393 | -132691.3444 | 1608522.4457 | 2097244.321 | 3941864.9188
YTD Increase, percent | -4.539% | -5.24% | -4.857% | -3.259% | -2.065% | -1.028% | -0.2156% | -0.389% | -0.0491% | 0.5402% | 0.6518% | 1.134%
NET SYSTEM LOAD FACTORS BASED ON HOURLY DEMAND
Description | Jan** | Feb** | Mar** | Apr** | May** | Jun** | Jul** | Aug*** | Sep*** | Oct*** | Nov*** | Dec*** | Annual
2016 | 75.14% | 74.05% | 75.44% | 68.37% | 67.04% | 71.46% | 76.16% | 68.94% | 68.37% | 65.64% | 68.05% | 64.25% | 56.44%
2015 | 65.98% | 64.88% | 60.79% | 68.69% | 69.83% | 73.85% | 72.77% | 72.63% | 66.8% | 63.12% | 67.39% | 72.06% | 58.41%
NET SYSTEM LOAD FACTORS BASED ON 15-MINUTE DEMAND
Description | Jan** | Feb** | Mar** | Apr** | May** | Jun** | Jul** | Aug** | Sep** | Oct** | Nov** | Dec** | Annual
2016 | 74.42% | 73.08% | 75.12% | 68.08% | 66.85% | 71.35% | 76.1% | 68.9% | 68.24% | 65.54% | 67.93% | 64.12% | 56.41%
*Information for 2015 for this month has been updated based on final settlements.
**Information for 2016 for this month has been updated based on final settlements.
***Information for 2015 and 2016 for this month has been updated based on final settlements.

## LoadZones
ELECTRIC RELIABILITY COUNCIL OF TEXAS
DEMAND AND ENERGY BY LOAD SETTLEMENT ZONE FOR 2016
[6 empty] | Updated | 2017-03-07
BASED ON 15-MINUTE INTERVALS
NET ZONE DEMAND COINCIDENT WITH ERCOT SYSTEM PEAK, MW
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
LZ_AEN | 1793.9271 | 1735.957 | 1707.9333 | 2032.7832 | 2226.047 | 2487.2878 | 2554.6026 | 2667.8895 | 2600.7846 | 2260.5097 | 1973.9001 | 2127.4714
LZ_CPS | 3346.7344 | 3243.907 | 3147.2905 | 3925.6623 | 4130.6992 | 4580.3469 | 4789.8647 | 4916.2099 | 4641.2968 | 4182.7522 | 3514.5206 | 4011.4425
LZ_HOUSTON | 11818.6737 | 10949.0678 | 13432.8127 | 14328.3657 | 15253.1605 | 17856.6409 | 18172.311 | 18663.8455 | 17983.2131 | 16264.5999 | 13977.5264 | 12694.5424
LZ_LCRA | 2455.9999 | 2486.4616 | 1635.3813 | 2037.7751 | 2334.0611 | 2657.1678 | 2437.9016 | 2571.7642 | 2396.0471 | 2055.554 | 1678.6366 | 2609.2662
LZ_NORTH | 19137.3863 | 18701.8725 | 13425.1033 | 17637.1491 | 21435.6361 | 23895.6323 | 25059.7049 | 27243.5775 | 25308.7568 | 22053.9696 | 17512.7967 | 23267.1767
LZ_RAYBN | 685.2114 | 639.6509 | 303.3516 | 412.9863 | 559.3714 | 677.7888 | 724.4945 | 826.2644 | 745.2863 | 588.6411 | 418.3526 | 915.6686
LZ_SOUTH | 6434.2405 | 6109.3435 | 6506.1231 | 6783.9802 | 7141.5002 | 7999.6389 | 8656.8545 | 9188.32 | 8641.1873 | 8163.5094 | 7085.9756 | 7903.8158
LZ_WEST | 4063.7878 | 4181.6698 | 3373.9548 | 3987.6969 | 4306.2841 | 4846.7602 | 5122.0687 | 5072.4434 | 4754.2849 | 4385.9973 | 3940.5513 | 4518.8972
NET ZONE NON-COINCIDENT PEAK DEMAND, MW
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
LZ_AEN | 1798.0046 | 1735.957 | 1847.6707 | 2049.2623 | 2226.047 | 2499.7303 | 2686.2509 | 2764.9845 | 2600.7846 | 2273.5745 | 2030.7083 | 2128.0739
Date and time | 11 @ 07:30 | 4 @ 07:15 | 15 @ 17:00 | 25 @ 18:00 | 10 @ 17:00 | 28 @ 15:15 | 25 @ 17:00 | 12 @ 17:00 | 19 @ 16:00 | 5 @ 17:00 | 1 @ 17:00 | 19 @ 07:45
LZ_CPS | 3451.1869 | 3351.0213 | 3254.7395 | 3949.6913 | 4213.5854 | 4696.6577 | 4950.7985 | 5104.6067 | 4766.9203 | 4208.9157 | 3656.3017 | 4011.574
Date and time | 28 @ 07:15 | 5 @ 07:15 | 15 @ 17:30 | 25 @ 18:00 | 27 @ 16:00 | 15 @ 18:00 | 25 @ 16:30 | 12 @ 17:00 | 19 @ 18:00 | 5 @ 17:00 | 1 @ 17:00 | 19 @ 07:15
LZ_HOUSTON | 11996.5777 | 11377.1046 | 13432.8127 | 14673.1616 | 16610.7433 | 17979.7332 | 18343.2498 | 18925.0762 | 18005.6167 | 16494.8092 | 14031.9807 | 12783.3241
Date and time | 28 @ 07:15 | 5 @ 07:15 | 31 @ 17:00 | 29 @ 14:15 | 25 @ 16:15 | 16 @ 15:30 | 15 @ 16:30 | 9 @ 15:45 | 19 @ 15:30 | 18 @ 16:15 | 2 @ 15:00 | 19 @ 09:15
LZ_LCRA | 2512.9709 | 2486.4616 | 1944.2488 | 2074.8832 | 2353.5306 | 2762.6852 | 2501.5967 | 2664.5627 | 2420.6746 | 2072.0593 | 1705.9752 | 2615.8898
Date and time | 28 @ 07:30 | 4 @ 07:15 | 21 @ 07:30 | 25 @ 18:00 | 10 @ 16:45 | 18 @ 17:15 | 22 @ 17:30 | 12 @ 17:00 | 19 @ 17:00 | 5 @ 17:00 | 1 @ 17:30 | 19 @ 07:45
LZ_NORTH | 19137.3863 | 18701.8725 | 15872.0344 | 18055.65 | 21435.6361 | 24602.8732 | 25586.6606 | 27308.0932 | 25308.7568 | 22053.9696 | 17968.7621 | 23267.1767
Date and time | 11 @ 07:15 | 4 @ 07:15 | 21 @ 07:15 | 26 @ 17:00 | 10 @ 17:00 | 27 @ 16:30 | 22 @ 17:30 | 12 @ 15:00 | 19 @ 16:00 | 5 @ 16:30 | 1 @ 17:00 | 19 @ 07:30
LZ_RAYBN | 687.8811 | 640.8086 | 540.9903 | 456.5296 | 572.2632 | 730.0373 | 808.8326 | 838.5023 | 763.9558 | 599.9903 | 491.4275 | 915.6686
Date and time | 11 @ 07:00 | 4 @ 07:00 | 21 @ 07:15 | 26 @ 17:45 | 10 @ 18:00 | 18 @ 17:30 | 24 @ 17:30 | 11 @ 17:45 | 19 @ 17:15 | 5 @ 17:45 | 20 @ 08:00 | 19 @ 07:30
LZ_SOUTH | 7005.4707 | 6550.2734 | 6506.1231 | 6809.4891 | 7168.6695 | 8531.1721 | 8982.3331 | 9270.4797 | 8659.1897 | 8169.067 | 7209.3783 | 7903.8158
Date and time | 28 @ 07:15 | 5 @ 07:15 | 31 @ 17:00 | 27 @ 17:00 | 26 @ 15:30 | 30 @ 16:45 | 25 @ 16:00 | 12 @ 16:00 | 19 @ 16:30 | 5 @ 16:45 | 1 @ 16:45 | 19 @ 07:30
LZ_WEST | 4162.7294 | 4199.4 | 3670.4369 | 4006.8464 | 4524.8103 | 4880.548 | 5142.6609 | 5164.4635 | 4781.7384 | 4457.3651 | 4133.1717 | 4518.8972
Date and time | 27 @ 07:30 | 4 @ 07:30 | 21 @ 07:30 | 25 @ 16:45 | 25 @ 17:00 | 17 @ 16:45 | 13 @ 17:00 | 4 @ 16:00 | 9 @ 16:45 | 17 @ 16:30 | 1 @ 16:45 | 19 @ 07:30
NET ENERGY FOR LOAD, MWh
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Total
LZ_AEN | 1009328.2051 | 892060.2003 | 954739.4234 | 981755.6741 | 1106447.2619 | 1304692.7955 | 1475205.4625 | 1395615.6313 | 1291230.2327 | 1133061.0079 | 945687.4582 | 1029775.2525 | 13519598.6054
LZ_CPS | 1763901.0759 | 1513246.7238 | 1602233.5063 | 1670380.6509 | 1954872.1541 | 2294206.914 | 2632373.2171 | 2481427.1505 | 2266510.4082 | 1955941.6264 | 1597511.777 | 1762812.1247 | 23495417.3289
LZ_HOUSTON | 6967835.6189 | 6284111.0724 | 6824697.4038 | 7120962.2038 | 8220238.4893 | 9092554.8012 | 10319549.1952 | 9883417.9435 | 9107635.6252 | 8338860.203 | 6856663.3637 | 7146887.0778 | 96163412.9977
LZ_LCRA | 1171723.7086 | 932584.9037 | 911006.5198 | 923253.306 | 1072929.9098 | 1290108.3362 | 1294361.1308 | 1185635.8198 | 1070686.0365 | 904687.2911 | 737840.2249 | 939835.8873 | 12434653.0745
LZ_NORTH | 10223234.5767 | 8450918.4376 | 8301747.5067 | 8482217.8218 | 9596175.7913 | 12104812.8411 | 13932590.1345 | 13314277.1059 | 11763133.4789 | 9988803.8807 | 8348845.0954 | 10153955.4229 | 124660712.0934
LZ_RAYBN | 310353.2268 | 231607.6715 | 203887.2816 | 199755.2101 | 231243.3684 | 318914.5722 | 380395.9044 | 362867.2001 | 312556.7974 | 249424.5447 | 215249.4255 | 316904.392 | 3333159.5946
LZ_SOUTH | 3460987.768 | 2981313.1714 | 3169799.6436 | 3362107.979 | 3811299.1168 | 4254293.0582 | 5076320.1309 | 4893382.0834 | 4480562.3895 | 4082889.9987 | 3401861.4363 | 3622996.1379 | 46597812.914
LZ_WEST | 2630703.4461 | 2310490.5685 | 2362376.3597 | 2331549.2383 | 2548808.5716 | 2732301.374 | 3117492.2121 | 2956148.9612 | 2662566.0767 | 2582746.4585 | 2401764.0829 | 2717587.2028 | 31354534.5525
*Information for 2016 for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding.

## WeatherZones
ELECTRIC RELIABILITY COUNCIL OF TEXAS
DEMAND AND ENERGY BY WEATHER ZONE FOR 2016
[6 empty] | Updated | 2017-03-07
Based on 15-Minute Intervals
NET ZONE DEMAND COINCIDENT WITH ERCOT SYSTEM PEAK, MW
Weather Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
Coast | 12794.4779 | 11768.2843 | 14184.9323 | 15075.2494 | 16150.2885 | 18763.2404 | 19126.4349 | 19699.905 | 18929.0601 | 17164.4206 | 14866.6269 | 13689.3045
East | 1947.8118 | 1866.3407 | 1603.4859 | 1791.5498 | 1966.0778 | 2144.0195 | 2264.099 | 2452.5549 | 2296.9964 | 1988.9058 | 1703.0584 | 2109.7273
Far West | 2353.9155 | 2396.2662 | 2078.8303 | 2338.0403 | 2510.3951 | 2749.987 | 2866.6042 | 2847.7126 | 2660.3544 | 2549.073 | 2338.8563 | 2455.4699
North Central | 17595.1494 | 17219.7645 | 11958.5123 | 16035.907 | 19728.9634 | 22063.3329 | 23136.862 | 25187.4835 | 23358.7904 | 20318.7988 | 15978.765 | 21727.0612
North | 1053.3219 | 1069.4947 | 718.6652 | 945.9784 | 1082.3468 | 1292.6545 | 1381.9464 | 1393.4313 | 1340.5965 | 1145.9342 | 952.5365 | 1285.1227
South Central | 8467.5608 | 8312.0916 | 7293.1108 | 8944.5241 | 9746.99 | 10910.9613 | 11415.9853 | 11886.693 | 11243.7067 | 9998.3787 | 8390.2955 | 10259.2428
South | 4042.3965 | 3871.6796 | 4615.3253 | 4661.1566 | 4706.7649 | 5340.477 | 5452.7024 | 5788.1301 | 5509.3923 | 5278.8961 | 4584.4924 | 4712.7115
West | 1481.3272 | 1544.0085 | 1079.0885 | 1353.9931 | 1494.9332 | 1736.5911 | 1873.1683 | 1894.404 | 1731.9602 | 1511.1259 | 1287.6288 | 1809.6408
NET ZONE NON-COINCIDENT PEAK DEMAND, MW
Weather Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
Coast | 12885.1462 | 12336.02 | 14184.9323 | 15457.3321 | 17495.1753 | 18901.0552 | 19331.3668 | 19945.4103 | 18948.8762 | 17382.4098 | 14921.3951 | 13776.7284
Date and time | 28 @ 07:15 | 5 @ 07:15 | 31 @ 17:00 | 29 @ 14:15 | 25 @ 16:15 | 16 @ 15:30 | 15 @ 16:30 | 9 @ 15:45 | 19 @ 15:30 | 5 @ 15:30 | 2 @ 15:00 | 19 @ 09:15
East | 1947.8118 | 1906.2752 | 1694.5941 | 1881.5296 | 1994.799 | 2303.2856 | 2434.9538 | 2526.4894 | 2344.8418 | 2024.8885 | 1786.5649 | 2163.9212
Date and time | 11 @ 07:15 | 5 @ 07:15 | 21 @ 07:15 | 26 @ 17:00 | 10 @ 16:30 | 27 @ 15:30 | 22 @ 15:15 | 10 @ 15:15 | 19 @ 17:30 | 18 @ 16:45 | 2 @ 17:15 | 19 @ 08:15
Far West | 2390.0304 | 2403.4191 | 2211.8262 | 2364.9724 | 2626.56 | 2780.8487 | 2932.871 | 2922.9799 | 2703.4713 | 2609.6329 | 2463.9338 | 2617.8829
Date and time | 12 @ 07:30 | 4 @ 07:30 | 30 @ 17:00 | 28 @ 17:00 | 25 @ 17:00 | 22 @ 17:00 | 12 @ 17:00 | 8 @ 15:30 | 9 @ 16:45 | 6 @ 16:45 | 1 @ 16:45 | 8 @ 18:45
North Central | 17623.9899 | 17219.7645 | 14566.4889 | 16354.8028 | 19728.9634 | 22750.7325 | 23625.9798 | 25232.4471 | 23358.7904 | 20318.7988 | 16501.9344 | 21727.0612
Date and time | 22 @ 07:30 | 4 @ 07:15 | 21 @ 07:30 | 26 @ 17:00 | 10 @ 17:00 | 27 @ 16:30 | 22 @ 17:00 | 12 @ 15:00 | 19 @ 16:00 | 5 @ 16:30 | 1 @ 16:45 | 19 @ 07:30
North | 1097.7742 | 1072.6835 | 916.6298 | 945.9784 | 1094.2998 | 1331.7821 | 1394.7073 | 1444.0627 | 1340.5965 | 1145.9342 | 976.2141 | 1285.1227
Date and time | 18 @ 07:45 | 4 @ 07:30 | 21 @ 07:30 | 25 @ 17:00 | 25 @ 16:45 | 22 @ 16:30 | 21 @ 16:30 | 3 @ 16:30 | 19 @ 16:00 | 5 @ 16:30 | 1 @ 16:30 | 19 @ 07:30
South Central | 8597.3861 | 8369.1852 | 7770.5222 | 9029.9275 | 9771.9597 | 11017.3702 | 11872.3713 | 12389.1401 | 11422.5749 | 10068.7769 | 8708.9901 | 10267.0465
Date and time | 28 @ 07:15 | 5 @ 07:30 | 15 @ 17:45 | 25 @ 18:00 | 10 @ 16:45 | 15 @ 18:00 | 25 @ 16:30 | 12 @ 17:00 | 19 @ 17:45 | 5 @ 17:00 | 1 @ 17:00 | 19 @ 07:45
South | 4697.6572 | 4177.6874 | 4615.3253 | 4715.0193 | 5165.3818 | 5388.1176 | 5621.3562 | 5805.2202 | 5509.3923 | 5278.8961 | 4671.5686 | 4736.0205
Date and time | 28 @ 07:15 | 5 @ 07:15 | 31 @ 17:00 | 27 @ 16:45 | 27 @ 16:00 | 17 @ 15:45 | 25 @ 15:45 | 11 @ 15:30 | 19 @ 16:00 | 5 @ 16:30 | 1 @ 16:30 | 19 @ 09:00
West | 1548.2536 | 1546.4758 | 1213.7305 | 1370.418 | 1520.535 | 1762.9047 | 1873.1683 | 1905.1486 | 1735.4044 | 1540.8447 | 1353.3275 | 1809.6408
Date and time | 4 @ 07:45 | 4 @ 07:30 | 21 @ 07:30 | 25 @ 17:30 | 26 @ 16:30 | 17 @ 16:45 | 14 @ 16:30 | 10 @ 16:45 | 19 @ 16:45 | 17 @ 17:00 | 1 @ 17:00 | 19 @ 07:30
NET ZONE ENERGY, MWh
Weather Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
Coastal | 7519426.9741 | 6764717.2833 | 7298645.4842 | 7579057.5119 | 8753290.3134 | 9657592.3728 | 10952577.8975 | 10504016.2852 | 9678113.1192 | 8874361.4983 | 7338877.6344 | 7655199.4514 | 102575875.8259
East | 989501.844 | 845637.885 | 851836.7183 | 893946.9045 | 971665.2849 | 1154907.5689 | 1327329.3086 | 1264096.2762 | 1156326.7551 | 1001352.6552 | 847485.174 | 967992.0679 | 12272078.4427
Far West | 1566322.0352 | 1404188.8043 | 1449758.8399 | 1428683.5016 | 1558659.3997 | 1622293.6007 | 1816030.1631 | 1734629.0124 | 1587132.0404 | 1604313.4047 | 1501190.9602 | 1651087.8308 | 18924289.593
North Central | 9388039.5204 | 7710672.4049 | 7545909.0706 | 7679891.5933 | 8724974.9348 | 11081151.854 | 12779281.1492 | 12211122.9765 | 10744824.9277 | 9092497.9584 | 7597698.2291 | 9352938.1336 | 113909002.7525
North | 624558.1828 | 517590.1376 | 503211.3284 | 495999.4988 | 552719.5682 | 676869.1998 | 779301.5973 | 740985.167 | 647456.5287 | 568317.4369 | 506494.9686 | 618430.3959 | 7231934.0098
South Central | 4406709.6647 | 3749623.7884 | 3902848.4014 | 4023805.5385 | 4637224.9708 | 5518478.8935 | 6346394.1096 | 5943907.9704 | 5444336.6113 | 4724295.7138 | 3884975.7729 | 4410326.3792 | 56992927.8145
South | 2190504.2305 | 1890659.0235 | 2076194.7716 | 2267739.2888 | 2558774.9007 | 2791984.8493 | 3174885.9096 | 3103535.5412 | 2841968.9783 | 2602266.6935 | 2131539.1019 | 2192739.39 | 29822792.6788
West | 853005.1747 | 713243.4223 | 702083.0304 | 702858.2465 | 784705.2908 | 888606.3535 | 1052487.2525 | 970478.6668 | 854722.0845 | 769009.6502 | 697161.0228 | 842039.8491 | 9830400.0438
*Information for 2016 for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## EnergybyFuelType
ELECTRIC RELIABILITY COUNCIL OF TEXAS
ENERGY BY FUEL TYPE FOR 2016
[6 empty] | Updated | 2017-03-07
ENERGY BY FUEL TYPE, MWh
Fuel Types | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | YTD/Annual
Natural Gas | 12720786.3618 | 10199432.4289 | 11985997.5717 | 12018257.198 | 13567637.9836 | 15183989.0325 | 17413274.0653 | 17912816.0813 | 14618797.0456 | 10729978.8624 | 8953220.4589 | 8188097.7364 | 153492284.8263
Coal | 6853636.2209 | 4997696.4452 | 3135064.4851 | 4752605.074 | 7295589.9484 | 10952946.0588 | 11743822.6683 | 11310547.577 | 11103571.2406 | 10447477.3234 | 7908261.9967 | 10605842.2935 | 101107061.3318
Nuclear | 3687939.3712 | 3556201.6448 | 3775757.8693 | 3651203.6193 | 2698361.4569 | 3587904.0691 | 3711519.0082 | 3710144.5574 | 3596902.7204 | 3005437.3934 | 3305932.5413 | 3803424.4222 | 42090728.6734
Wind | 4099732.2464 | 4685648.7997 | 5207559.5328 | 4407535.0296 | 4737719.6865 | 3463878.6183 | 5265817.7912 | 3412140.6242 | 3637519.9098 | 4981935.3556 | 4250959.1225 | 4995469.1252 | 53145915.8418
Solar | 43640.0267 | 53744.2725 | 51907.0035 | 53846.7962 | 49490.0776 | 69822.7305 | 93310.7264 | 90149.015 | 101956.6731 | 102475.2335 | 66627.4198 | 59632.0372 | 836602.0119
Water | 94431.6933 | 51808.7385 | 82290.7664 | 132915.4376 | 192001.1929 | 207157.2322 | 76628.4616 | 53688.7409 | 37427.2453 | 34638.973 | 52622.6671 | 44903.0563 | 1060514.2049
Net DC/BLT | -13090.6327 | -13719.3998 | 40146.0523 | 8420.6758 | -55581.8909 | -129485.1643 | -129348.8175 | -102345.7624 | -184256.1585 | -108573.5352 | -90128.5259 | -49515.9837 | -827479.1427
Other | 50992.3389 | 65519.8194 | 51764.3638 | 47198.2535 | 56796.2082 | 55672.1155 | 53263.4839 | 85631.0622 | 42962.3689 | 43045.405 | 57927.1835 | 42900.8108 | 653673.4135
Total | 27538067.6263 | 23596332.7493 | 24330487.6448 | 25071982.0839 | 28542014.6632 | 33391884.6925 | 38228287.3874 | 36472771.8956 | 32954881.0451 | 29236415.011 | 24505422.8639 | 27690753.4979 | 351559301.161
ENERGY BY FUEL TYPE, PERCENT
Fuel Types | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec | YTD/Annual
Natural Gas | 46.19% | 43.22% | 49.26% | 47.94% | 47.54% | 45.47% | 45.55% | 49.11% | 44.36% | 36.7% | 36.54% | 29.57% | 43.66%
Coal | 24.89% | 21.18% | 12.89% | 18.96% | 25.56% | 32.8% | 30.72% | 31.01% | 33.69% | 35.73% | 32.27% | 38.3% | 28.76%
Nuclear | 13.39% | 15.07% | 15.52% | 14.56% | 9.454% | 10.74% | 9.709% | 10.17% | 10.91% | 10.28% | 13.49% | 13.74% | 11.97%
Wind | 14.89% | 19.86% | 21.4% | 17.58% | 16.6% | 10.37% | 13.77% | 9.355% | 11.04% | 17.04% | 17.35% | 18.04% | 15.12%
Solar | 0.1585% | 0.2278% | 0.2133% | 0.2148% | 0.1734% | 0.2091% | 0.2441% | 0.2472% | 0.3094% | 0.3505% | 0.2719% | 0.2153% | 0.238%
Water | 0.3429% | 0.2196% | 0.3382% | 0.5301% | 0.6727% | 0.6204% | 0.2004% | 0.1472% | 0.1136% | 0.1185% | 0.2147% | 0.1622% | 0.3017%
Net DC/BLT | -0.04754% | -0.05814% | 0.165% | 0.03359% | -0.1947% | -0.3878% | -0.3384% | -0.2806% | -0.5591% | -0.3714% | -0.3678% | -0.1788% | -0.2354%
Other | 0.1852% | 0.2777% | 0.2128% | 0.1883% | 0.199% | 0.1667% | 0.1393% | 0.2348% | 0.1304% | 0.1472% | 0.2364% | 0.1549% | 0.1859%
Total | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
*Information for 2016 for this month has been updated based on final settlements.
Companies are not required to notify ERCOT when their dual fuel units are using secondary fuel. Therefore, values shown here are calculated based on primary fuel type and may not exactly reflect the fuels being used by dual fuel units. Dual fuel units are included in the category of their primary fuel.
A positive value in the 'Net DC/BLT' row indicates import of power, negative indicates export.
"Other" includes petroleum coke, landfill gas, biomass solids, biomass gases, and any unknown fuel.

## EnergybyFuelChart
Fuel Types | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
Natural Gas | 12720.7864 | 10199.4324 | 11985.9976 | 12018.2572 | 13567.638 | 15183.989 | 17413.2741 | 17912.8161 | 14618.797 | 10729.9789 | 8953.2205 | 8188.0977
Coal | 6853.6362 | 4997.6964 | 3135.0645 | 4752.6051 | 7295.5899 | 10952.9461 | 11743.8227 | 11310.5476 | 11103.5712 | 10447.4773 | 7908.262 | 10605.8423
Nuclear | 3687.9394 | 3556.2016 | 3775.7579 | 3651.2036 | 2698.3615 | 3587.9041 | 3711.519 | 3710.1446 | 3596.9027 | 3005.4374 | 3305.9325 | 3803.4244
Wind | 4099.7322 | 4685.6488 | 5207.5595 | 4407.535 | 4737.7197 | 3463.8786 | 5265.8178 | 3412.1406 | 3637.5199 | 4981.9354 | 4250.9591 | 4995.4691
Solar | 43.64 | 53.7443 | 51.907 | 53.8468 | 49.4901 | 69.8227 | 93.3107 | 90.149 | 101.9567 | 102.4752 | 66.6274 | 59.632
Hydro | 94.4317 | 51.8087 | 82.2908 | 132.9154 | 192.0012 | 207.1572 | 76.6285 | 53.6887 | 37.4272 | 34.639 | 52.6227 | 44.9031
DC Imports | -13.0906 | -13.7194 | 40.1461 | 8.4207 | -55.5819 | -129.4852 | -129.3488 | -102.3458 | -184.2562 | -108.5735 | -90.1285 | -49.516
Other | 50.9923 | 65.5198 | 51.7644 | 47.1983 | 56.7962 | 55.6721 | 53.2635 | 85.6311 | 42.9624 | 43.0454 | 57.9272 | 42.9008
*Information for 2016 for this month has been updated based on final settlements.

## EnergyComparisons
Energy, MWh
|  |  |  | Current | Previous | Prev, GWh |  | Previous source
|  |  | Jan** | 27538.0676 | 26072476.3698 | 28847.439 |  | 28847439.0274
|  |  | Feb** | 23596.3327 | 23737721.6958 | 25114.4758 |  | 25114475.7802
|  |  | Mar** | 24330.4876 | 22028910.172 | 25355.0221 |  | 25355022.1119
|  |  | Apr** | 25071.9821 | 21502948.6826 | 24606.486 |  | 24606485.9577
|  |  | May** | 28542.0147 | 27221819.2111 | 27877.4999 |  | 27877499.8837
|  |  | Jun** | 33391.8847 | 31781587.449 | 32356.582 |  | 32356581.9996
|  |  | Jul** | 38228.2874 | 32397557.5854 | 36975.136 |  | 36975136.0283
|  |  | Aug*** | 36472.7719 | 35774778.982 | 36965.2735 |  | 36965273.4935
|  |  | Sep*** | 32954.881 | 28844061.793 | 32161.4869 |  | 32161486.8503
|  |  | Oct*** | 29236.415 | 23933083.247 | 27495.2012 |  | 27495201.2209
|  |  | Nov*** | 24505.4229 | 21753399.2658 | 24016.701 |  | 24016700.9886
|  |  | Dec*** | 27690.7535 | 24049056 | 25846.1329 |  | 25846132.9
| ytd | ytd |  | Energy, MWh
| Actual | Forecast |  | Actual | Forecast |  | Difference from Actual
| 27538.0676 | 29208.228 | Jan** | 27538.0676 | 29208.228 |  | 6.065% |  | 29208228
| 51134.4004 | 54576.334 | Feb** | 23596.3327 | 25368.106 |  | 7.509% |  | 25368106
| 75464.888 | 79607.574 | Mar** | 24330.4876 | 25031.24 |  | 2.88% |  | 25031240
| 100536.8701 | 104714.568 | Apr** | 25071.9821 | 25106.994 |  | 0.1396% |  | 25106994
| 129078.8848 | 135886.061 | May** | 28542.0147 | 31171.493 |  | 9.213% |  | 31171493
| 162470.7695 | 168226.554 | Jun** | 33391.8847 | 32340.493 |  | -3.149% |  | 32340493
| 200699.0568 | 204318.645 | Jul** | 38228.2874 | 36092.091 |  | -5.588% |  | 36092091
| 237171.8287 | 241096.654 | Aug** | 36472.7719 | 36778.009 |  | 0.8369% |  | 36778009
| 270126.7098 | 270888.803 | Sep** | 32954.881 | 29792.149 |  | -9.597% |  | 29792149
| 299363.1248 | 298083.117 | Oct** | 29236.415 | 27194.314 |  | -6.985% |  | 27194314
| 323868.5477 | 322964.798 | Nov** | 24505.4229 | 24881.681 |  | 1.535% |  | 24881681
| 351559.3012 | 350563.428 | Dec** | 27690.7535 | 27598.63 |  | -0.3327% |  | 27598630
*Information for 2015 for this month has been updated based on final settlements.
**Information for 2016 for this month has been updated based on final settlements.
***Information for 2015 and 2016 for this month has been updated based on final settlements.
**Information for 2016 for this month has been updated based on final settlements.

## DemandComparisons
|  | Jan** | Feb** | Mar** | Apr** | May** | Jun** | Jul** | Aug*** | Sep*** | Oct*** | Nov*** | Dec***
| Current | 49262.5579 | 47416.4923 | 43347.1873 | 50932.0834 | 57223.8273 | 64896.2601 | 67468.9318 | 71110.1039 | 66948.5662 | 59864.268 | 50012.3511 | 57932.4325
| Previous | 56831.7803 | 54539.4251 | 53179.5284 | 45227.4211 | 53389.3965 | 61732.2719 | 67650.277 | 69877.0467 | 64458.1963 | 59186.5655 | 44945.1434 | 44934.2488
|  | Jan** | Feb** | Mar** | Apr** | May** | Jun** | Jul** | Aug** | Sep** | Oct** | Nov** | Dec**
| Forecast | 57691 | 56550 | 45965 | 49607 | 63158 | 63325 | 66802 | 70588 | 59636 | 54437 | 49799 | 51092
*Information for 2015 for this month has been updated based on final settlements.
**Information for 2016 for this month has been updated based on final settlements.
***Information for 2015 and 2016 for this month has been updated based on final settlements.
*Information for 2015 for this month has been updated based on final settlements.
**Information for 2016 for this month has been updated based on final settlements.
***Information for 2015 and 2016 for this month has been updated based on final settlements.