| NPRR Number | 844 | NPRR Title | Clarification to Outage Report |
| --- | --- | --- | --- |
| Date of Decision |  | January 18, 2018 |  |
| Action |  | Recommended Approval |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | Upon system implementation |  |
| Priority and Rank Assigned |  | Priority – 2018; Rank – 2130 |  |
| Nodal Protocol Sections Requiring Revision |  | 3.2.3, System Adequacy Report |  |
| Related Documents Requiring Revision/ Related Revision Requests |  | None |  |
| Revision Description |  | This Nodal Protocol Revision Request (NPRR) corrects the current process of including capacity that is modeled but not yet commercially operational in the Outage Scheduler, which is then reflected in the Outage report. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | NPRR479, Hourly Reporting of Resource Outaged Capacity, provided an increase in data transparency regarding capacity on Outage; however, capacity that is modeled but not yet in commercial operation is included in the Outage Scheduler and is therefore reflected in the Outage report. This can create confusion regarding how much capacity is actually available to ERCOT. This NPRR corrects that issue by separating capacity from equipment that has not been energized from the rest of capacity on Outage. |  |
| Credit Work Group Review |  | ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed NPRR844 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. |  |
| PRS Decision |  | On 8/11/17, PRS voted unanimously to table NPRR844 and refer the issue to WMS. All Market Segments were present for the vote. On 11/9/17, PRS voted unanimously to table NPRR844. All Market Segments were present for the vote. On 12/14/17, PRS voted unanimously to recommend approval of NPRR844 as amended by the 11/21/17 Luminant comments. All Market Segments were present for the vote. On 1/18/18, PRS voted unanimously to endorse and forward to TAC the 12/14/17 PRS Report, as amended by the 1/17/18 Luminant comments, and the Impact Analysis for NPRR844 with a recommended priority of 2018 and a rank of 2130. All Market Segments were present for the vote. |  |
| Summary of PRS Discussion |  | On 8/11/17, participants requested that WMS also review reporting for Combined Cycle Generation Resources as it pertains to NPRR844. On 11/9/17, the sponsor requested NPRR844 be tabled to allow time for additional review of Outage Scheduler terminology pertaining to new equipment energization. On 12/14/17, participants reviewed the 11/21/17 Luminant comments. On 1/18/18, there was no discussion. |  |

| Sponsor |  |
| --- | --- |
| Name | David Ricketts |
| E-mail Address | David.Ricketts@VistraEnergy.com |
| Company | Luminant Generation Company LLC |
| Phone Number | 512-349-6441 |
| Cell Number | 512-983-3229 |
| Market Segment | Independent Generator |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Brittney Albracht |
| E-Mail Address | Brittney.Albracht@ercot.com |
| Phone Number | 512-225-7027 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| WMS 090717 | Requested PRS continue to table NPRR844 for further review by the Qualified Scheduling Entity (QSE) Managers Working Group (QMWG). |
| WMS 110217 | Endorsed NPRR844 as submitted. |
| Luminant 112117 | Proposed language to further ensure the protection of Resource-specific information. |
| ERCOT 011618 | Clarified posting requirements while preserving the intent of the 11/21/17 Luminant comments. |
| Luminant 011718 | Clarified that any capacity included in the Outage Scheduler that is not operable, whether mothballed or retired, should be excluded from the report. |

Market Rules Notes

Please note that the baseline Protocol language in the following Sections has been updated to reflect the incorporation of the following NPRR(s) into the Protocols:

- NPRR812, Alignment of Currently Published Reports (unboxed 12/7/17)

  - Section 3.2.3

- NPRR843, Short-Term System Adequacy and AS Offer Disclosure Reports Additions (incorporated 1/1/18)

  - Section 3.2.3

Revised Proposed Protocol Language

3.2.3	System Adequacy Reports

(1)	ERCOT shall publish system adequacy reports to assess the adequacy of Resources and Transmission Facilities to meet the projected Demand.  ERCOT shall provide reports on a system-wide basis and by Forecast Zone, where applicable.

(2)	ERCOT shall generate and post a “Medium-Term System Adequacy Report” on the MIS Secure Area.  ERCOT shall update the report monthly using the latest aggregate Generation Resource capacity and Load Resource capacity.  The data will be provided for each week, starting with the second week, of a rolling 36-month period.  The Medium-Term System Adequacy Report will provide:

(a)	Generation Resource capacity at the time of forecasted weekly peak Demand;

(b)	Load Resource capacity at the time of the forecasted weekly peak Demand;

(c)	Weekly peak forecast Demand described in Section 3.2.2, Demand Forecasts;

(d)	Calculated system reserve, highlighting any deficiency hours, that excludes Load Resource capacity;

(e)	Calculated system reserve, highlighting any deficiency hours, that includes Load Resource capacity shown as a reduction in forecast Demand;

(f)	Ancillary Service requirements; and

(g)	Transmission constraints that have a high probability of being binding in the Security-Constrained Economic Dispatch (SCED) or Day-Ahead Market (DAM) given the forecasted system conditions for each week excluding the effects of any transmission or Resource Outages.

(3)	ERCOT shall generate and post short-term adequacy reports on the MIS Public Area.  ERCOT shall update these reports hourly following updates to the Seven-Day Load Forecast, except where noted otherwise.  The short-term adequacy reports will provide:

(a)	For Generation Resources, the available On-Line Resource capacity for each hour, using the COP for the first seven days;

[NPRR843: Replace paragraph (a) above with the following upon system implementation:] (a) For Generation Resources, the available On-Line Resource capacity for each hour, using the COP for the first seven days and considering Resources with a COP Resource Status listed in paragraph (5)(b)(i) of Section 3.9.1, Current Operating Plan (COP) Criteria;

(b)	ERCOT shall post a total system-wide capacity of Resource Outages as reflected in the Outage Scheduler that are accepted or approved.  The Resource Outage capacity amount shall be based from each Resource’s current Seasonal High Sustained Limit (HSL) and posted each hour for the top of each Operating Hour for the next 168 hours.  This posted information will exclude specific Resource information and Outages related to Mothballed or Decommissioned Generation Resources, and will be aggregated on a system-wide basis in three categories:

(i)	IRRs with an Outage Scheduler nature of work other than “New Equipment Energization”;

(ii)	Other Resources with an Outage Scheduler nature of work other than “New Equipment Energization”; and

(iii)	Resources with an Outage Scheduler nature of work “New Equipment Energization”.

(c)	For Load Resources, the available capacity for each hour using the COP;

[NPRR843: Replace paragraph (c) above with the following upon system implementation:] (c) For Load Resources, the available capacity for each hour using the COP for the first seven days and considering Resources with a COP Resource Status of ONRGL, ONCLR, or ONRL;

(d)	Forecast Demand for each hour described in Section 3.2.2;

(e)	Ancillary Service requirements for the Operating Day and subsequent days, updated daily;

(f)	Transmission constraints that have a high probability of being binding in SCED or DAM given the forecasted system conditions for each week including the effects of any transmission or Resource Outages.  The binding constraints may not be updated every hour; and

(g)	For Generation Resources, the available Off-Line Resource capacity that can be started for each hour, using the COP for the first seven days.

[NPRR843: Replace paragraph (g) above with the following upon system implementation:] (g) For Generation Resources, the available Off-Line Resource capacity that can be started for each hour, using the COP for the first seven days and considering Resources with a COP Resource Status of OFF or OFFNS and temporal constraints.