Date:	January 25, 2018

To:	Technical Advisory Committee (TAC) Representatives

From:	Martha Henson, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRRs recommended for approval by PRS: - NPRR819, Modification of Non-Price Error Resettlement Thresholds and Resettlement Clean-Ups [ERCOT] - NPRR841, Real-Time Adjustments to Day-Ahead Make Whole Payments due to Ancillary Services Infeasibility Charges [ERCOT] - NPRR842, Study Area Load Information [ERCOT] - NPRR844, Clarification to Outage Report [Luminant Generation] - NPRR852, CRR Activity Calendar Approval Process [ERCOT] - NPRR855, Criteria for Including Resources in the CDR Peak Average Capacity Contribution Calculations [ERCOT] - NPRR861, Clarification of ERCOT’s Authority to Protect Its Jurisdictional Status – URGENT [ERCOT] - SCR794, Update SCED Limit Calculation [ERCOT]

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR819, Modification of Non-Price Error Resettlement Thresholds and Resettlement Clean-Ups [ERCOT] Proposed Effective Date: Upon system implementation - Priority 2018; Rank 2110 ERCOT Impact Analysis: Between $25k and $50k; no impacts to ERCOT staffing; impacts to Market Settlements (S&B); ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR removes language referencing “data errors” for resettlement of the Day-Ahead Market (DAM) and the Real-Time Market (RTM); gives the ERCOT Board authority to direct a DAM resettlement parallel to its authority to direct RTM resettlement; removes references to undefined “declarations” of resettlements; changes the thresholds that determine a resettlement; and fixes a semantics error. PRS Decision: On 11/9/17, PRS unanimously voted to recommend approval of NPRR819 as amended by the 8/30/17 ERCOT comments. On 12/14/17, PRS unanimously voted to endorse and forward to TAC the 11/9/17 PRS Report and the Revised Impact Analysis for NPRR819 with a recommended priority of 2018 and a rank of 2110. - NPRR841, Real-Time Adjustments to Day-Ahead Make Whole Payments due to Ancillary Services Infeasibility Charges [ERCOT] Proposed Effective Date: Upon system implementation - Priority 2019; Rank 2520 ERCOT Impact Analysis: Between $60k and $80k; no impacts to ERCOT staffing; impacts to S&B, Integration, Data Access & Transparency, and CRM & Registration System (REG); ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR determines, in Real-Time, the Day-Ahead Make-Whole Payment by incorporating the Ancillary Services infeasibility charge approved with NPRR782, Settlement of Infeasible Ancillary Services Due to Transmission Constraints, into the Make-Whole Payment analysis. PRS Decision: On 11/9/17, PRS voted unanimously to recommend approval of NPRR841 as submitted. On 12/14/17, PRS voted unanimously to endorse and forward to TAC the 11/9/17 PRS Report, as revised by PRS, and the Impact Analysis for NPRR841, with a recommended priority of 2019 and a rank of 2520. - NPRR842, Study Area Load Information [ERCOT] Proposed Effective Date: Upon system implementation - Priority 2018; Rank 2120 ERCOT Impact Analysis: Between $60k and $80k; no impacts to ERCOT staffing; impacts to Data Access & Transparency, Data and Information Products (DAIP), and External Public; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR defines a Study Area as well as delivers the Load information, both forecast and actual, for any Study Areas developed by ERCOT. PRS Decision: On 11/9/17, PRS voted unanimously to recommend approval of NPRR842 as submitted. On 12/14/17, PRS voted unanimously to endorse and forward to TAC the 11/9/17 PRS Report and Impact Analysis for NPRR842 with a recommended priority of 2018 and a rank of 2120. - NPRR844, Clarification to Outage Report [ERCOT] Proposed Effective Date: Upon system implementation - Priority 2018; Rank 2130 ERCOT Impact Analysis: Between $15k and $25k; no impacts to ERCOT staffing; impacts to Outage Scheduler (OS) and DAIP; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR corrects the current process of including capacity that is modeled but not yet commercially operational in the Outage Scheduler, which is then reflected in the Outage report. PRS Decision: On 12/14/17, PRS voted unanimously to recommend approval of NPRR844 as amended by the 11/21/17 Luminant comments. On 1/18/18, PRS voted unanimously to endorse and forward to TAC the 12/14/17 PRS Report, as amended by the 1/17/18 Luminant comments, and the Impact Analysis for NPRR844 with a recommended priority of 2018 and a rank of 2130. - NPRR852, CRR Activity Calendar Approval Process [ERCOT] Proposed Effective Date: March 1, 2018 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR clarifies the process ERCOT follows when updating the Congestion Revenue Right (CRR) activity calendar; removes unnecessary “advisory approval” language; and moves the approval of the calendar to the Wholesale Market Subcommittee (WMS) rather than TAC. This allows for a more efficient approval process for ERCOT while at the same time still allowing review by appropriate stakeholders. PRS Decision: On 12/14/17, PRS unanimously voted to recommend approval of NPRR852 as submitted. On 1/18/18, PRS unanimously voted to endorse and forward to TAC the 12/14/17 PRS Report and Impact Analysis for NPRR852. - NPRR855, Criteria for Including Resources in the CDR Peak Average Capacity Contribution Calculations [ERCOT] Proposed Effective Date: March 1, 2018 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR clarifies the criteria for including Resources in the Seasonal Peak Average capacity estimation calculations used for the Report on Capacity, Demand and Reserves in the ERCOT Region. The revisions, which pertain to the handling of new and retiring Resources, apply to wind, solar, Direct Current Ties (DC Ties), hydro, and All-Inclusive Generation Resources within Private Use Networks. PRS Decision: On 12/14/17, PRS voted unanimously to recommend approval of NPRR855 as submitted. On 1/18/18, PRS voted unanimously to endorse and forward to TAC the 12/14/17 PRS Report and Impact Analysis for NPRR855. - NPRR861, Clarification of ERCOT’s Authority to Protect Its Jurisdictional Status – URGENT [ERCOT] Proposed Effective Date: February 21, 2018 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. Revision Description: This NPRR clarifies that ERCOT can and will take all actions necessary to preserve the jurisdictional status quo and avoid causing any Entity that is not a public utility under the Federal Power Act (FPA) to become such a public utility. ERCOT’s possible actions include but are not limited to ordering the disconnection of Transmission Facilities and denial or curtailment of an Electronic Tag (e-Tag). PRS Decision: On 1/18/18, PRS unanimously voted to grant NPRR861 Urgent status. PRS then unanimously voted to recommend approval of NPRR861 as revised by PRS and to forward to TAC. - SCR794, Update SCED Limit Calculation [ERCOT] Proposed Effective Date: Upon system implementation - Priority 2018; Rank 2140 ERCOT Impact Analysis: Between $25k and $35k; no impacts to ERCOT staffing; impacts to Energy Management System (EMS); no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This SCR updates how the Security-Constrained Economic Dispatch (SCED) limit is calculated by Transmission Constraint Manager (TCM) to take into account how the MVA flows compare to actual MVA limits. PRS Decision: On 12/14/17, PRS unanimously voted to recommend approval of SCR794 as submitted. On 1/18/18, PRS unanimously voted to endorse and forward to TAC the 12/14/17 PRS Report and Impact Analysis for SCR794 with a recommended priority of 2018 and a rank of 2140. Revision Requests Rejected None Revision Requests Withdrawn None Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the February 8, 2018 PRS Meeting - NPRR854, NOIE TDSP Submittal of Meters with Bidirectional Flow Caused by Generation Interconnected at Distribution Voltage [STEC] - NPRR860, Day-Ahead Market (DAM) Clean-Up [ERCOT] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR807, Day-Ahead Market Price Correction [ERCOT] - NPRR823, Amend the Definition of an Affiliate [Dynegy] - NPRR826, Mitigated Offer Caps for RMR Resources [Citigroup] - NPRR832, Disallow PTP Obligation Bids and DAM Energy Bids that Sink at Private Use Network Settlement Points Without a Load Distribution Factor - URGENT [ERCOT] - NPRR837, Regional Planning Group (RPG) Process Reform [ERCOT] - NPRR838, Updated O&M Cost for RMR Resources [ERCOT] - NPRR845, RMR Process and Agreement Revisions [ERCOT] - NPRR847, Exceptional Fuel Cost Included in the Mitigated Offer Cap [ERCOT] - NPRR848, Separate Clearing Prices for RRS [Morgan Stanley] - NPRR849, Clarification of the Range of Voltage Set Points at a Generation Resource’s POI [ERCOT] - NPRR850, Market Suspension and Restart [ERCOT] - NPRR851, Procedure for Managing Disconnections for Bidirectional Electrical Connections at Transmission Level Voltages [GSEC] - NPRR853, Availability of ERCOT Estimated Interval Meter Data [ARM] - NPRR856, Treatment of OFFQS Status in Day-Ahead Make Whole and RUC Settlements [ERCOT] - NPRR857, Creation of Direct Current Tie Operator Market Participant Role [ERCOT] - NPRR858, Provide Complete Current Operating Plan (COP) Data [Citigroup] - NPRR862, Updates to Address Revisions under PUCT Project 46369 [ERCOT] - NPRR863, Creation of Primary Frequency Response Service Product and Revisions to Responsive Reserve [STEC] - NPRR864, RUC Modifications to Consider Market-Based Solutions [SENA] - SCR793, SSR Related Telemetry for Cross Texas Transmission [Cross Texas Transmission] - SCR795, Addition of Intra-Hour Wind Forecast to GTBD Calculation [ERCOT] New Revision Requests Scheduled for Consideration at the February 8, 2018 PRS Meeting - NPRR865, Publish RTM Shift Factors for Hubs, Load Zones, and DC Ties [DC Energy] These Revision Requests and supporting materials are posted on the ERCOT website at the following link: http://www.ercot.com/mktrules/issues/nprr http://www.ercot.com/mktrules/issues/scr