## Slide 1
Item 8: PRS Report
Martha Henson
PRS Chair
Technical Advisory Committee (TAC) Meeting
ERCOT Public
January 25, 2018

## Slide 2: Summary of PRS Update
2018 PRS Leadership
Chair: Martha Henson, Oncor
Vice Chair: Melissa Trevino, Occidental Chemical
Revision Requests Recommended for Approval by PRS – Unopposed and No Impact (Vote):
NPRR852, CRR Activity Calendar Approval Process*
NPRR855, Criteria for Including Resources in the CDR Peak Average Capacity Contribution Calculations*
NPRR861, Clarification of ERCOT’s Authority to Protect Its Jurisdictional Status* – URGENT
(* denotes no impact)

## Slide 3: Summary of PRS Update (continued)
Revision Requests Recommended for Approval by PRS – Unopposed with Impacts (Vote):
NPRR819, Modification of Non-Price Error Resettlement Thresholds and Resettlement Clean-Ups
  IA: Between $25k and $50k Priority 2018; Rank 2110
NPRR841, Real-Time Adjustments to Day-Ahead Make Whole Payments due to Ancillary Services Infeasibility Charges
  IA: Between $60k and $80k Priority 2019; Rank 2520
NPRR842, Study Area Load Information
  IA: Between $60k and $80k Priority 2018; Rank 2120
NPRR844, Clarification to Outage Report
  IA: Between $15k and $25k Priority 2018; Rank 2130
SCR794, Update SCED Limit Calculation
  IA: Between $25k and $35k Priority 2018; Rank 2140
(* denotes no impact)

## Slide 4: Appendix

## Slide 5: NPRR819, Modification of Non-Price Error Resettlement Thresholds and Resettlement Clean-Ups [ERCOT]
Proposed Effective Date: Upon system implementation - Priority 2018; Rank 2110
ERCOT Impact Analysis: Between $25k and $50k; no impacts to ERCOT staffing; impacts to Market Settlements (S&B); ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR removes language referencing “data errors” for resettlement of the Day-Ahead Market (DAM) and the Real-Time Market (RTM); gives the ERCOT Board authority to direct a DAM resettlement parallel to its authority to direct RTM resettlement; removes references to undefined “declarations” of resettlements; changes the thresholds that determine a resettlement; and fixes a semantics error.
PRS Decision: On 11/9/17, PRS unanimously voted to recommend approval of NPRR819 as amended by the 8/30/17 ERCOT comments. On 12/14/17, PRS unanimously voted to endorse and forward to TAC the 11/9/17 PRS Report and the Revised Impact Analysis for NPRR819 with a recommended priority of 2018 and a rank of 2110.

## Slide 6: NPRR841, Real-Time Adjustments to Day-Ahead Make Whole Payments due to Ancillary Services Infeasibility Charges [ERCOT]
Proposed Effective Date: Upon system implementation - Priority 2019; Rank 2520
ERCOT Impact Analysis: Between $60k and $80k; no impacts to ERCOT staffing; impacts to S&B, Integration, Data Access & Transparency, and CRM & Registration System (REG); ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR determines, in Real-Time, the Day-Ahead Make-Whole Payment by incorporating the Ancillary Services infeasibility charge approved with NPRR782, Settlement of Infeasible Ancillary Services Due to Transmission Constraints, into the Make-Whole Payment analysis.
PRS Decision: On 11/9/17, PRS voted unanimously to recommend approval of NPRR841 as submitted. On 12/14/17, PRS voted unanimously to endorse and forward to TAC the 11/9/17 PRS Report, as revised by PRS, and the Impact Analysis for NPRR841, with a recommended priority of 2019 and a rank of 2520.

## Slide 7: NPRR842, Study Area Load Information [ERCOT]
Proposed Effective Date: Upon system implementation - Priority 2018; Rank 2120
ERCOT Impact Analysis: Between $60k and $80k; no impacts to ERCOT staffing; impacts to Data Access & Transparency, Data and Information Products (DAIP), and External Public; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR defines a Study Area as well as delivers the Load information, both forecast and actual, for any Study Areas developed by ERCOT.
PRS Decision: On 11/9/17, PRS voted unanimously to recommend approval of NPRR842 as submitted. On 12/14/17, PRS voted unanimously to endorse and forward to TAC the 11/9/17 PRS Report and Impact Analysis for NPRR842 with a recommended priority of 2018 and a rank of 2120.

## Slide 8: NPRR844, Clarification to Outage Report [ERCOT]
Proposed Effective Date: Upon system implementation - Priority 2018; Rank 2130
ERCOT Impact Analysis: Between $15k and $25k; no impacts to ERCOT staffing; impacts to Outage Scheduler (OS) and Data and Information Products (DAIP); no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR corrects the current process of including capacity that is modeled but not yet commercially operational in the Outage Scheduler, which is then reflected in the Outage report.
PRS Decision: On 12/14/17, PRS voted unanimously to recommend approval of NPRR844 as amended by the 11/21/17 Luminant comments. On 1/18/18, PRS voted unanimously to endorse and forward to TAC the 12/14/17 PRS Report, as amended by the 1/17/18 Luminant comments, and the Impact Analysis for NPRR844 with a recommended priority of 2018 and a rank of 2130.

## Slide 9: NPRR852, CRR Activity Calendar Approval Process [ERCOT]
Proposed Effective Date: March 1, 2018
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR clarifies the process ERCOT follows when updating the Congestion Revenue Right (CRR) activity calendar; removes unnecessary “advisory approval” language; and moves the approval of the calendar to the Wholesale Market Subcommittee (WMS) rather than TAC. This allows for a more efficient approval process for ERCOT while at the same time still allowing review by appropriate stakeholders.
PRS Decision: On 12/14/17, PRS unanimously voted to recommend approval of NPRR852 as submitted. On 1/18/18, PRS unanimously voted to endorse and forward to TAC the 12/14/17 PRS Report and Impact Analysis for NPRR852.

## Slide 10: NPRR855, Criteria for Including Resources in the CDR Peak Average Capacity Contribution Calculations [ERCOT]
Proposed Effective Date: March 1, 2018
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR clarifies the criteria for including Resources in the Seasonal Peak Average capacity estimation calculations used for the Report on Capacity, Demand and Reserves in the ERCOT Region. The revisions, which pertain to the handling of new and retiring Resources, apply to wind, solar, Direct Current Ties (DC Ties), hydro, and All-Inclusive Generation Resources within Private Use Networks.
PRS Decision: On 12/14/17, PRS voted unanimously to recommend approval of NPRR855 as submitted. On 1/18/18, PRS voted unanimously to endorse and forward to TAC the 12/14/17 PRS Report and Impact Analysis for NPRR855.

## Slide 11: NPRR861, Clarification of ERCOT’s Authority to Protect Its Jurisdictional Status – URGENT [ERCOT]
Proposed Effective Date: February 21, 2018
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated.
Revision Description: This NPRR clarifies that ERCOT can and will take all actions necessary to preserve the jurisdictional status quo and avoid causing any Entity that is not a public utility under the Federal Power Act (FPA) to become such a public utility. ERCOT’s possible actions include but are not limited to ordering the disconnection of Transmission Facilities and denial or curtailment of an Electronic Tag (e-Tag).
PRS Decision: On 1/18/18, PRS unanimously voted to grant NPRR861 Urgent status. PRS then unanimously voted to recommend approval of NPRR861 as revised by PRS and to forward to TAC.

## Slide 12: SCR794, Update SCED Limit Calculation [ERCOT]
Proposed Effective Date: Upon system implementation - Priority 2018; Rank 2140
ERCOT Impact Analysis: Between $25k and $35k; no impacts to ERCOT staffing; impacts to Energy Management System (EMS); no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This SCR updates how the Security-Constrained Economic Dispatch (SCED) limit is calculated by Transmission Constraint Manager (TCM) to take into account how the MVA flows compare to actual MVA limits.
PRS Decision: On 12/14/17, PRS unanimously voted to recommend approval of SCR794 as submitted. On 1/18/18, PRS unanimously voted to endorse and forward to TAC the 12/14/17 PRS Report and Impact Analysis for SCR794 with a recommended priority of 2018 and a rank of 2140.

## Slide 13: 2017 Release Targets – Board Approved NPRRs / SCRs / xGRRs
Go-live dates can differ from Protocol effective dates – Please refer to market notices for more details
Release targets are subject to change
APPENDIX
Red Text: New additions and target release changes
Strike-Through Text: Previous target release changes
(a), (b), etc. indicates multiple phases
March 3/7 – 3/9 | May 5/1 – 5/11 | June 6/27 – 6/29 | August 9/11 – 9/13 | October 10/31 – 11/2 | December 12/5 – 12/7
NPRR272 NPRR649 NPRR753 NPRR764 NPRR785 RMGRR134 NPRR790 | SCR790 NPRR746 NPRR786 NPRR792 NOGRR164 PGRR051 RRGRR003 RRGRR006 RRGRR007 RRGRR009 RRGRR010 PGRR046 | NPRR573 NPRR789 NPRR797 NPRR801 NPRR827 NPRR744 | NPRR758 NPRR775 NPRR809(a) PGRR052 PGRR054 | NPRR782 NPRR831(a) NPRR562(a) NPRR808 PGRR056 | NPRR812 NPRR778 RMGRR139
7 | 12 | 6 | 5 | 5 | 3
Project Status Codes
NS = Not Started
I = Initiation
P = Planning
E = Execution
H = On Hold
12/9 – 12/10 (Retail)
5/8 – NMMS Upgrade
6/1
9/1 & 9/14
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
8/1
2/1
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
ü
NPRR562(a) – Procedural changes
NPRR809(a) – Procedural changes
NPRR831(a) – All impacted systems except CRR
ü

## Slide 14: 2018 Release Targets – Board Approved NPRRs / SCRs / xGRRs
Go-live dates can differ from Protocol effective dates – Please refer to market notices for more details
Release targets are subject to change
APPENDIX
Red Text: New additions and target release changes
Strike-Through Text: Previous target release changes
(a), (b), etc. indicates multiple phases
February 2/6 – 2/8 | April 4/3 – 4/5 | May 5/29 – 5/31 | August 8/7 – 8/9 | October 10/23 – 10/25 | December 12/11 – 12/13
NPRR562(b) NPRR776 NPRR830 NPRR683 NPRR743 NPRR760 NPRR800 NPRR810 PGRR042 NPRR846 | NPRR562(b) NPRR776 SCR792 | NPRR809(b) SCR791 NPRR768 | NPRR815 | NPRR768 NPRR817 | NPRR519 NPRR620 NPRR741 NPRR755 PGRR057 SCR789
8 | 3 | 3 | 1 | 1 | 6
12/15 – 12/16
(Retail)
6/2 – 6/3
(Retail)
10/27 – 10/28
(Retail)
NS
NS
E
E
E
E
E
I
8/11 – 8/12
(Retail)
E
E
E
E
E
E
E
4/7 – 4/8
(Retail)
CMM Release 1a
Project Status Codes
NS = Not Started
I = Initiation
P = Planning
E = Execution
H = On Hold
1/1 & 2/1
E
NS
I
NPRR562(b) – Reporting/posting system changes
NPRR809(b) – Reporting/posting system changes
NPRR831(b) – CRR system changes
NS
E
I
CMM Release 1b
TBD Items (and point at which they became “TBD”)
2014 | 2015 | 2016 | 2017
NPRR664 | None | SCR781 P | NPRR702 P, NPRR829, SCR777, NPRR831(b), NPRR749, NPRR833
1/1
2/1