## Slide 1
ERCOT-SPP Coordinated RCEC Study –
ERCOT Scope
Ajay Pappu
ERCOT System Planning
Jan 30th 2018

## Slide 2: Outline
Overview
Assumptions – Reliability and Economic
Load assumptions
General assumptions
Timeline

## Slide 3: Overview
Background:
2016 - Rayburn Country Electric Cooperative (RCEC) announcement for complete move into ERCOT grid
2017 June - ERCOT integration study submitted to PUCT
Focus on most cost effective way to integrate new system
Option 2 was the preferred integration choice

## Slide 4: Overview
Going forward:
Separate but coordinated new studies by ERCOT and SPP
Analyze the impact of RCEC’s load transition
Similar assumptions and methodologies
Market and regulatory differences may prevent absolute consistency

## Slide 5: Assumptions
Reliability:
2022 North-North Central (NNC) summer peak case from 2017 RTP process
Known generation retirements will be turned off
Planned generation meeting P.G. 6.9 requirements will be included
Economic:
Production cost analysis for years 2020 and 2025
2020 – Generation assumptions from 2017 RTP
2025 – Current trends scenario from 2016 LTSA, 2026 case

## Slide 6: Assumptions cont..
Load:
Load details sources:
  2017 RTP 2022 summer peak case
  Rayburn system summer peak load information as provided by RCEC
East weather zone will be scaled to its 2022 peak forecast

## Slide 7: General Assumptions
Consistent natural gas price forecast
Wind and solar modeled as $0 marginal cost in economic analysis
Economic study without generation forced outages
Determine any avoided or new projects with RCEC system in place

## Slide 8: Timeline
Finalize scope – Jan 2018
Final report – March 1st 2018

## Slide 9: Appendix
Scope document: http://www.ercot.com/calendar/2018/1/30/138669-RPG