- Section 4:

NOGRR175 – Administrative Changes for February 1, 2018 Nodal Operating Guide – Load Shed Table

This Administrative Nodal Operating Guide Revision Request (NOGRR) updates the ERCOT Load Shed Table to reflect changes in obligations based on Public Utility Commission of Texas (PUCT) Docket No. 47469, Joint Report and Application of Sharyland Utilities LP, Sharyland Distribution and Transmission Services LLC, and Oncor Electric Delivery Company LLC for Transfer of Facilities, Transfer of Rights Under and Amendment of Certificates of Convenience and Necessity, and for Other Regulatory Approvals.

Revised Subsection:  4.5.3.4

- Section 6:

NOGRR169 – Disturbance Monitoring Requirements Update to Align with NERC Reliability Standard PRC-002-2

This Nodal Operating Guide Revision Request (NOGRR) aligns language in Section 6.1, Disturbance Monitoring Requirements, with North American Electric Reliability Corporation (NERC) Reliability Standard PRC-002-2, Define Regional Disturbance Monitoring and Reporting Requirements.

Revised Subsections:  6.1.1, 6.1.2, 6.1.2.1, 6.1.2.2, 6.1.2.3, 6.1.2.4, 6.1.2.5 (delete), 6.1.3, 6.1.3.1, 6.1.3.2, 6.1.3.3, 6.1.3.4, 6.1.4 (new), 6.1.4, 6.1.5

- Section 8:

NOGRR169 – Disturbance Monitoring Requirements Update to Align with NERC Reliability Standard PRC-002-2

See Section 6 above.

Revised Subsection:  Attachment M (new)

- Administrative Changes:

- Non-substantive administrative changes were made such as spelling corrections, formatting, and correcting Section numbering and references.

Revised Subsections:  6.2.3