## Slide 1
PDCWG Report to ROS
Chair: Percy Galliguez, Brazos Electric Power Cooperative, Inc.
ROS
February 1, 2018

## Slide 2: Report Overview & Notes
Report Overview
  Meeting Minutes
  BAL-001-TRE-1 FMEs & IMFR
    1 FME in the month of December
  Frequency Control Report

## Slide 3: Meeting Minutes
PDCWG Meeting 01/12/18
  Southern Cross DC Tie Transmission Project and Directive 8
  NOGRR174 (MOD26 Alignment)
  SCR795, Addition of Intra-Hour Wind Forecast to GTBD Calculation
  Evaluation of Overall RRS Requirement in Changing Grid
  Regulation & Frequency Control Reports
  BAL-001-TRE-001
    Operating Condition Guidelines for PFR Performance
    Performance Scoring below LSL

## Slide 4: Frequency Measurable Events Performance

## Slide 5: Frequency Measurable Events
There was 1 FME in December
  12/7/2018 20:42:11
    Loss of 707 MW(IMFR=1862MW/0.1Hz)
    Interconnection Frequency Response:
    9 of 44(5 of 38 RRS Providers) Evaluated Generation Resources had less than 75% of their expected Initial Primary Frequency Response.
    8 of 44(4 of 38 RRS Providers) Evaluated Generation Resources had less than 75% of their expected Sustained Primary Frequency Response.

## Slide 6: Interconnection Minimum Frequency Response (IMFR) Performance
IMFR Performance currently 1038.50 MW/0.1Hz

## Slide 7: Frequency Control Report
December 2017

## Slide 8: CPS1 Performance

## Slide 9: RMS1 Performance of ERCOT Frequency

## Slide 10: Frequency Profile Analysis

## Slide 11: Time Error Corrections
There were no Time Error Corrections (TEC) in December

## Slide 12: ERCOT Total Energy

## Slide 13: ERCOT Total Energy from Wind Generation

## Slide 14: ERCOT % Energy from Wind Generation

## Slide 15
Questions?