# Synchronous Inertial Response (SIR) Workshop Jan 24, 2018

# Follow Up, Action Items And next Steps

##### Additional Studies/Considerations/Action Items

- Conduct a field test with current Load Resources to see if faster response in 15cyles is feasible.

- Model Synthetic Inertia & its impacts on frequency response

- Have a discussion on Critical Contingency (i.e. RCC) discussion at NERC/PDCWG

- Changing UFLS Settings – additional studies?

  - Include how easy/difficult will this be in pro/con or cost/benefit (where -  ERCOT systems, TSP/DSP Systems et. all)

- Post whitepaper INERTIA: BASIC CONCEPT AND IMPACT ON ERCOT GRID by Feb 15, 2018

##### propose a List of Options with Pros/Cons/Considerations

- Options discussed through first workshop

  - Increase min RRS from Gen prior to procuring RRS in DAM

  - Change Critical inertia in real Time based on status of critical contingencies.

  - SIR Ancillary Service

  - Summary of Solutions from Workshop Attendees

    - Maintain enough inertia through Command & Control (include that commercial impacts are possible in cost/benefit)

    - Lower Critical Inertia by getting earlier and/or faster response from Load Resources

      - Include how easy/difficult will this be in pro/con (where -  ERCOT systems, Resource Entity Systems et. all)

    - Develop FFR product soon

- ERCOT to develop additional options for the list.

##### Items to Present in Next Workshop

- Results of additional studies.

- Talk through list of options published