## Slide 1: Operations Working Group
Chair- Rick Gillean
Vice-Chair- Rickey Floyd
02/02/2018

## Slide 2: SCR 793, This System Change Request (SCR) is intended to provide situational awareness of Subsynchronous Resonance (SSR) precursor conditions.
OWG reached consensus to move out of OWG. Even though SCR specifically references Cross Texas, it would apply to all TDSPs.

## Slide 3: NPRR 849, Clarification of the Range of Voltage Set Points at a Generation Resource’s Point of Interconnection (POI).
Stephen Solis with ERCOT reported on discussion held at last OWG meeting during which there was a call for a workshop. Mr. Solis stated that ERCOT does not want to have a workshop arguing that it was overkill. From ERCOT’s viewpoint, they are simply minimizing the existing requirements. However, after Walter Reid with the Wind Coalition adamantly disagreed with the changes being proposed by ERCOT, OWG members decided that a workshop was warranted. Mr. Solis conceded to holding a workshop but ask that generators send their technical experts as opposed to their compliance personnel in order getting stuck on language. Finally, it was agreed that a series of meetings might be necessary but that a WebEx would be the best choice to get the process started and to ensure that the right folks are involved.

## Slide 4: NPRR 851, Procedure for Managing Disconnections for Bidirectional Electrical Connections at Transmission Level Voltages.
OWG tabled NPRR 851.

## Slide 5: Draft NOGRR Regarding the Clarification of Automatic Under-Frequency Load Shed (UFLS) Requirement.
OWG reached consensus to move out of OWG.

## Slide 6: Southern Cross Transmission (SCT) Directive 9: Ancillary Services; Issues related to Most Severe Single Contingency (MSSC) and the Margin between Minimum Responsive Reserve Service (RRS) Procurement and Contingency Reserve Requirements.
OWG tabled until the next meeting.

## Slide 7: Joint Meeting of QMWG and OWG re: Generation Islanding.
QMWG Chair Eric Goff will address OWG at the next meeting on 01/02/18.