DRAFT
Minutes of the Reliability Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, January 11, 2018 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Ayers-Brasher, Jennifer | E.ON |  |
| Bern, Alan | Oncor |  |
| Bunch, Kevin | EDF Energy Services |  |
| Coleman, Diana | OPUC |  |
| DeTullio, David | Air Liquide |  |
| Downey, Marty | Electranet Power |  |
| Ee, Danny | Austin Energy |  |
| Greer, Clayton | Morgan Stanley | Via Teleconference |
| Gross, Blake | AEPSC | Alt. Rep. for Dennis Kunkel |
| Hampton, Brenda | Luminant |  |
| Helton, Bob | Dynegy | Alt. Rep. for Matt Fahey |
| Hudson, Tony | TNMP |  |
| Koellner, Kris | LCRA |  |
| Kroskey, Tony | Brazos |  |
| Mejia, Arnulfo | Brownsville PUB | Alt. Rep. for Eli Alvarez |
| Moore, John | STEC |  |
| Palen, John | Reliant Energy Retail Services | Alt. Rep. for Robert Bailey |
| Reed, Cyrus | Sierra Club |  |
| Sandidge, Clint | Calpine Energy Solutions |  |
| Shaw, Marka | Exelon |  |
| Staples, Boone | Tenaska Power Services |  |
| Vo, Trieu | CPS Energy |  |
| Woitt, Wes | CenterPoint Energy |  |

The following Proxy was assigned:

Billy Lee to Trieu Vo

| Guests: |  |  |
| --- | --- | --- |
| Bowen, Kenneth | CPS Energy |  |
| Bruce, Mark | Cratylus Advisors |  |
| Coon, Patrick | MegaWatt Analytics |  |
| Dietert, Cole | LCRA | Via Teleconference |
| Donohoo, Ken | CenterPoint Energy |  |
| Eckhoff, Christina | Texas RE | Via Teleconference |
| Filat, Eddie | Sharyland Utilities | Via Teleconference |
| Galliguez, Percy | Brazos |  |
| Gillean, Rick | Cross Texas Transmission |  |
| Henderson, Norris | FERC | Via Teleconference |
| Holland, Mike | Oncor | Via Teleconference |
| Howe, Larry | TXSES | Via Teleconference |
| Jablonski, Ward | CenterPoint Energy | Via Teleconference |
| Juricek, Mike | Oncor | Via Teleconference |
| Lane, Rob | Oncor |  |
| Lange, Clif | STEC | Via Teleconference |
| Loyferman, Larisa | CenterPoint Energy | Via Teleconference |
| Minchew, Christina | WETT | Via Teleconference |
| Mueller, Paula | Texas RE | Via Teleconference |
| Myers, Brad | AEPSC | Via Teleconference |
| Penney, David | Texas RE | Via Teleconference |
| Powell, Christian | LCRA |  |
| Ravulapati, Bharath | Cross Texas Transmission |  |
| Reid, Michael | Air Liquide |  |
| Reid, Walter | Wind Coalition |  |
| Siddiqi, Shams | Crescent Power Inc. | Via Teleconference |
| Sithuraj, Murali | Austin Energy |  |
| Smith, Caitlin | Jewell & Associates |  |
| Solis, John | AEPSC | Via Teleconference |
| Stanfield, Leonard | Invenergy | Via Teleconference |
| Thompson, David | PECI | Via Teleconference |
| Tu, Feng | AEPSC | Via Teleconference |
| Tzartzev, Rouslan | EDP Renewables | Via Teleconference |
| Urquidez, Omar | CenterPoint Energy |  |
| Whitworth, Doug | Texas RE | Via Teleconference |
| Wittmeyer, Bob | Denton Municipal Electric |  |
| Williams, Scot | Oncor | Via Teleconference |

| ERCOT Staff: |  |  |
| --- | --- | --- |
| Bernecker, John |  | Via Teleconference |
| Billo, Jeff |  |  |
| Boswell, Bill |  | Via Teleconference |
| Bracy, Phil |  |  |
| Butterfield, Lindsay |  | Via Teleconference |
| Calderon, Rudy |  | Via Teleconference |
| Chen, Jian |  | Via Teleconference |
| Garcia, Freddy |  |  |
| Hailu, Ted |  |  |
| Hanson, Kevin |  | Via Teleconference |
| Hilliard, Marie |  | Via Teleconference |
| Hobbs, Kristi |  | Via Teleconference |
| Huang, Fred |  | Via Teleconference |
| Kane, Erika |  | Via Teleconference |
| Leady, Vickie |  | Via Teleconference |
| Levine, Jonathan |  | Via Teleconference |
| Mago, Nitika |  | Via Teleconference |
| Matlock, Robert |  | Via Teleconference |
| Phillips, Cory |  |  |
| Sanchez, Daniel |  | Via Teleconference |
| Shaw, Pamela |  | Via Teleconference |
| Sharma, Sandip |  |  |
| Solis, Stephen |  | Via Teleconference |
| Soto-Reyes, Leticia |  |  |
| Steffan, Nick |  |  |
| Stice, Clayton |  |  |
| Teixeira, Jay |  |  |
| Thompson, Chad |  |  |
| Wattles, Paul |  | Via Teleconference |

Unless otherwise indicated, all Market Segments were present for a vote.

- ERCOT Staff called the meeting to order at 9:30 a.m.

Antitrust Admonition

ERCOT Staff reviewed the ERCOT Antitrust Admonition, which was displayed.

Election of 2018 ROS Chair and Vice Chair

ERCOT Staff reviewed the leadership election process per the Electric Reliability Council of Texas

Technical Advisory Committee Procedures  and opened the floor for nominations.

Blake Gross nominated Alan Bern for 2018 ROS Chair.  Mr. Bern accepted the nomination.  Mr. Bern was named 2018 ROS Chair by acclamation.

John Moore nominated Tom Burke for 2018 ROS Vice-Chair.  Mr. Burke accepted the nomination.  Mr. Burke was named 2018 ROS Vice-Chair by acclamation.

- Agenda Review

Mr. Bern reviewed items scheduled for a vote at this meeting and noted changes to the order for which items would be taken up.

- Approval of Meeting Minutes (see Key Documents)

November 2, 2017

Kris Koellner moved to approve the November 2, 2017 ROS meeting minutes as submitted.  Brenda Hampton seconded the motion.  The motion carried unanimously.

ERCOT Updates (see Key Documents)

Operations Report

Freddy Garcia presented the Operations Report for November 2017.

System Planning Report

Jeff Billo presented the November 2017 System Planning Report.

Distributed Energy Resource (DER) Mapping Update

Bill Blevins updated Market Participants on current status and next steps for DER Mapping in ERCOT.

Nodal Protocol Revision Request (NPRR) 861, Clarification of ERCOT’s Authority to Protect Its Jurisdictional Status

Brandon Gleason stated that NPRR861 was initiated at the request of the Public Utility Commission of Texas (PUCT) in response to two proposed interconnection projects planned in California and Arizona to the Comisión Federal de Electricidad system in Mexico, which could result in a situation where energy may be transferred from Texas to another state.  Mr. Gleason noted that while the North and East DC Ties do currently connect Texas to other states, they are exempt from Federal Energy Regulatory Commission (FERC) jurisdiction under the Federal Power Act, and that NPRR861 clarifies ERCOT’s authority to take action in order to preserve its non-jurisdictional status with respect to FERC including denial or curtailment of E-Tags and/or opening of breakers to prevent the flow of energy between states.

Bob Helton moved to recommend approval of NPRR861 as submitted.  Mr. Gross seconded the motion.  Market Participants agreed upon the importance of maintaining ERCOT’s jurisdictional status, though some expressed concern regarding lack of specificity in the language allowing ERCOT to take “any” action to maintain that status, and opined that it may be worthwhile to spend additional time reviewing NPRR861.  The motion carried unanimously.

New Protocol Revision Subcommittee (PRS) Referrals

NPRR851, Procedure for Managing Disconnections for Bidirectional Electrical Connections

Mr. Helton moved to request PRS continue to table NPRR851.  Ms. Hampton seconded the motion.  The motion carried unanimously.

NPRR857, Creation of Direct Current Tie Operator Market Participant Role

Mr. Gross moved to request PRS continue to table NPRR857 for additional review by the Operations Working Group (OWG).  David DeTullio seconded the motion.  The motion carried unanimously.

System Change Request (SCR) 793, SSR Related Telemetry for Cross Texas Transmission

Bharath Ravulapati summarized SCR793, stating that the change would provide Transmission Service Provider (TSP) Operators with the same monitoring information available to ERCOT for Sub-Synchronous Resonance (SSR) telemetry of a Generator.  Chad Thompson noted that the information would be available to all TSPs, and would not be exclusive to Cross Texas Transmission.  Market Participants agreed that the information would be valuable, adding that the cost of implementing the change would likely be a determining factor in the approval process.

Mr. DeTullio moved to request PRS continue to table SCR793 for additional review by the OWG.  Mr. Koellner seconded the motion.  The motion carried with one opposing vote from the Independent Retail Electric Provider (IREP) (Reliant Energy Retail Services) Market Segment.

SCR795, Addition of Intra-Hour Wind Forecast to GTBD Calculation

Sandip Sharma reviewed SCR795, stating that current Generation To Be Dispatched (GTBD) calculations are unable to account for minute-to-minute ramp of wind generation, and added that a unit trip in some down-ramp situations can result in a prolonged recovery period.  Mr. Sharma stated that the ability to forecast in Real-Time the expected ramp from wind generation for the coming five minutes in the GTBD calculation would improve Security-Constrained Economic Dispatch (SCED) dispatch and ease pressure on regulation deployment.

Kevin Bunch moved to request PRS continue to table SCR795.  Mr. Gross seconded the motion.  The motion carried unanimously.  Mr. Bern referred SCR795 to the Performance Disturbance Compliance Working Group (PDCWG) for further review.

Revision Requests Tabled at PRS, Previously Referred to ROS (see Key Documents)

NPRR837, Regional Planning Group (RPG) Process Reform

NPRR849, Clarification of the Range of Voltage Set Points at a Generation Resource’s POI

ROS took no action on these items.

Planning Working Group (PLWG)

Kenneth Bowen reviewed recent PLWG activity.

Revision Requests Tabled at ROS

Planning Guide Revision Request (PGRR) 059, Related to NPRR837, Regional Planning Group Process Reform

ROS took no action on this item.

Resource Data Working Group (RDWG)

John Palen reviewed recent RDWG activity.

Review of Revision Request Language

Resource Registration Glossary Revision Request (RRGRR) 015, Additional Guidance for Transformer and Station Data

Mr. DeTullio moved to recommend approval of RRGRR015 as submitted.  Trieu Vo seconded the motion.  The motion carried unanimously.

RRGRR016, Additional Guidance for Solar Data

Cyrus Reed moved to recommend approval of RRGRR016 as submitted.  Ms. Hampton seconded the motion.  The motion carried unanimously.

Nodal Operating Guide Revision Request (NOGRR) 174, AVR and PSS Testing Requirements

Mr. DeTullio moved to table NOGRR174 and refer the issue to the OWG and Dynamics Working Group (DWG).  Mr. Bunch seconded the motion.  The motion carried unanimously.

PDCWG (see Key Documents)

Percy Galliguez reviewed recent PDCWG activity.

Planning Geomagnetic Disturbance Task Force (PGDTF) (see Key Documents)

Omar Urquidez reviewed recent PGDTF activity.

GIC System Model Procedure Manual Updates

Mr. Urquidez reviewed PGDTF updates to the GIC System Model Procedure Manual, and noted an additional administrative change required in Section 3.2, Substation Data.

Wes Woitt moved to approve the GIC System Model Procedure Manual as revised by ROS.  Mr. Gross seconded the motion.  The motion carried unanimously.

OWG (see Key Documents)

Rick Gillean reviewed recent OWG activity.

NOGRR169, Disturbance Monitoring Requirements Update to Align with NERC Reliability Standard PRC-002-2

Mr. Gross moved to recommend approval of NOGRR169 as recommended by OWG in the 11/17/17 OWG Report.  Mr. DeTullio seconded the motion.  The motion carried unanimously.

System Protection Working Group (SPWG) (see Key Documents)

SPWG Procedures

ROS Participants reviewed proposed revisions to the SPWG Procedures.

Mr. DeTullio moved to approve the SPWG Procedures.  Mr. Woitt seconded the motion.  The motion carried unanimously.

DWG (see Key Documents)

DWG Procedure Manual Updates

Market Participants reviewed and discussed proposed changes to the DWG Procedure Manual.

Mr. Woitt moved to approve the DWG Procedure Manual.  Mr. DeTullio seconded the motion.  The motion carried unanimously.

VPWG (see Key Documents)

Scot Williams reviewed recent VPWG activity.

Operations Training Working Group (OTWG) (see Key Documents)

Mr. Blevins reviewed recent OTWG activity.

Steady State Working Group (SSWG) (see Key Documents)

Mike Holland reviewed recent SSWG activity.

Other Business

Review of Open Action Items

Mr. Bern reviewed updates to the Open Action Items List.

Adjournment

Mr. Bern adjourned the January 11, 2018 ROS meeting at 12:30 p.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2018/1/11/139248-ROS