## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for January 2018

## Slide 2: Non-IRR GREDP < 85% – January 2018
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 231 | 354 | 435 | 3.01 | 81.38
Unit 232 | 363 | 434 | 2.96 | 83.64
Unit 292 | 37 | 45 | 1.97 | 82.22

## Slide 3: IRR Summary – January 2018
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 80.36 | 63.27 | 84.09
GREDP Median (%) | 95.00 | 69.23 | 90.51
Average MW Error | 3.17 | 3.01 | 3.20
Median MW Error | 2.96 | 2.70 | 3.23
Total Intervals Scored | 32,449 | 10,661 | 9,476
100+ Intervals Scored | 49 | 128 | 20
Total Intervals Scored Average | 183.33 | 190.38 | 473.80

## Slide 4: IRR < 95%, ≥ 100 Scored Intervals – January 2018
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 7 | 1083 | 1179 | 4.48 | 91.85
Unit 8 | 675 | 1,077 | 9.25 | 62.67
Unit 9 | 973 | 1,044 | 2.62 | 93.20
Unit 11 | 728 | 817 | 3.39 | 89.11
Unit 12 | 646 | 695 | 3.95 | 92.95
Unit 13 | 619 | 655 | 4.05 | 94.50
Unit 14 | 496 | 551 | 1.38 | 90.02
Unit 17 | 305 | 443 | 0.30 | 68.85
Unit 22 | 375 | 418 | 1.43 | 89.71
Unit 23 | 385 | 411 | 1.11 | 93.67
Unit 25 | 354 | 373 | 2.67 | 94.91
Unit 29 | 317 | 346 | 3.44 | 91

## Slide 5: IRR < 95%, ≥ 100 Scored Intervals – January 2018
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 36 | 280 | 297 | 2.32 | 94.28
Unit 38 | 192 | 261 | 6.25 | 73.56
Unit 39 | 235 | 257 | 4.10 | 91.43
Unit 43 | 92 | 170 | 3.30 | 54.12
Unit 44 | 119 | 166 | 3.35 | 71.68
Unit 47 | 93 | 111 | 2.28 | 83.78
Unit 48 | 91 | 103 | 1.21 | 91

## Slide 6: IRR ≥ 95%, Scored Intervals ≥ 100 – January 2018
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 2,916 | 2,943 | 4.06 | 99.08
Unit 2 | 2,705 | 2,757 | 3.64 | 98.11
Unit 3 | 2,136 | 2,153 | 2.12 | 99.19
Unit 4 | 2,101 | 2,133 | 2.90 | 99
Unit 5 | 2,018 | 2,095 | 2.78 | 99
Unit 6 | 1,142 | 1,184 | 5.64 | 96.45
Unit 10 | 941 | 961 | 3.68 | 97.92
Unit 15 | 520 | 542 | 0.74 | 95.94
Unit 16 | 446 | 459 | 3.51 | 97.17
Unit 18 | 442 | 443 | 1.03 | 99.77
Unit 19 | 410 | 441 | 2.49 | 97
Unit 20 | 433 | 438 | 3.30 | 98.86

## Slide 7: IRR ≥ 95%, Scored Intervals ≥ 100 – January 2018
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 21 | 430 | 433 | 3.22 | 99.31
Unit 24 | 400 | 400 | 2.04 | 100
Unit 26 | 359 | 366 | 2.01 | 98.09
Unit 27 | 344 | 362 | 2.31 | 95.03
Unit 28 | 338 | 354 | 2.40 | 95
Unit 30 | 325 | 325 | 2.84 | 100.00
Unit 31 | 322 | 324 | 3.40 | 99.38
Unit 32 | 307 | 315 | 2.85 | 99
Unit 33 | 299 | 314 | 2.74 | 95.22
Unit 34 | 304 | 307 | 3.38 | 99.02
Unit 35 | 299 | 303 | 3.10 | 99
Unit 37 | 268 | 271 | 3.45 | 98.89

## Slide 8: IRR ≥ 95%, Scored Intervals ≥ 100 – January 2018
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 40 | 236 | 239 | 0.99 | 98.74
Unit 41 | 220 | 223 | 2.34 | 98.65
Unit 42 | 171 | 173 | 4.41 | 98.84
Unit 45 | 129 | 133 | 2.17 | 99
Unit 46 | 117 | 118 | 2.00 | 99.15