## Slide 1
Information Technology Report
Dave Pagliai
Manager, IT Support Services
ERCOT Public
February 2018

## Slide 2: Incident Report Highlights
Service Availability – January
  MarkeTrak met all SLA targets
  Retail Transaction Processing (non-core hours) – 99.80% (99% target)
  Retail Transaction Processing (core hours) – 98.73% (99.9% target)
Incidents & Maintenance – January
  01/18/18 – ERCOT experienced an outage of Retail Transaction Processing from 4:00 PM - 7:56 PM
    MarkeTrak, FindESIID, and FindTransaction were also unavailable for a portion of this time
  01/19/18 – ERCOT experienced degraded processing of retail transactions from 8:48 AM - 9:34 AM
  01/24/18 – ERCOT experienced an outage of Retail Transaction Processing from 9:25 AM - 9:56 AM
  01/25/18 – ERCOT experienced errors in the processing of a subset of retail transactions. As a result of reprocessing efforts, some duplicate transactions were sent to Market Participants.

## Slide 3: Incident Report Highlights
  01/27/18 – ERCOT experienced errors in the processing of retail transactions from approximately 7:00 a.m. - 11:00 p.m. 814 and 867 transactions were processing intermittently during this time frame. Some transactions were able to be reprocessed.
  01/28/18 – Planned Maintenance (Site Failover – Retail Processing, MarkeTrak, FindESIID, FindTransaction)

## Slide 4: MarkeTrak Performance