| NPRR Number | 853 | NPRR Title | Availability of ERCOT Estimated Interval Meter Data |
| --- | --- | --- | --- |
| Date |  | February 6, 2018 |  |
| Submitter’s Information |  |  |  |
| Name |  | Rebecca Zerwas on behalf of the Retail Market Subcommittee (RMS) |  |
| E-mail Address |  | Rebecca.Zerwas@nrg.com |  |
| Company |  | Reliant Energy Retail Services |  |
| Phone Number |  | 512-691-6318 |  |
| Cell Number |  |  |  |
| Market Segment |  | Independent Retail Electric Provider (IREP) |  |

Comments

At its February 6, 2018 meeting, RMS unanimously voted to endorse NPRR853 as amended by RMS.  All Market Segments were present for the vote.

Revised Cover Page Language

None

Revised Proposed Protocol Language

- 10.12	Communications

- 10.12.1	ERCOT Acquisition of Meter Data

(1)	ERCOT shall acquire meter data via the following communication links:

(a)	ERCOT private communication network established by ERCOT for ERCOT Real-Time metered Entities; and

(b)	Standard voice telephone circuit or other ERCOT-approved communication technology provided by the Transmission Service Provider (TSP) or Distribution Service Provider (DSP) for ERCOT-Polled Settlement (EPS) Meters.

- 10.12.2	TSP or DSP Meter Data Submittal to ERCOT

(1)	TSP and DSPs shall submit meter consumption data to ERCOT through a standard data interface into the Meter Data Acquisition System (MDAS).  In order to submit meter consumption data, a TSP or DSP shall use an automated system with an ERCOT-approved and tested interface to MDAS.

- 10.12.3	ERCOT Distribution of Settlement Quality Meter Data

(1)	ERCOT shall distribute Settlement Quality Meter Data to Market Participants:

(a)	Whenever a TSP or DSP submits meter consumption data to ERCOT via a Texas Standard Electronic Transaction (TX SET), information pertaining to specific Market Participants shall be removed and automatically forwarded on to that specific Market Participant (i.e., a Competitive Retailer (CR) will automatically receive the meter consumption data and other information for the Electric Service Identifiers (ESI IDs) that the CR represented during the meter data timeframe).

(b)	Whenever a TSP or DSP submits meter data to ERCOT via an ERCOT specified file format for Advanced Meters, upon certified request by a Market Participant, ERCOT shall make that data available to the Market Participant via Market Information System (MIS) Certified Area.

(c)	On Request – A Market Participant may submit an electronic request via the MIS Certified Area for specific meter consumption data.  ERCOT will receive and validate the request and, if appropriate, automatically forward the appropriate information to the Market Participant.

10.12.4	Availability of ERCOT Estimated Meter Data  (1)	Whenever ERCOT estimates meter data for Advanced Meters or Interval Data Recorder (IDR) Meters, upon certified request by a Market Participant, ERCOT shall make that data available to the Market Participant via the MIS Certified Area as a web servicen extract located on the Retail Transactions – Market Data Transparency – Data Request Services webpage.