| SCR Number | 794 | SCR Title | Update SCED Limit Calculation |
| --- | --- | --- | --- |
| Date of Decision |  | February 20, 2018 |  |
| Action |  | Approved |  |
| Timeline |  | Normal |  |
| Effective Date |  | Upon system implementation |  |
| Priority and Rank Assigned |  | Priority – 2018; Rank – 2140 |  |
| Supporting Protocol or Guide Sections/Related Documents |  | Protocol Section 6.5.7.3, Security Constrained Economic Dispatch |  |
| System Change Description |  | This System Change Request (SCR) updates how the Security-Constrained Economic Dispatch (SCED) limit is calculated by Transmission Constraint Manager (TCM) to take into account how the Megavolt Ampere (MVA) flows compare to actual MVA limits. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | The proposed resolution will address the potential for unrealistically low Megawatt (MW) limits during cases in which the MVA flows are significantly below the MVA limit. |  |
| PRS Decision |  | On 12/14/17, PRS unanimously voted to recommend approval of SCR794 as submitted. All Market Segments were present for the vote. On 1/18/18, PRS unanimously voted to endorse and forward to TAC the 12/14/17 PRS Report and Impact Analysis for SCR794 with a recommended priority of 2018 and a rank of 2140. All Market Segments were present for the vote. |  |
| Summary of PRS Discussion |  | On 12/14/17, there was no discussion. On 1/18/18, there was no discussion. |  |
| TAC Decision |  | On 1/25/18, TAC unanimously voted to recommend approval of SCR794 as recommended by PRS in the 1/18/18 PRS Report. All Market Segments were present for the vote. |  |
| Summary of TAC Discussion |  | On 1/25/18, there was no discussion. |  |
| ERCOT Opinion |  | ERCOT supports approval of SCR794. |  |
| Board Decision |  | On 2/20/18, the ERCOT Board approved SCR794 as recommended by TAC in the 1/25/18 TAC Report. |  |

| Sponsor |  |
| --- | --- |
| Name | Isabel Flores |
| E-mail Address | iflores@ercot.com |
| Company | ERCOT |
| Phone Number | 512-248-6531 |
| Cell Number | 512-565-9117 |
| Market Segment | Not applicable |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Cory Phillips |
| E-Mail Address | cory.phillips@ercot.com |
| Phone Number | 512-248-6464 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| None |  |

Market Rules Notes

None

Proposed System Change

Issue:

Currently MW limits are calculated using the equation provided below, regardless of the MVA flow relative to the MVA limit.  Under some circumstances, this calculation can result in unrealistically low MW limits.

Resolution:

Add conditions to how the limits are calculated as follows: