## Slide 1
WETT Bearkat Area Transmission Improvements Project-ERCOT Independent Review Scope
ERCOT Transmission Planning
Regional Planning Group
February 27, 2018

## Slide 2: Overview
Wind Energy Transmission Texas (WETT) submitted Bearkat Area Transmission Improvements project for Regional Planning Group review. This is a Tier 1 project that is estimated to cost $ 69.87 million.
http://www.ercot.com/calendar/2017/10/19/108887-RPG
  Proposed for 2021
  Address generator interconnection issues in Bearkat Area
  Reliability Issues
    Voltage Instability
    Thermal Overloads
  Provide exit strategy for WETT proposed Remedial Action Scheme (RAS)
  Improve generator get-a-way capacity at Bearkat
  Economic Benefit

## Slide 3: Scope Update
New generator additions based on most recent GIS report
Recent generator retirements
Economic benefit analysis
  Fuel cost forecast

## Slide 4: Bearkat Area Generator Additions
Project Name | Projected COD | Capacity | Signed Interconnect Agreement | Planning Guide Section 6.9
Rattlesnake Den Wind Phase 1 G1 | In-Service | 104 | Yes | Yes
Rattlesnake Den Wind Phase 1 G2 | In-Service | 103 | Yes | Yes
NBOHR(BearKat Wind A) | In-Service | 197 | Yes | Yes
Edmondson Ranch Wind | 05/07/2018 | 293 | Yes | Yes
Kontiki Wind | 04/01/2019 | 500 | No | No
BearKat Wind B | 04/15/2019 | 163 | Yes | Yes

## Slide 5: All New Generator Additions
ProjectName | Projected COD | Capacity | Signed Interconnect Agreement | Planning Guide Section 6.9
Tahoka Wind | 10/1/2018 | 505 | Yes | Yes
Edmondson Ranch Wind | 9/1/2019 | 293 | Yes | Yes
FEGC | 2/13/2018 | 129 | Yes | Yes
Cabezon Wind | 12/31/2018 | 238 | Yes | Yes
Wildrose Wind (Swisher) | 10/30/2019 | 212 | Yes | Yes
Loma Pinta Wind | 12/31/2018 | 200 | Yes | Yes
Waymark Solar | 12/15/2018 | 182 | Yes | Yes
Cactus Flats Wind | 6/15/2018 | 148 | Yes | Yes
Emerald Grove Solar | 1/1/2019 | 108 | Yes | Yes
MIRAGE | 2/1/2018 | 11 | Yes | Yes
Brazoria Energy G | 10/4/2018 | 96 | Yes | Yes
LEVEE (Freeport LNG) | 6/1/2019 | 87 | Yes | Yes
Lamesa Solar B (Phase II) | 12/31/2018 | 50 | Yes | Yes

## Slide 6: Recent Generator Retirements (Dec 2017 CDR)
Unit Name | Unit Size (MW) | Retirement Date
Barney M Davis Unit 1 | 335 | 12/31/17
Big Brown Unit 1 | 606 | 02/12/18
Big Brown Unit 2 | 602 | 02/12/18
Monticello Unit 1 | 580 | 01/04/18
Monticello Unit 2 | 580 | 01/04/18
Monticello Unit 3 | 790 | 01/04/18
Sandow Unit 4 | 600 | 01/11/18
Sandow Unit 5 | 600 | 01/11/18
Spencer Unit 4 | 61 | 01/03/18
Spencer Unit 5 | 61 | 01/03/18

## Slide 7: Study Assumptions
Production Cost Study Case
  Constructed from 17 RTP 2023 Production Cost Model
  ERCOT system-wide production-cost simulation will be run for the study year
  All new generator additions that meet Planning Guide Section 6.9 criteria at time of study will be added to the case.
  Transmission Projects expected to be in-service within the study region by 2022 at the time of the study will be added to the case

## Slide 8: Economic Model Input Assumptions – Fuel Cost Forecasts
Monthly gas price based on the 2018 HOG Forecast (2018 EIA AEO NG Forecast)
Year | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
2018 | 3.08 | 3.05 | 3.01 | 2.86 | 2.87 | 2.88 | 2.90 | 2.92 | 2.92 | 2.94 | 3.02 | 3.14
2019 | 3.37 | 3.35 | 3.30 | 3.15 | 3.15 | 3.15 | 3.18 | 3.20 | 3.20 | 3.22 | 3.31 | 3.44
2020 | 3.68 | 3.66 | 3.60 | 3.43 | 3.44 | 3.45 | 3.47 | 3.51 | 3.51 | 3.52 | 3.61 | 3.75
2021 | 3.48 | 3.46 | 3.41 | 3.25 | 3.26 | 3.27 | 3.29 | 3.32 | 3.32 | 3.33 | 3.42 | 3.55
2022 | 3.38 | 3.35 | 3.30 | 3.14 | 3.15 | 3.16 | 3.19 | 3.21 | 3.21 | 3.23 | 3.31 | 3.44
2023 | 3.44 | 3.41 | 3.37 | 3.21 | 3.22 | 3.23 | 3.24 | 3.27 | 3.27 | 3.29 | 3.38 | 3.51
2024 | 3.58 | 3.55 | 3.50 | 3.34 | 3.35 | 3.35 | 3.38 | 3.40 | 3.40 | 3.42 | 3.51 | 3.65
2025 | 3.73 | 3.71 | 3.65 | 3.48 | 3.49 | 3.50 | 3.53 | 3.56 | 3.56 | 3.57 | 3.66 | 3.81
2026 | 3.94 | 3.91 | 3.85 | 3.67 | 3.68 | 3.69 | 3.72 | 3.75 | 3.75 | 3.77 | 3.86 | 4.02
2027 | 4.14 | 4.11 | 4.04 | 3.85 | 3.86 | 3.87 | 3.90 | 3.93 | 3.93 | 3.95 | 4.05 | 4.22
2028 | 4.29 | 4.25 | 4.19 | 3.99 | 4.00 | 4.01 | 4.05 | 4.08 | 4.08 | 4.10 | 4.20 | 4.37
2029 | 4.39 | 4.36 | 4.29 | 4.09 | 4.10 | 4.12 | 4.15 | 4.18 | 4.18 | 4.19 | 4.30 | 4.48
2030 | 4.45 | 4.43 | 4.36 | 4.15 | 4.16 | 4.17 | 4.20 | 4.24 | 4.24 | 4.26 | 4.37 | 4.54
2031 | 4.54 | 4.51 | 4.45 | 4.23 | 4.24 | 4.25 | 4.29 | 4.32 | 4.32 | 4.34 | 4.46 | 4.63
2032 | 4.61 | 4.58 | 4.51 | 4.30 | 4.31 | 4.32 | 4.35 | 4.39 | 4.39 | 4.40 | 4.52 | 4.70
2033 | 4.65 | 4.61 | 4.54 | 4.33 | 4.34 | 4.35 | 4.38 | 4.42 | 4.42 | 4.44 | 4.55 | 4.73

## Slide 9: Study Procedure
Scenarios to be evaluated:
  Study Cases
  Economic Assessment of Alternatives
  Sensitivities based on PG Section 3.1.3(4):
    Generator additions with Signed Generation Interconnection Agreements (SGIA) but that DO NOT meet Planning Guide Section 6.9 criteria in study region at time of study will be added to the case

## Slide 10: Deliverables
  Tentative Timeline
    Final EIR update to RPG – March 2018
    EIR recommendation to TAC – April 2018
    BOD Endorsement – June 2018

## Slide 11
?
Stakeholder Comments Also Welcomed to Prabhu Gnanam:
ggnanam@ercot.com