## Slide 1
Reactive Studies
ERCOT Resource Integration
February 23, 2018

## Slide 2: Reactive Study Overview
Proposals to meet Reactive Power requirements are subject to ERCOT approval per Nodal Protocols section 3.15(8)
An approved reactive study is a prerequisite for inclusion in the Quarterly Stability Assessment (QSA) per Planning Guide section 5.9
ERCOT provides a Reactive Study Scope as a guideline to conducting reactive studies that successfully demonstrate that interconnecting Generation Resources are designed to meet the Reactive Power capability requirements set forth in the Nodal Protocols and Operating Guides

## Slide 3: Reactive Study Scope
Reactive Study Scope Revision 9 reflects current requirements
Reactive Power capability should be demonstrated for the expected seasonal voltage range (0.98 – 1.04 pu at the POI)
Demonstrating Reactive Power capability over the full range of voltage set points (0.95 – 1.05 pu at the POI) is recommended
The Reactive Study Scope will be updated to reflect any future Reactive Power requirements if and when they go into effect

## Slide 4: Reactive Power Requirement vs. POI Voltage

## Slide 5: Questions
ERCOT Resource Integration is happy to address questions regarding reactive studies and the Reactive Study Scope outside of this workshop
Contact Information:
  John Bernecker (John.Bernecker@ercot.com)
  Jay Teixeira (Jay.Teixeira@ercot.com)
  Cathey Carter (Cathey.Carter@ercot.com)
  Resource Integration Department (ResourceIntegrationDepartment@ercot.com)