## Sheet1
Index | Open Action Items | Responsible | Assigned | Comments | Open/Closed
5 | Review testing requirements for all Resources and impact on price formation | QMWG | 2014-03-05 | Request TAC to assign to ROS/PDCWG to look into whether historic data can be used to aviod the need for unannounced testing and identify the NERC rules/ERCOT protocol that defines the need for doing unannounced testing. Open other item requesting QMWG to look into price suppression caused by testing and the need for updating RDPA | Closed
6 | Notification requirements of Resources switchable to other Control Areas | QMWG | 2014-10-29 | Covered by SWGR white paper | Closed
7 | Market Transparency Notification for Market Model Error | QMWG | 2015-09-02 | Addressed by process change to give notification about the type of outage so that MPs can determine the potential for price correction | Closed
8 | Quick Start Generation Resources impact to operational reserves | QMWG | 2015-11-04 | Reviewed and addressed the impact on PRC & ORDC divergence | Closed
26 | Monitor RDF re PRC vs ORDC (Annual Review - 2018) | WMS | 2016-06-08 | No divergence from RDF as it is 1 | Closed
10 | RMR Issue: Obligation or Incentive For Early Notification | QMWG | 2016-07-06 | NPRR 862 updates per PUCT Project 46369 | Closed
11 | RMR Issue: Transmission Planning Assumptions – should ERCOT forecast retirements · Develop potential alternatives to potential retirement | QMWG/PLWG | 2016-07-06 | Was discussed and voted as part of 788 discussion (RMR study modifications) . | Closed
25 | RMR Issue: Contract length · “significant investment” language | RCWG | 2016-07-06 | Addressed by NPRR 795 | Closed
12 | RMR Issue: ORDC capacity calculation | QMWG | 2016-07-06 | Discussion at 47199 - Open new item later based on commission directive | Closed
14 | Regional Reserves Concept | QMWG | 2016-11-02 | Discussion at 47199 - Open new item later based on commission directive | Closed
30 | TAC Assignment: 2% Resettlement Rule | WMS/COPS | 2016-12-01 | Addressed by NPRR 819 | Closed
16 | Address the related issues of curtailments during watch (related to NPRR818) | QMWG | 2017-03-01 | Addressed by NPRR 818 and 825 | Closed
2 | Non-ERS deployments of ERS Generators | CMWG/QMWG/DSWG | 2017-09-06 | ERCOT gave ppt to QMWG and WMS showing the price response of DG. DGs performed with in the performance criteria for ERS. Further discussion will be part of RDTF and DER white paper development to determine how to enable these DG to set price or address the price suppression/volatility caused when they deploy | Closed
4 | Integration of ERS and Load Shed in price formation intended in NPRR626/Validations for Telemetry | DSWG/QMWG | 01/07/2015 / 07/06/2016 | Discussion at PUC - Open new item later based on commission directive | Closed
9 | TAC Assignment: Ancillary Service Enhancements (System Inertia, NonSpin issues, etc.) / include LR Percentage in RRS | QMWG | 06/08/2016 / 07/06/2016 | This was opened for FAST. This is captured in WMS goals. Could have other items added if new items open up during discussions about AS modifications. | Closed
21 | Incorporation of storage resources into the current AS portfolio | QMWG | 11/012107 | Discussed as part of NPRR 828, 756, 667 etc This is part of the WMS goal and also being discussed at PUC . New item on specific issues will be opened later based on commission directive | Closed
23 | Review removal of PPA applied in Verifiable Cost from Protocol | RCWG | 2014-10-29 | On Hold -until exceptional Fuel Cost (847) is addressed | Open
24 | Coal Index – Long Term Solution | RCWG | 2016-06-08 | Alternatives to be drafted at RCWG | Open
13 | Switchable Generation Resource Demand Side Working Group (DSWG) Whitepaper - include notification requirements of Resources switchable to other Control Areas | QMWG/RCWG | 2016-07-06 | On Hold - for ERCOT to work with other ISOs | Open
27 | MRA Issues (Reconsider in September) | WMS | 2016-07-06 | ERCOT working on NPRR based on discussions at 46369 | Open
28 | RMR Issue: Get rid of transmission exit strategy for RMRs | WMS | 2016-07-06 |  | Open
29 | RMR Issue: RMR for capacity criteria | WMS/ROS | 2016-07-06 |  | Open
15 | TAC Assignment: Reliability Unit Commitment (RUC) for Capacity | QMWG | 2017-02-01 |  | Open
1 | Transmission losses in Real-Time Settlement | CMWG | 2017-04-05 | On Hold - Issue brought by ERCOT which is on hold due to Marginal Loss discussion at PUC | Open
17 | Constraint Definitions | QMWG/NDSWG | 2017-07-12 | Sham's question about contingencies where resource nodes are isolated due to the contingency definition and/or combination of prior outage and contingency. Should be discussed at NSWG | Open
18 | NPRR845, RMR Process and Agreement Revisions | QMWG | 2017-07-12 |  | Open
3 | Directive #7 (Southern Cross Transmission Assignment) – Congestion Management (anticipated Discussions Q2-18) ERCOT shall (a) study and determine whether some or all DC ties should be economically dispatched or whether implementing a congestion-management plan or special protection scheme would more reliably and cost-effectively manage congestion caused by DC tie flows, (b) implement any necessary revisions to its protocols, guides, standards, and systems as appropriate, and (c) certify to the Commission when it has completed these actions. | CMWG/QMWG | 2017-09-27 | On Hold - ERCOT is working internally to draft issues and possible options with an anticipated target date for market discussions in Q2 2018 | Open
19 | Directive #10 (Southern Cross Transmission Assignment) – Price formation in Emergency conditions (consider 10/27/17) | QMWG | 2017-09-27 | Taking comments now | Open
31 | TAC Assignment: Market education on Real-Time Co-optimization | WMS | 2017-09-28 | At SWAG | Open
20 | Issue of procuring Non-Spin Reserve (Non-Spin) and the alignment of Ancillary Services | QMWG | 2017-11-01 |  | Open
22 | RUC commitments: • Identify specific NERC obligations to Justify a RUC • Limitations for delay of decision to RUC - If tipping scale in favor of delay, what is mechanism • Should AS penalty curves for RUC be modified • Prescreen info for operators • Impact to market and mechanisms to mitigate impacts | QMWG | 2017-11-01 | Open | Open
32 | QMWG to look into price suppression caused by testing and the need for updating RDPA | QMWG | 2018-01-31 |  | Open