| PGRR Number | 061 | PGRR Title | Related to NPRR866, Mapping Registered Distributed Generation and Load Resources to Transmission Loads in the Network Operations Model |
| --- | --- | --- | --- |

| Date | February 27, 2018 |
| --- | --- |

| Submitter’s Information |  |
| --- | --- |
| Name | Taylor Woodruff |
| E-mail Address | taylor.woodruff@oncor.com |
| Company | Oncor Electric Delivery LLC |
| Phone Number | 512-236-4874 |
| Cell Number |  |
| Market Segment | Investor Owned Utility (IOU) |

Comments

Oncor submits these comments in order to follow up the discussions at the Planning Working Group (PLWG) meeting of February 26, 2018.  Oncor proposes modifications to paragraph (5) of Section 6.5, Annual Load Data Request, to better reflect the data that a Transmission Service Provider (TSP) should provide.  Confirmation that registered Distributed Generation facilities are correctly mapped in the Network Operations Model can only be performed by a Transmission and/or Distribution Service Provider (TDSP) since the TDSP would be the only entity that could verify the mapping.  However, the additional information requested in the original language can be directly retrieved from the Resource Entity.  This is a more appropriate source, and it is already their role for Transmission-connected Resources.  Therefore, Oncor requests that the language requesting the additional information be deleted.

Revised Cover Page Language

None

Revised Proposed Guide Language

6.5	Annual Load Data Request

(1)	The Transmission and/or Distribution Service Provider (TDSP) or its Designated Agent must provide Load data each year to allow necessary ERCOT System reliability analysis and planning and to meet requirements of North American Electric Reliability Corporation (NERC).  Each TDSP or its Designated Agent is responsible for providing historical and forecasted Load data to ERCOT for all Loads connected to its system as outlined in the Annual Load Data Request Form Instructions.  Data supplied in the Annual Load Data Request (ALDR) is considered Protected Information.

(2)	Some or all of the following factors may be considered when developing Load forecast data:

(a)	Economic;

(b)	Demographic;

(c)	Customer trends;

(d)	Conservation;

(e)	Improvements in the efficiency of electrical energy uses;

(f)	Other changes in the end uses of electricity; and

(g)	Weather effects.

(3)	Each Distribution Service Provider (DSP) or its Designated Agent directly interconnected with the ERCOT Transmission Grid shall provide annual Load forecasts to ERCOT as outlined in the Annual Load Data Request Form Instructions.

(4)	For each substation not owned by either a Transmission Service Provider (TSP) or a DSP, the owner shall provide a substation Load forecast to the directly-connected TSP sufficient to allow it to adequately include that substation in its ALDR response.

(5)	ERCOT shall annually provide each TSP with a list of registered Distributed Generation (DG) facilities in the TSP’s territory, including information about how each facility is mapped to its designated Load in the Network Operations Model.  This list will be posted to the Market Information System (MIS) Certified area.  As part of the ALDR process, the TSP shall verify that each DG facility on the list is correctly mapped to its Load in the Network Operations Model.

(6)	The TDSP or its Designated Agent shall coordinate with the appropriate working group as described in the Annual Load Data Request Form Instructions for issues with data submissions.

(7)	Load data that is incomplete, not timely submitted on the schedule, or not in the format defined in the Annual Load Data Request Form Instructions will be considered missing data.  For these missing Load data, ERCOT shall calculate Loads based on historical data and insert these Loads into the Load flow cases during Data Set A and Data Set B annual updates.