## Slide 1
ROS Report – February 2018
Alan Bern
Technical Advisory Committee (TAC) Meeting
ERCOT Public

## Slide 2: Voting Items
RRGRR015, Additional Guidance for Transformer and Station Data
  ROS voted unanimously to endorse and forward to TAC the 1/11/18 ROS Report and Impact Analysis for RRGRR015 with a recommended priority of 2018 and a rank of 2150 (unanimous)
RRGRR016, Additional Guidance for Solar Data
  ROS voted unanimously to endorse and forward to TAC the 1/11/18 ROS Report and Impact Analysis for RRGRR016 with a recommended priority of 2018 and a rank of 2150 (unanimous)

## Slide 3: DC Tie Curtailments
There were seven DC Tie curtailments (Tags) in December
Date | DC Tie | Curtailing Period | # of Curtailments (Tags) | Curtailment Reason
12/11/2017 | Eagle Pass | HE17 | 4 | Forced extension of a planned outage on the Eagle Pass DC Tie
12/18/2017 | South | HE09 – HE14 | 3 | Forced extension of a planned outage on the South DC Tie (DC_L)

## Slide 4: Meetings
ERCOT SIR (Synchronous Inertia Response) Workshop
  First workshop on 1-24-18 (Very informative discussion)
  Second is being scheduled
Primary Frequency Response Discussion at PDCWG “Open” Meeting
  2-14-18 (Valentine’s Day)
NPRR849 “Voltage Range” Workshop
  Scheduled for 2-23-18