## Slide 1
Implement Grey Box Language Added with NPRR461, Energy Storage Settlements Consistent With PUCT Project 39917
WMS
February 28, 2018

## Slide 2: NPRR461 Background
Approved by the ERCOT Board on 12/11/2012
Defined special treatment for Wholesale Storage Load (WSL)
Implemented by ERCOT on 2/14/2013
Language included a MIS Secure posting of ERCOT-Wide Total Wholesale Storage Load
Posting language was grey boxed upon NPRR implementation to prevent disclosure of confidential information

## Slide 3: Protocol Language
11.5.2.2 General Public Data Posting/Availability
The following general market information will be posted to the MIS Secure Area:
  Total generation; and
  Total Adjusted Meter Load (AML).
  [NPRR461: Insert item (c) below once sufficient amount of Wholesale Storage Load (WSL) aggregation has occurred in order not to reveal any individual Market Participant’s Protected Information:]
  (c) Total Wholesale Storage Load (WSL).

## Slide 4: Active Energy Storage Sites
Is aggregation of 88.8 MWs “sufficient” to allow posting of Total Wholesale Storage Load?
GENSITECODE | CAPACITY MW | STARTTIME
NWF | 36 | 2/25/2013 0:00
OCI_ALM1 | 1 | 4/1/2016 0:00
BLSUMMIT | 30 | 4/5/2017 0:00
INDL | 9.9 | 10/4/2017 0:00
PYR | 9.9 | 10/4/2017 0:00
TOSBATT | 2 | 12/1/2017 0:00
sum | 88.8 | 
TOTAL WSL MW STATS |  |  | 
MONTH | AVG | MAX | MIN
Dec-17 | 3.42 | 22.99 | 0.22
Jan-18 | 3.31 | 17.03 | 0.06