## Slide 1
PDCWG Report to ROS
Chair: Percy Galliguez, Brazos Electric Power Cooperative, Inc.
Vice Chair: Chad Mulholland, NRG
ROS
March 1st, 2018

## Slide 2: Report Overview & Notes
Report Overview
  Meeting Minutes
  BAL-001-TRE-1 FMEs & IMFR
    2 FMEs in the month of January
  Frequency Control Report

## Slide 3: Meeting Minutes
PDCWG Meeting 02/14/18
  Southern Cross DC Tie Transmission Project and Directive 8
  Improve Market Efficiency and Reliability Planning by Minimizing Non-Market Primary Frequency Discussion
  NPRR863 – Separation of PFR and RRS Ancillary Service
  Incremental Adjustment to RRS
  NOGRR174 (MOD26 Alignment)
  SCR795, Addition of Intra-Hour Wind Forecast to GTBD Calculation
  Regulation & Frequency Control Reports
  BAL-001-TRE-001 Operating Condition Guidelines for PFR Performance

## Slide 4: Frequency Measurable Events Performance

## Slide 5: Frequency Measurable Events
There were 2 FMEs in January
  1/5/2018 09:10:55
    Loss of 496 MW
    Interconnection Frequency Response:
    5 of 38 Evaluated Generation Resources(1 of 21 RRS Providers) had less than 75% of their expected Initial Primary Frequency Response.
    3 of 38 Evaluated Generation Resources(1 of 21 RRS Providers) had less than 75% of their expected Sustained Primary Frequency Response.
  1/17/2018 06:30:21
    Loss of 606 MW
    Interconnection Frequency Response:
    5 of 38 Evaluated Generation Resources(3 of 27 RRS Providers) had less than 75% of their expected Initial Primary Frequency Response.
    4 of 38 Evaluated Generation Resources(2 of 27 RRS Providers) had less than 75% of their expected Sustained Primary Frequency Response.

## Slide 6: Interconnection Minimum Frequency Response (IMFR) Performance
IMFR Performance currently 1253.23 MW/0.1Hz

## Slide 7: Frequency Control Report
January 2018

## Slide 8: CPS1 Performance

## Slide 9: RMS1 Performance of ERCOT Frequency

## Slide 10: Frequency Profile Analysis

## Slide 11: Time Error Corrections
There were no Time Error Corrections (TEC) in January

## Slide 12: ERCOT Total Energy

## Slide 13: ERCOT Total Energy from Wind Generation

## Slide 14: ERCOT % Energy from Wind Generation

## Slide 15
Questions?