## Slide 1: Price Responsive Load / Retail DR Workshop
Paul Wattles
Karen Farley
DSWG/REP Workshop
April 2014

## Slide 2: April Workshop Agenda
9:30am – Welcome, antitrust admonition, introductions
9:40am – Review presentation from 3/26/14 DSWG
10:00am – Lessons learned and feedback from Market
10:30am – 2014 Summer data collection
  ESIIDs – what to do about churn? Frequency?
  Error handling – how to get updated files?
  Events – how to capture?
11:30am – lunch break
1:00pm – Categories
  Do we have correct categories?
2:00pm – Error handling
3:00pm – Next steps

## Slide 3: Why it’s important to understand retail DR & price response
Impacts of retail demand response and price response on the long term load forecast
Advanced metering
  Enablement of DR is an important element in the return on the AMI investment
There are limits on the amount of DR that the ISO can contract for (e.g., Ancillary Services and ERS).
  Also true of TDSP load management programs
The bulk of new DR will likely need to be enabled by LSEs:
  Price and 4CP-responsive Load
  Other retail DR incentives and technologies
Ability to track growth of these products is a key metric in measuring the success of the ERCOT retail market

## Slide 4: PUC Rule
Pursuant to PUC Subst. Rule §25.505(e) (5), “Load Serving Entities (LSEs) shall provide ERCOT with complete information on load response capabilities that are self-arranged or pursuant to bilateral agreements between LSEs and their customers”

## Slide 5: The need to dig deeper
Phase 1 – Survey
  Results shared with market in Aug 2013 (RMS and DSWG)
Phase 2 – Data collection
  Collected ESIID information from REPs Oct 2013
  Additional survey used to collect events from REPS
  Phone calls with NOIEs
Phase 3 – Analysis
  After data collection, evaluation of price elasticity and how it affects:
    Load forecasting
    Wholesale market price formation
    Resource adequacy
  Analysis will be at the aggregate, no specific market participant information will be shared
We are here!

## Slide 6: Phase 2 – Data collection - REPs
Thanks to the data collection & survey, now we know:
  The number of premises on retail contracts for dynamic pricing and/or demand response
    Details collected in snapshot file received Aug 2013
      ESIID
      Category
      Direct Load Control Y/N
    Details collected in targeted surveys received Dec 2013
      List of dates and start/stop times for DR events
      What type of notification (if any)

## Slide 7: Phase 2 – Data collection - NOIEs
Each MOU/COOP has different programs, different reporting methods and different event analysis methodologies
Challenge to quantify impacts and align with REP findings

## Slide 8: Pricing Events -- June
June 2013, North Load Zone

## Slide 9: Pricing Events – July
3000
July 2013, North Load Zone

## Slide 10: Pricing Events – August
3000
Aug. 2013, North Load Zone

## Slide 11: Pricing Events – September
Sept. 2013, North Load Zone

## Slide 12: Phase 3 – Analysis Part 1
ERCOT working with vendor for analysis
  Defined approach, data requirements and deliverables for each category
    Other Load Control
    Real Time Pricing
    Block & Index
    Four Coincident Peak
    Peak Rebate
  Short report with findings for each type of program analyzed
  Final report on findings and results
  Presentations to stakeholders
  All data is anonymized and vendor signed NDA

## Slide 13: Phase 3 – Analysis Part 2
ERCOT analysis
  Time of Use price offerings are designed to promote a behavioral shift in customers -- not considered event-driven DR
    Evaluation (currently deferred) would look at TOU premise usage vs. a non-TOU control group
    Need additional details (what are the hour blocks?) from REPs in order to analyze
    With 117,000 ESIIDs reported, statistical sampling likely needed
  Other Voluntary Demand Response Product
    ERCOT will contact the REPs reporting ‘OTH’ products to better define the product types in future data collection exercises.
    Low volume of ESIIDs reported, but vast majority were C&I
  Provide periodic progress reports to the market on an aggregated basis
    In future years, chart market growth in participation for each product type

## Slide 14
Lessons Learned – 10am

## Slide 15: Lessons Learned from Data Collection Phase
Lessons Learned
  Did we have the right categories identified?
    No ESIIDs reported in the following categories
      Critical Peak Pricing (CPP)
      Financial Option (FO)
    Other Direct Load Control (OLC)
      ~ 10,000 ESIIDs reported in this category. Is this the correct definition?
      OLC – Other Direct Load Control – contracts that allow the LSE or a third party to control the customer’s load remotely for economic or grid reliability purposes. This category applies to Direct Load Control (DLC) with different deployment criteria than described elsewhere. (Avoid double counting if DLC data was reported in other categories.)
    Did the yes/no flag of Direct Load Control create confusion when considered alongside OLC?

## Slide 16: Lessons Learned from Data Collection Phase
Lessons Learned - continued
  Follow-up survey for event identification
    REPs were great in getting these back, but it would have helped to let them know in advance that the request was coming so they could plan workload
    What is the best way to collect this info in the future?
  File management
    Some REPs contract with NAESB service providers -- submission of their files may have been delayed as service providers were not aware of need to transmit to ERCOT
    Resubmission to address errors in REP files
      Example – 105 errors, 54 needed to be resubmitted – the others should not have been sent
      What’s the best way to handle?
    Response file vs. validation file
      Confusion on the difference between the two files -- are there improvements we can make in the technical specification file?

## Slide 17
Summer 2013 to Summer 2014 – Workshop

## Slide 18: Workshop discussions
When is the right time to start receiving data for Summer 2014?
  Is a June 15 snapshot still the right approach?
  Or should we receive files more frequently?
  Should a different schedule be considered to address error handling and customer churn?
  Events – how to capture?
    Survey Monkey used 2013
    Continue or should additional fields be provided with data collection? Or is there another options to consider?
  Summer only or should we plan to capture data for Winter 2014?
  TOU – how can we capture time blocks from REP by program?

## Slide 19: Workshop discussions
Review of categories
  Did we have the right categories identified?
    No ESIIDs reported in the following categories
      Critical Peak Pricing (CPP)
      Financial Option (FO)
    Other Direct Load Control (OLC)
      ~ 10,000 ESIIDs reported in this category. Is this the correct definition?
      OLC – Other Direct Load Control – contracts that allow the LSE or a third party to control the customer’s load remotely for economic or grid reliability purposes. This category applies to Direct Load Control (DLC) with different deployment criteria than described elsewhere. (Avoid double counting if DLC data was reported in other categories.)
    Did the yes/no flag of Direct Load Control create confusion when considered alongside OLC?
    Other Voluntary Demand Response Product
      ERCOT will contact the REPs reporting ‘OTH’ products to better define the product types in future data collection exercises.
      Low volume of ESIIDs reported, but vast majority were C&I

## Slide 20: Workshop discussions
Review of error handling procedures
  File management
    Some REPs contract with NAESB service providers -- submission of their files may have been delayed as service providers were not aware of need to transmit to ERCOT
    Resubmission to address errors in REP files
      Example – 105 errors, 54 needed to be resubmitted – the others should not have been sent
      What’s the best way to handle?
    Response file vs. validation file
      Confusion on the difference between the two files -- are there improvements we can make in the technical specification file?

## Slide 21: Next Steps

## Slide 22: Questions?
ON
OFF

## Slide 23: Appendix - Definitions
RTP – Real Time Pricing - retail prices for all hours based on ERCOT Real-Time Settlement Point Prices for the premise Load Zone, calculated every 15 minutes, or other real-time wholesale price indicator(s).
BI – Block & Index – fixed pricing for a defined volume of usage, coupled with pricing indexed to the wholesale market for usage exceeding the block. Block prices and volumes may vary by time of day/week. Option could include if usage dips below the block.
CPP – Critical Peak Pricing – contracts that call for prices to rise during critical peaks: limited duration, dynamically set periods of time that usually correlate to high prices in the real-time wholesale market. Critical peak events may occur a limited number of times per year and may be communicated in advance. May be enabled by DG or other technology.
PR – Peak Rebates – full time fixed price contracts that pay rebates to customers for load reductions taken during specified hours. May be enabled by DG or other technology.

## Slide 24: Appendix - Definitions
4CP – Four Coincident Peak – predictor signals or direct load control provided to customers in advance of potential Four Coincident Peak (4CP) intervals during summer months (June through September). Reducing load during such intervals lowers transmission charges. 4CP charges apply to large customers (peak demand ≥700 kW) in competitive choice areas, and also to NOIEs at the boundary meter level.
TOU – Time of Use / Thermal Storage / Distributed Generation – prices that vary intraday across defined blocks of hours, with predefined prices and schedules. (As used here, does not apply to seasonal adjustments).
OLC – Other Direct Load Control – contracts that allow the LSE or a third party to control the customer’s load remotely for economic or grid reliability purposes. This category applies to Direct Load Control (DLC) with different deployment criteria than described elsewhere. (Avoid double counting if DLC data was reported in other categories.)
OTH – Other Voluntary Demand Response Product – any retail product that includes a demand response incentive or signal not covered in the other categories.
FO – Financial Option – product where LSE purchases an option from the customer that is backed by a specified level of DR and uses it for their portfolio trades in the wholesale market.