## Slide 1: Planning Geomagnetic Disturbance Task Force (PGDTF) Update to the ROS
March 1, 2018
Dylan Preas
PGDTF Chairman
<number>
3/1/2018 ROS Meeting

## Slide 2: GIC System Model Working Session
TSP-only working session on February 15th and 16th
Updated the PGDTF GIC User Guide – data checks
Reviewed GIC flow results for TSPs/REs submitted data
Made corrections/updates to the GIC System Model
<number>
3/1/2018 ROS Meeting

## Slide 3: Final GIC System Model Timeline
GIC Model Review Face-to-Face Meeting – January 11th & 12th
  Second Pass TSP Peak and MIN Update – January 26th
  Third Pass Release RAW & GIC Files – February 5th
  Third Pass GIC/VAR Values – February 6th
  GIC Model Review Face-to-Face Meeting (TSP Only) – February 15th & 16th
  Third Pass TSP Peak and MIN Update – February 21st
  Fourth Pass Release RAW & GIC Files – March 1st
  Fourth Pass GIC/VAR Values – March 1st
  GIC Model Review Face-to-Face Meeting (TSP Only) –
  March 7th & 8th
  Fourth Pass TSP Peak and MIN Update – March 13th
  Final Release RAW & GIC Files – March 22nd
  Final GIC/VAR Values – March 22nd
<number>
3/1/2018 ROS Meeting

## Slide 4: Upcoming PGDTF Activities
GIC System Model Building Face-to-Face Meeting – March 7th & 8th
  TSP only due to confidentiality
  Review transformer data
  Review branch data
  Discuss GIC flow interpretation methods
PGDTF Business Meetings on March 9th (Open meeting)
  Review ROS goal and update for 2018
  Review Vulnerability Assessment Scope
  Review comments to the draft language for TPL-007-1 R3 – Steady-State System Performance Criteria
<number>
3/1/2018 ROS Meeting

## Slide 5: Questions and Answers
<number>
3/1/2018 ROS Meeting