## Slide 1: Operations Working Group
Chair- Rick Gillean
Vice-Chair- Rickey Floyd
03/01/2018

## Slide 2: Generation Islanding during a Contingency -
The OWG and the Qualified Scheduling Entity Managers Working Group (QMWG) were directed to discuss contingencies that isolate Resource Nodes and create subsequent pricing issues.
Consensus was reached by OWG that the issue should be handled by the QMWG until such a time when a potential solution might have a reliability impact.

## Slide 3: NPRR849, Clarification of the Range of Voltage Set Points at a Generation Resource’s Point of Interconnection (POI) –
This NPRR revises paragraphs (3)(a) and (3)(b) of Section 3.15 to clarify the range of voltages at the Point of Interconnection (POI) and circumstances for which a Generation Resource’s reactive capability must be designed to meet; and adds a new paragraph (3)(e) within the same section to clarify the ability of ERCOT and the Transmission Service Provider (TSP), or its designated agent (e.g. Transmission Operator (TO)) to issue an instruction for any available reactive capability at voltages outside of the reactive capability requirements identified in paragraphs (3)(a) and (3)(b).
OWG recommends NPRR849 remain tabled.

## Slide 4: NPRR851, Procedure for Managing Disconnections for Bidirectional Electrical Connections at Transmission Level Voltages –
This Nodal Protocol Revision Request (NPRR) was developed to fully implement the market design envisioned in NPRR 596, External Load Serving Entities. This NPRR establishes a clearly defined disconnection process within ERCOT market rules applicable to a transmission voltage connection to the ERCOT grid which utilizes one electrical connection for both generation and load services.
OWG recommends NPRR851 remain tabled.

## Slide 5: NPRR857, Creation of a Direct Current Tie Operator Market Participant Role –
This NPRR creates the Market Participant role of Direct Current Tie Operator (DCTO), in order to clarify the obligations of Entities that operate Direct Current-Ties (DC-Ties) interconnected with the ERCOT System.
This NPRR is proposed in accordance with the May 23, 2017 order of the Public Utilities (PUC) in Project No. 46304, which requires ERCOT to address a number of issues as a condition for the energization of the DC-Tie project proposed by Southern Cross Transmission LLC (“Southern Cross”).
OWG reached consensus to support of NPRR857 as submitted.

## Slide 6: NOGRR176, Hotline Call Participation –
This NOGRR clarifies which Entities participate in hotline calls. Currently, Level 3 and Level 4 hotline calls (i.e. QSEs with Resources) are included on the calls.
OWG reached consensus to support NOGRR176 as submitted.

## Slide 7: NOGRR 174, AVR and PSS Testing Requirements –
This Nodal Operating Guide Revision Request (NOGRR) harmonizes the ERCOT Automatic Voltage Regulator (AVR) and Power System Stabilizer (PSS) testing requirements with the recently approved North American Electric Reliability Corporation (NERC) Standard MOD-026-1, Verification of Models and Data for Generator Excitation Control System or Plant Volt/Var Control Functions. NERC had two standards that will become effective July 1, 2018 and ERCOT has asked OWG to harmonize the Operating Guides with the NERC standards and this NOGRR does that. However, ERCOT voiced comments over some of the specifics and plans to file comments.
OWG recommends NOGRR174 be tabled for one month.

## Slide 8: Southern Cross Transmission (SCT) –
Directive 9: Ancillary Services; Issues related to Most Severe Single Contingency (MSSC) and the Margin between Minimum Responsive Reserve Service (RRS) Procurement and Contingency Reserve Requirements.
OWG continues work on SCT Directive 9.