## Slide 1
Information Technology Report
Dave Pagliai
Manager, IT Support Services
ERCOT Public
March 2018

## Slide 2: Incident Report Highlights
Service Availability – February 2018
  Retail Market IT systems met all SLA targets
Retail Incidents & Maintenance – February 2018
  02/27/18 – Retail Processing degradation
    From 10:30 PM to 11:30 PM ERCOT experienced a delay in the processing of Retail transactions. NAESB was not impacted.
    From 11:30 PM to 2:00 AM ERCOT was unable to process 814_16 transactions
Non-Retail Incidents & Maintenance – February 2018
  02/08/18 – Market submissions and requests using External Web Services (EWS) was unavailable from 6:15 AM – 7:37 AM
  02/14/18 – ERCOT's Market Participant Identity Management (MPIM) application was unavailable from 2:00 PM – 5:00 PM
  02/28/18 – Public Dashboards were unavailable on ercot.com from 11:10 AM – 12:03 PM

## Slide 3: MarkeTrak Performance