## Contents
Table of Contents
Tab | Notes
Disclaimer | Please read
Demand | Monthly peak demand data for this year and last year
Energy | Monthly energy data for this year and last year
Load Zones | Monthly peak demand and energy data for this year by load zone
Weather Zones | Monthly peak demand and energy data for this year by weather zone
Energy by Fuel Type | Actual energy and percentages by fuel type
Energy by Fuel Chart | Stacked chart of MWh by fuel type by month
Energy Comparisons | Bar graphs comparing this year's energy with last year's and with forecasted
Demand Comparisons | Graphs comparing this year's monthly peaks with last year's and with forecasted
2018-03-07 | 8:55

## Disclaimer
DEMAND AND ENERGY REPORT
For Planning Purposes Only
This ERCOT Working Paper has been prepared for specific ERCOT and market participant purposes and has been
developed from data provided through the settlement process. The data may contain errors or become obsolete
and thereby affect the conclusions and opinions of the Working Paper. ERCOT MAKES NO WARRANTY, EXPRESS
OR IMPLIED,INCLUDING ANY WARRANTY OF MERCHANTABILITY OR FITNESS FOR ANY PARTICULAR PURPOSE,
AND DISCLAIMS ANY AND ALL LIABILITY WITH RESPECT TO THE ACCURACY OF SAME OR THE FITNESS OR
APPROPRIATENESS OF SAME FOR ANY PARTICULAR USE. THIS ERCOT WORKING PAPER IS SUPPLIED WITH
ALL FAULTS.
ERCOT publishes the values in this report based on the Initial Settlement occurring approximately five days after
the Operating Day. These values are updated to reflect Final Settlements (occurring 55 days after each Operating
Day of the month), lagged by two months after the end of the month. On each tab of this spreadshet there is a
column titled "Settlement Type" indicating whether the values are based on the Initial or Final Settlement for the month.
In instances where a generator is capable of using multiple fuels, the primary fuel is used in this report.

## Demand
Demand for 2017
Net System Maximum Hourly Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
2017 Demand, MW | 59649.9652 | 42743.1155 | 47116.0625 | 53486.2844 | 59263.6452 | 67632.9948 | 69512.1546 | 67889.1391 | 63648.7889 | 62332.8822 | 50734.5688 | 54431.8531 | 69512.1546
Date | 01/06/2017 | 02/16/2017 | 03/20/2017 | 04/28/2017 | 05/26/2017 | 06/23/2017 | 07/28/2017 | 08/16/2017 | 09/20/2017 | 10/09/2017 | 11/05/2017 | 12/31/2017
Hour ending | 19:00 | 08:00 | 18:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 16:00 | 19:00
Day of the week | Friday | Thursday | Monday | Friday | Friday | Friday | Friday | Wednesday | Wednesday | Monday | Sunday | Sunday
Forecasted Demand, MW | 54417.0887 | 52494.9767 | 46877.7555 | 51622.3562 | 58907.8584 | 66915.332 | 68657.2995 | 72933.5504 | 64448.5906 | 56096.8287 | 45791.0068 | 52669.4305 | 72933.5504
Difference, percent | 9.616% | -18.58% | 0.5084% | 3.611% | 0.604% | 1.073% | 1.245% | -6.916% | -1.241% | 11.12% | 10.8% | 3.346% | -4.691%
2016 Demand, MW | 49262.5579 | 47416.4923 | 43347.1873 | 50932.0834 | 57223.8273 | 64896.2601 | 67468.9318 | 71110.1039 | 66948.5662 | 59864.268 | 50012.3511 | 57932.4325 | 71110.1039
Date | 01/11/2016 | 02/04/2016 | 03/31/2016 | 04/25/2016 | 05/10/2016 | 06/15/2016 | 07/14/2016 | 08/11/2016 | 09/19/2016 | 10/05/2016 | 11/02/2016 | 12/19/2016
Hour ending | 08:00 | 08:00 | 18:00 | 18:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 17:00 | 16:00 | 08:00
Day of the week | Monday | Thursday | Thursday | Monday | Tuesday | Wednesday | Thursday | Thursday | Monday | Wednesday | Wednesday | Monday
Increase, MW | 10387.4073 | -4673.3768 | 3768.8752 | 2554.201 | 2039.8179 | 2736.7346 | 2043.2228 | -3220.9649 | -3299.7773 | 2468.6143 | 722.2177 | -3500.5794
Increase, percent | 21.09% | -9.856% | 8.695% | 5.015% | 3.565% | 4.217% | 3.028% | -4.53% | -4.929% | 4.124% | 1.444% | -6.042%
Max All Time, MW | 59649.9652 | 57265 | 54587.4097 | 53486.2844 | 59263.6452 | 67632.9948 | 69512.1546 | 71110.1039 | 66948.5662 | 62332.8822 | 50807.3407 | 57932.4325
Date | 01/06/2017 at 19:00 | 02/10/2011 at 08:00 | 03/03/2014 at 08:00 | 04/28/2017 at 17:00 | 05/26/2017 at 17:00 | 06/23/2017 at 17:00 | 07/28/2017 at 17:00 | 08/11/2016 at 17:00 | 09/19/2016 at 17:00 | 10/09/2017 at 17:00 | 11/17/2014 at 08:00 | 12/19/2016 at 08:00
Net System Maximum Demand based on 15-Minute Intervals
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
2017 Demand, MW | 59780.4725 | 43288.0872 | 47289.1707 | 53594.8638 | 59376.2065 | 67695.2363 | 69629.3426 | 68027.9172 | 63739.9081 | 62474.4737 | 50774.3481 | 54607.8499 | 69629.3426
Date | 01/06/2017 | 02/16/2017 | 03/21/2017 | 04/28/2017 | 05/26/2017 | 06/23/2017 | 07/28/2017 | 08/16/2017 | 09/20/2017 | 10/09/2017 | 11/05/2017 | 12/08/2017
Interval ending | 19:00 | 07:15 | 17:00 | 17:00 | 16:30 | 16:45 | 17:00 | 17:00 | 16:45 | 16:30 | 15:45 | 07:15
Day of the week | Friday | Thursday | Tuesday | Friday | Friday | Friday | Friday | Wednesday | Wednesday | Monday | Sunday | Friday
Max All Time, MW | 59780.4725 | 57971 | 54660.2529 | 53594.8638 | 59376.2065 | 67695.2363 | 69629.3426 | 71150.3145 | 67070.857 | 62474.4737 | 51272.8524 | 58048.2808
Date | 01/06/2017 at 19:00 | 02/10/2011 at 07:15 | 03/03/2014 at 07:30 | 04/28/2017 at 17:00 | 05/26/2017 at 16:30 | 06/23/2017 at 16:45 | 07/28/2017 at 17:00 | 08/11/2016 at 16:30 | 09/19/2016 at 16:00 | 10/09/2017 at 16:30 | 11/17/2014 at 07:15 | 12/19/2016 at 07:30
Net System Minimum Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
2017 Demand, MW | 26804.6604 | 26064.5673 | 26856.7651 | 25501.1054 | 25835.4827 | 30928.2924 | 34394.9728 | 29452.8451 | 28745.9912 | 26827.2704 | 27194.5809 | 27633.424
Date | 01/02/2017 | 02/23/2017 | 03/18/2017 | 04/24/2017 | 05/01/2017 | 06/05/2017 | 07/16/2017 | 08/29/2017 | 09/07/2017 | 10/23/2017 | 11/26/2017 | 12/03/2017
Interval ending | 03:45 | 03:30 | 05:00 | 03:00 | 03:00 | 04:00 | 07:00 | 04:00 | 04:00 | 03:45 | 03:30 | 03:45
Day of the week | Monday | Thursday | Saturday | Monday | Monday | Monday | Sunday | Tuesday | Thursday | Monday | Sunday | Sunday
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Energy
Energy for 2017
Net Energy for Load
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
2017 Energy, MWh | 27326927.613 | 22997836.39 | 25973797.2339 | 26062928.5983 | 30104291.5164 | 33937727.5031 | 38336145.4761 | 36360996.5434 | 32106126.9843 | 28994671.5572 | 25999144.1346 | 29207722.6195 | 357408316.1698
2017 YTD Energy, MWh | 27326927.613 | 50324764.003 | 76298561.2369 | 102361489.8352 | 132465781.3515 | 166403508.8546 | 204739654.3307 | 241100650.8741 | 273206777.8584 | 302201449.4157 | 328200593.5503 | 357408316.1698
Forecasted Energy, MWh | 28142930.0393 | 24958475.5399 | 25770918.3489 | 25872675.8134 | 30086695.4086 | 34261687.8399 | 36788247.4577 | 37815623.5815 | 31627862.6019 | 27861832.0225 | 25195300.9484 | 28046116.3976 | 356428365.9994
Difference, percent | -2.9% | -7.856% | 0.7872% | 0.7353% | 0.0585% | -0.9455% | 4.208% | -3.847% | 1.512% | 4.066% | 3.19% | 4.142% | 0.2749%
YTD Forecasted Energy, MWh | 28142930.0393 | 53101405.5791 | 78872323.928 | 104744999.7414 | 134831695.15 | 169093382.9899 | 205881630.4476 | 243697254.0291 | 275325116.631 | 303186948.6535 | 328382249.6019 | 356428365.9994
YTD Difference, percent | -2.9% | -5.229% | -3.263% | -2.276% | -1.755% | -1.591% | -0.5547% | -1.065% | -0.7694% | -0.325% | -0.0553% | 0.2749%
2016 Energy, MWh | 27538067.6263 | 23596332.7493 | 24330487.6448 | 25071982.0839 | 28542014.6632 | 33391884.6925 | 38228287.3874 | 36472771.8956 | 32954881.0451 | 29236415.011 | 24505422.8639 | 27690753.4979 | 351559301.161
Increase, MWh | -211140.0133 | -598496.3593 | 1643309.5891 | 990946.5143 | 1562276.8532 | 545842.8106 | 107858.0887 | -111775.3522 | -848754.0608 | -241743.4538 | 1493721.2708 | 1516969.1216 | 5849015.0088
Increase, percent | -0.7667% | -2.536% | 6.754% | 3.952% | 5.474% | 1.635% | 0.2821% | -0.3065% | -2.575% | -0.8269% | 6.096% | 5.478% | 1.664%
2016 YTD Energy, MWh | 27538067.6263 | 51134400.3756 | 75464888.0204 | 100536870.1043 | 129078884.7675 | 162470769.4601 | 200699056.8475 | 237171828.7431 | 270126709.7882 | 299363124.7993 | 323868547.6631 | 351559301.161
Increase, MWh | -211140.0133 | -809636.3726 | 833673.2165 | 1824619.7308 | 3386896.584 | 3932739.3946 | 4040597.4832 | 3928822.131 | 3080068.0702 | 2838324.6164 | 4332045.8872 | 5849015.0088
Increase, percent | -0.7667% | -1.583% | 1.105% | 1.815% | 2.624% | 2.421% | 2.013% | 1.657% | 1.14% | 0.9481% | 1.338% | 1.664%
Net System Load Factors based on Hourly Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
Demand Factors 2017 | 61.58% | 80.07% | 74.2% | 67.68% | 68.28% | 69.69% | 74.13% | 71.99% | 70.06% | 62.52% | 71.08% | 72.12% | 58.69%
Demand Factors 2016 | 75.14% | 71.5% | 75.54% | 68.37% | 67.04% | 71.46% | 76.16% | 68.94% | 68.37% | 65.64% | 67.96% | 64.25% | 56.28%
Net System Load Factors based on 15-Minute Demand
Description | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | Annual
Demand Factors 2017 | 61.44% | 79.06% | 73.92% | 67.54% | 68.15% | 69.63% | 74% | 71.84% | 69.96% | 62.38% | 71.02% | 71.89% | 58.6%
* Information for this month has been updated based on final settlements.

## Load Zones
Demand and Energy by Load Settlement Zone for 2017
Based on 15-minute Intervals
Net Zone Demand Coincident with ERCOT System Peak, MW
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
LZ_AEN | 2129.4002 | 1562.1381 | 1767.381 | 2187.1347 | 2065.145 | 2651.0382 | 2596.3687 | 2617.7566 | 2416.8861 | 2330.5331 | 1754.979 | 1854.2113
LZ_CPS | 4126.2844 | 2834.7973 | 3111.9636 | 4025.9172 | 3827.6877 | 4891.9119 | 4723.7707 | 4824.5807 | 4591.3382 | 4329.074 | 3431.7646 | 3615.0751
LZ_HOUSTON | 13590.6377 | 10139.6227 | 13456.2703 | 15252.9461 | 15599.3952 | 17363.5801 | 18364.9487 | 18904.9118 | 15705.9893 | 17510.254 | 14138.6558 | 12758.1942
LZ_LCRA | 2581.7146 | 1735.6406 | 1461.6766 | 1959.7281 | 1851.1166 | 2596.5783 | 2593.9062 | 2491.1332 | 2329.5006 | 2189.3786 | 1619.5941 | 2245.6785
LZ_NORTH | 23711.9641 | 16792.9491 | 16555.0966 | 17424.3005 | 22287.9069 | 25119.5368 | 26379.9338 | 24265.0405 | 24430.4346 | 22626.366 | 17870.27 | 20475.1047
LZ_RAYBN | 921.0857 | 589.9837 | 404.1943 | 450.1205 | 657.1588 | 761.6836 | 828.7069 | 698.8279 | 729.8554 | 662.1742 | 551.4654 | 773.6336
LZ_SOUTH | 8154.8099 | 5566.8338 | 6295.0161 | 8024.4463 | 8207.349 | 8987.7503 | 8822.3896 | 9034.6418 | 8347.1233 | 8454.3374 | 7067.4523 | 8087.8626
LZ_WEST | 4564.5759 | 4066.1217 | 4237.5723 | 4270.2704 | 4880.4472 | 5323.1569 | 5319.318 | 5191.0247 | 5188.7805 | 4372.3565 | 4340.167 | 4798.0899
Net Zone Non-Coincident Peak Demand, MW
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
LZ_AEN | 2129.4002 | 1679.0142 | 1902.4044 | 2197.2899 | 2193.4357 | 2656.8523 | 2626.9565 | 2632.9598 | 2452.1384 | 2338.1977 | 1964.9774 | 2011.1206
Date and Time | 6 @ 19:00 | 23 @ 17:00 | 27 @ 17:00 | 28 @ 17:45 | 3 @ 17:00 | 23 @ 18:00 | 20 @ 18:15 | 18 @ 17:00 | 21 @ 16:45 | 9 @ 16:45 | 3 @ 16:45 | 31 @ 18:45
LZ_CPS | 4126.2844 | 3037.9723 | 3417.8019 | 4064.8464 | 4301.0136 | 4978.4586 | 4928.8288 | 4903.7432 | 4657.5219 | 4334.3638 | 3553.8923 | 3785.3834
Date and Time | 6 @ 19:00 | 23 @ 17:00 | 27 @ 17:45 | 28 @ 18:00 | 27 @ 17:45 | 23 @ 18:00 | 30 @ 16:30 | 16 @ 18:00 | 20 @ 18:00 | 9 @ 16:45 | 6 @ 15:45 | 7 @ 19:30
LZ_HOUSTON | 13648.7451 | 13076.3157 | 14354.9216 | 15404.0167 | 16076.2748 | 17895.5929 | 18527.8252 | 19255.0746 | 16807.3015 | 17541.1532 | 15231.3684 | 12833.7061
Date and Time | 6 @ 18:00 | 8 @ 16:00 | 28 @ 16:15 | 28 @ 16:15 | 27 @ 16:00 | 19 @ 16:30 | 27 @ 15:30 | 18 @ 16:00 | 27 @ 16:00 | 9 @ 16:00 | 6 @ 15:30 | 8 @ 09:30
LZ_LCRA | 2809.9069 | 1735.6406 | 1628.5956 | 1959.7281 | 2129.5457 | 2612.6481 | 2706.6132 | 2572.5506 | 2335.5428 | 2189.3786 | 1727.3905 | 2530.3589
Date and Time | 7 @ 08:00 | 16 @ 07:15 | 27 @ 18:00 | 28 @ 17:00 | 27 @ 18:00 | 23 @ 18:00 | 29 @ 17:30 | 18 @ 17:00 | 20 @ 17:00 | 9 @ 16:30 | 3 @ 17:00 | 31 @ 19:15
LZ_NORTH | 23711.9641 | 16792.9491 | 16720.4739 | 17689.7793 | 22396.3495 | 25171.9679 | 26387.8157 | 25579.6659 | 24430.4346 | 22626.366 | 17872.2193 | 22433.9929
Date and Time | 6 @ 19:00 | 16 @ 07:15 | 20 @ 17:45 | 20 @ 17:30 | 26 @ 16:00 | 23 @ 17:45 | 28 @ 17:30 | 11 @ 16:30 | 20 @ 16:45 | 9 @ 16:30 | 5 @ 15:30 | 31 @ 18:15
LZ_RAYBN | 969.0493 | 593.2142 | 530.8019 | 524.721 | 657.1588 | 768.1471 | 836.7706 | 814.2335 | 742.3536 | 669.1149 | 572.5865 | 891.8846
Date and Time | 7 @ 08:00 | 16 @ 07:00 | 14 @ 07:30 | 29 @ 16:30 | 26 @ 16:30 | 23 @ 17:45 | 23 @ 17:30 | 20 @ 17:30 | 4 @ 17:30 | 9 @ 17:00 | 23 @ 08:00 | 31 @ 19:00
LZ_SOUTH | 8565.031 | 6179.1804 | 6580.3811 | 8026.2706 | 8240.5892 | 9077.4236 | 9000.0353 | 9339.9553 | 8355.0921 | 8454.3374 | 7252.7722 | 8098.7443
Date and Time | 7 @ 08:15 | 8 @ 16:30 | 27 @ 16:45 | 28 @ 16:45 | 27 @ 17:15 | 22 @ 16:00 | 29 @ 16:45 | 18 @ 16:00 | 20 @ 16:30 | 9 @ 16:30 | 6 @ 15:45 | 8 @ 08:00
LZ_WEST | 4696.5133 | 4263.9691 | 4237.5723 | 4365.182 | 4913.7354 | 5377.4276 | 5347.1522 | 5220.345 | 5254.3494 | 4746.3193 | 4345.3988 | 5215.1535
Date and Time | 6 @ 07:30 | 3 @ 07:15 | 21 @ 17:00 | 20 @ 17:00 | 27 @ 17:45 | 23 @ 15:00 | 26 @ 16:30 | 10 @ 16:15 | 21 @ 16:30 | 6 @ 16:45 | 8 @ 18:30 | 31 @ 18:30
Net Energy for Load, MWh
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
LZ_AEN | 1012816.784 | 881226.94 | 995749.7267 | 1010410.1418 | 1142311.4879 | 1307100.7381 | 1487040.5335 | 1416113.4028 | 1220515.2261 | 1078567.2083 | 964568.6879 | 1043994.529
LZ_CPS | 1699042.6622 | 1460475.255 | 1651891.6387 | 1730519.694 | 1988195.7101 | 2328727.183 | 2644406.6663 | 2526900.9048 | 2145884.4497 | 1873261.2095 | 1636965.1895 | 1841288.1209
LZ_HOUSTON | 7094089.0905 | 6264331.3633 | 7352529.4889 | 7316976.6437 | 8409035.7399 | 9323020.4981 | 10381257.2483 | 9855116.8696 | 8793204.5355 | 8242762.5212 | 7321572.3199 | 7438372.5042
LZ_LCRA | 904010.4205 | 709818.7442 | 786320.2637 | 796303.3966 | 930038.2571 | 1128515.7041 | 1337920.4947 | 1237802.4758 | 1035384.8774 | 892842.525 | 801261.0928 | 1028281.6738
LZ_NORTH | 10009281.4262 | 8036869.5951 | 8799860.4504 | 8733086.5584 | 10215482.1604 | 11806105.3424 | 13802862.7288 | 12971028.1974 | 11385757.1083 | 9783938.6959 | 8666881.2698 | 10462016.1565
LZ_RAYBN | 306092.8043 | 218021.8224 | 226293.0981 | 218549.1883 | 263632.5202 | 320106.9206 | 386632.8683 | 355204.9421 | 309660.2638 | 261122.3922 | 240997.0491 | 349216.8527
LZ_SOUTH | 3563641.0743 | 3065324.7865 | 3571600.559 | 3719830.2645 | 4378199.3723 | 4729141.5092 | 5076624.2198 | 4875334.3973 | 4315006.4303 | 4065749.7753 | 3630154.8595 | 3971212.622
LZ_WEST | 2737953.3511 | 2361767.8835 | 2589552.0084 | 2537252.711 | 2777396.2686 | 2995009.6075 | 3219400.7164 | 3123495.3535 | 2900714.0932 | 2796427.2298 | 2736743.6662 | 3073340.1604
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Weather Zones
Demand and Energy by Weather Zone for 2017
Based on 15-minute Intervals
Net Zone Demand Coincident with ERCOT System Peak, MW
Weather Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
COAST | 14557.924 | 10903.3468 | 14277.1764 | 16124.6705 | 16540.5174 | 18351.0063 | 19348.9055 | 19974.8626 | 16589.7137 | 18587.6317 | 15105.7585 | 13728.1357
EAST | 2180.8573 | 1642.7638 | 1565.6062 | 1891.0982 | 1935.3669 | 2135.8966 | 2351.6328 | 2310.0532 | 2235.0849 | 2254.6832 | 1653.6555 | 1917.2091
FWEST | 2575.8357 | 2433.6399 | 2576.5481 | 2633.161 | 2894.7518 | 3119.8751 | 3036.4464 | 3075.714 | 3064.5782 | 2694.6553 | 2712.3351 | 2892.6624
NCENT | 22111.7167 | 15492.5288 | 15175.9106 | 15767.5473 | 20668.6295 | 23393.2974 | 24478.3009 | 22313.1963 | 22564.5795 | 20686.588 | 16522.5993 | 19026.403
NORTH | 1244.9783 | 965.4124 | 916.5587 | 890.5304 | 1208.3256 | 1312.8533 | 1393.0425 | 1255.6444 | 1299.663 | 1047.9256 | 927.5799 | 1152.5243
SCENT | 10394.04 | 7246.7716 | 7504.9601 | 9627.4638 | 9123.6418 | 11860.6412 | 11627.3923 | 11638.9358 | 10909.6247 | 10388.2787 | 8050.6537 | 9122.7912
SOUTH | 4975.7404 | 3214.6371 | 3953.3469 | 5245.3832 | 5389.3311 | 5624.3285 | 5503.6849 | 5683.1429 | 5311.2917 | 5309.6842 | 4480.5421 | 5095.4275
WEST | 1739.3802 | 1388.9867 | 1319.0637 | 1415.0095 | 1615.6424 | 1897.3379 | 1889.9373 | 1776.3681 | 1765.3724 | 1505.0271 | 1321.2242 | 1672.6967
Net Zone Non-Coincident Peak Demand, MW
Weather Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
COAST | 14629.9974 | 13822.063 | 15239.3749 | 16278.4084 | 17059.7143 | 18830.5005 | 19490.4379 | 20375.3138 | 17714.5086 | 18620.1517 | 16219.3687 | 13799.9605
Date and Time | 6 @ 18:00 | 8 @ 16:00 | 28 @ 16:15 | 28 @ 16:15 | 27 @ 16:00 | 19 @ 16:30 | 27 @ 15:30 | 18 @ 16:00 | 27 @ 16:00 | 9 @ 16:00 | 6 @ 15:15 | 8 @ 09:30
EAST | 2243.7907 | 1712.996 | 1657.1141 | 1961.0309 | 2009.5982 | 2319.5888 | 2445.5679 | 2395.3308 | 2243.5389 | 2254.6832 | 1862.4436 | 1965.1322
Date and Time | 7 @ 08:30 | 16 @ 07:00 | 20 @ 16:00 | 28 @ 17:15 | 26 @ 15:45 | 30 @ 16:30 | 28 @ 15:30 | 15 @ 16:45 | 20 @ 16:30 | 9 @ 16:30 | 6 @ 14:45 | 8 @ 07:00
FWEST | 2660.6071 | 2507.453 | 2576.5481 | 2692.8807 | 2894.7518 | 3166.9903 | 3104.0285 | 3081.5879 | 3133.3906 | 2940.1474 | 2799.8931 | 3008.5606
Date and Time | 6 @ 07:30 | 3 @ 07:15 | 21 @ 17:00 | 19 @ 17:00 | 26 @ 16:30 | 23 @ 15:00 | 26 @ 16:30 | 16 @ 16:15 | 21 @ 16:15 | 6 @ 17:00 | 6 @ 16:00 | 31 @ 18:30
NCENT | 22111.7167 | 15492.5288 | 15303.9045 | 16193.4926 | 20758.008 | 23413.0246 | 24478.3009 | 23649.6183 | 22582.9664 | 20686.588 | 16556.4734 | 21150.6733
Date and Time | 6 @ 19:00 | 16 @ 07:15 | 20 @ 17:45 | 20 @ 17:45 | 26 @ 16:00 | 23 @ 17:00 | 28 @ 17:00 | 11 @ 16:45 | 20 @ 17:00 | 9 @ 16:30 | 5 @ 15:30 | 31 @ 18:15
NORTH | 1278.3041 | 984.2764 | 923.6858 | 918.1196 | 1208.3256 | 1325.265 | 1393.6406 | 1344.258 | 1305.4218 | 1085.4998 | 929.4944 | 1227.1871
Date and Time | 7 @ 07:45 | 9 @ 07:15 | 20 @ 17:00 | 25 @ 17:45 | 26 @ 16:30 | 23 @ 15:30 | 21 @ 16:00 | 10 @ 16:30 | 20 @ 16:30 | 13 @ 16:30 | 5 @ 15:30 | 31 @ 18:00
SCENT | 10527.728 | 7246.7716 | 8151.2543 | 9668.9709 | 10139.5908 | 12025.472 | 12005.0674 | 11827.6335 | 11042.7848 | 10402.5497 | 8512.0242 | 9667.3373
Date and Time | 7 @ 08:00 | 16 @ 07:15 | 27 @ 17:45 | 28 @ 17:45 | 27 @ 18:00 | 23 @ 18:00 | 29 @ 17:30 | 18 @ 17:00 | 20 @ 17:45 | 9 @ 17:15 | 6 @ 15:45 | 31 @ 18:45
SOUTH | 5277.5867 | 4096.5858 | 4244.033 | 5257.2356 | 5393.5063 | 5853.2168 | 5661.1601 | 5809.4982 | 5333.6372 | 5313.5044 | 4564.5678 | 5134.1338
Date and Time | 7 @ 09:15 | 8 @ 16:30 | 29 @ 16:45 | 28 @ 16:30 | 26 @ 16:45 | 22 @ 16:00 | 31 @ 15:30 | 18 @ 16:00 | 20 @ 16:00 | 9 @ 16:00 | 6 @ 15:30 | 8 @ 09:00
WEST | 1870.1928 | 1390.2842 | 1319.0637 | 1442.5514 | 1661.2052 | 1901.2181 | 1911.2046 | 1815.0882 | 1771.9066 | 1506.4956 | 1329.2935 | 1878.3846
Date and Time | 7 @ 08:00 | 3 @ 07:15 | 21 @ 17:00 | 21 @ 17:00 | 27 @ 17:30 | 23 @ 16:15 | 29 @ 16:30 | 10 @ 16:00 | 14 @ 17:00 | 9 @ 16:15 | 8 @ 18:30 | 31 @ 18:45
Net Zone Energy, MWh
Weather Zone | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
COAST | 7588434.2591 | 6664114.5223 | 7871475.8209 | 7806875.8964 | 9010858.2397 | 9947507.4652 | 11009819.2878 | 10437832.9597 | 9335934.6752 | 8864299.5723 | 7886643.5261 | 8020884.8848
EAST | 949487.7025 | 799698.1406 | 904358.3605 | 907238.7199 | 1004083.7972 | 1124680.9197 | 1294894.5896 | 1244089.4203 | 1096639.6009 | 1010281.008 | 906025.8858 | 1036944.1944
FWEST | 1666306.9377 | 1469336.3769 | 1623417.41 | 1607663.3574 | 1756411.8821 | 1850078.3212 | 1942857.8422 | 1922448.6536 | 1817016.3411 | 1816769.404 | 1789471.1441 | 1955993.808
NCENT | 9218044.8339 | 7339016.8309 | 8009069.1027 | 7924120.8728 | 9332965.6255 | 10835056.2269 | 12699672.1367 | 11901857.3936 | 10443208.6174 | 8899726.2626 | 7885102.6231 | 9631257.7471
NORTH | 613632.7973 | 492614.0331 | 524501.3797 | 505850.139 | 573987.4669 | 658470.9299 | 757201.5974 | 702682.2743 | 621564.6188 | 561275.1883 | 521361.7522 | 626448.1389
SCENT | 4278650.4839 | 3622362.4013 | 4081027.7871 | 4204646.8891 | 4805956.3459 | 5620270.8185 | 6448417.6065 | 6108607.3387 | 5184704.2417 | 4563164.9643 | 4041218.4948 | 4632962.2403
SOUTH | 2168513.1837 | 1915585.0113 | 2211864.8718 | 2367685.6815 | 2804807.325 | 2970734.7135 | 3146725.5799 | 3064253.5871 | 2730262.7929 | 2503820.4616 | 2219882.4522 | 2395357.7228
WEST | 843857.4149 | 695109.0737 | 748082.5011 | 738847.0421 | 815220.8341 | 930928.1082 | 1036556.836 | 979224.9161 | 876796.0963 | 775334.6962 | 749438.2563 | 907873.8831
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Energy by Fuel Type
Energy by Fuel Type for 2017
Energy by Fuel Type, MWh
Fuel Types | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | YTD/Annual
Biomass | 56248.3394 | 37287.6907 | 56746.3122 | 51970.459 | 40667.1058 | 53617.8857 | 37463.8545 | 41480.2344 | 45654.4716 | 52830.6993 | 35647.0789 | 34626.4616 | 544240.5931
Coal | 9731896.4847 | 6901993.7859 | 7068925.4063 | 8744423.955 | 9922481.0722 | 10900884.9433 | 11642400.996 | 11211024.3995 | 10758040.9608 | 9417306.1011 | 9272961.8122 | 9569139.7703 | 115141479.6872
Gas | 746708.3919 | 480056.5272 | 825164.9985 | 974954.3183 | 1162016.7219 | 2511503.0766 | 3572473.2106 | 2777050.1852 | 1233115.4166 | 893814.775 | 717560.8265 | 699086.0373 | 16593504.4855
Gas-CC | 7425136.7296 | 6626433.5788 | 7981716.8505 | 7679780.0167 | 9325257.3655 | 12707905.6477 | 15827393.4799 | 15393172.6065 | 11957332.6746 | 9688382.286 | 7329733.0863 | 10307959.6685 | 122250203.9907
Hydro | 97412.5126 | 74195.2159 | 80471.1501 | 155097.3495 | 80255.9908 | 83773.4689 | 74128.6875 | 71532.4741 | 42466.6229 | 39044.2704 | 24414.3905 | 33061.702 | 855853.8351
Net DC/BLT | -46782.3435 | -28705.5072 | -80449.2459 | -66343.2721 | -64067.1032 | -54606.1189 | 27624.4067 | -37956.8583 | -78138.2358 | -159612.9603 | -229050.3969 | -150986.0774 | -969073.7127
Nuclear | 3803973.9656 | 3423295.0578 | 3290729.6343 | 1844380.117 | 3543242.9254 | 2826449.183 | 2793772.8935 | 3353153.2913 | 3504508.4949 | 3044049.6366 | 3285736.6947 | 3790885.5435 | 38504177.4375
Other | 2608.098 | 2783.765 | 2585.2595 | 4306.7206 | 3796.9513 | 2344.7071 | 1633.2989 | 1391.0439 | 1096.9417 | 1815.5042 | 120.2356 | 2495.7678 | 26978.2935
Solar | 96253.4349 | 121820.058 | 165158.1363 | 193417.4284 | 212105.2464 | 224162.0539 | 248836.4452 | 244810.9842 | 210973.6377 | 230732.4955 | 172214.5419 | 137346.5732 | 2257831.0358
Wind | 5413471.9999 | 5358676.218 | 6582748.7321 | 6480941.5058 | 5878535.2403 | 4681692.6559 | 4110418.2031 | 3305338.1826 | 4431075.9994 | 5786308.7495 | 5389805.8649 | 4784107.1725 | 62203120.5241
Total | 27326927.613 | 22997836.39 | 25973797.2339 | 26062928.5983 | 30104291.5164 | 33937727.5031 | 38336145.4761 | 36360996.5434 | 32106126.9843 | 28994671.5572 | 25999144.1346 | 29207722.6195 | 357408316.1698
Energy by Fuel Type, Percent
Fuel Types | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec* | YTD/Annual
Biomass | 0.2058% | 0.1621% | 0.2185% | 0.1994% | 0.1351% | 0.158% | 0.0977% | 0.1141% | 0.1422% | 0.1822% | 0.1371% | 0.1186% | 0.1523%
Coal | 35.61% | 30.01% | 27.22% | 33.55% | 32.96% | 32.12% | 30.37% | 30.83% | 33.51% | 32.48% | 35.67% | 32.76% | 32.22%
Gas | 2.732% | 2.087% | 3.177% | 3.741% | 3.86% | 7.4% | 9.319% | 7.637% | 3.841% | 3.083% | 2.76% | 2.393% | 4.643%
Gas-CC | 27.17% | 28.81% | 30.73% | 29.47% | 30.98% | 37.44% | 41.29% | 42.33% | 37.24% | 33.41% | 28.19% | 35.29% | 34.2%
Hydro | 0.3565% | 0.3226% | 0.3098% | 0.5951% | 0.2666% | 0.2468% | 0.1934% | 0.1967% | 0.1323% | 0.1347% | 0.0939% | 0.1132% | 0.2395%
Net DC/BLT | -0.1712% | -0.1248% | -0.3097% | -0.2546% | -0.2128% | -0.1609% | 0.0721% | -0.1044% | -0.2434% | -0.5505% | -0.881% | -0.5169% | -0.2711%
Nuclear | 13.92% | 14.89% | 12.67% | 7.077% | 11.77% | 8.328% | 7.288% | 9.222% | 10.92% | 10.5% | 12.64% | 12.98% | 10.77%
Other | 0.0095% | 0.0121% | 0.01% | 0.0165% | 0.0126% | 0.0069% | 0.0043% | 0.0038% | 0.0034% | 0.0063% | 0.0005% | 0.0085% | 0.0075%
Solar | 0.3522% | 0.5297% | 0.6359% | 0.7421% | 0.7046% | 0.6605% | 0.6491% | 0.6733% | 0.6571% | 0.7958% | 0.6624% | 0.4702% | 0.6317%
Wind | 19.81% | 23.3% | 25.34% | 24.87% | 19.53% | 13.79% | 10.72% | 9.09% | 13.8% | 19.96% | 20.73% | 16.38% | 17.4%
Total | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
* Information for this month has been updated based on final settlements.
Companies are not required to notify ERCOT when their dual fuel units are using secondary fuel. Therefore, values shown here are calculated based on primary fuel type and may not exactly reflect the fuels being used by dual
fuel units. Dual fuel units are included in the category of their primary fuel.
A positive value in the 'Net DC/BLT' row indicates import of power, negative indicates export.
Other includes petroleum coke, distillate fuel oil, and any other or unknown fuel. This category also includes adjustments for Wholesale Storage Load.

## Energy by Fuel Chart
Fuel Types | Jan* | Feb* | Mar* | Apr* | May* | Jun* | Jul* | Aug* | Sep* | Oct* | Nov* | Dec*
Biomass | 56.2483 | 37.2877 | 56.7463 | 51.9705 | 40.6671 | 53.6179 | 37.4639 | 41.4802 | 45.6545 | 52.8307 | 35.6471 | 34.6265
Coal | 9731.8965 | 6901.9938 | 7068.9254 | 8744.424 | 9922.4811 | 10900.8849 | 11642.401 | 11211.0244 | 10758.041 | 9417.3061 | 9272.9618 | 9569.1398
Gas | 746.7084 | 480.0565 | 825.165 | 974.9543 | 1162.0167 | 2511.5031 | 3572.4732 | 2777.0502 | 1233.1154 | 893.8148 | 717.5608 | 699.086
Gas-CC | 7425.1367 | 6626.4336 | 7981.7169 | 7679.78 | 9325.2574 | 12707.9056 | 15827.3935 | 15393.1726 | 11957.3327 | 9688.3823 | 7329.7331 | 10307.9597
Hydro | 97.4125 | 74.1952 | 80.4711 | 155.0973 | 80.256 | 83.7735 | 74.1287 | 71.5325 | 42.4666 | 39.0443 | 24.4144 | 33.0617
Net DC/BLT | -46.7823 | -28.7055 | -80.4492 | -66.3433 | -64.0671 | -54.6061 | 27.6244 | -37.9569 | -78.1382 | -159.613 | -229.0504 | -150.9861
Nuclear | 3803.974 | 3423.2951 | 3290.7296 | 1844.3801 | 3543.2429 | 2826.4492 | 2793.7729 | 3353.1533 | 3504.5085 | 3044.0496 | 3285.7367 | 3790.8855
Other | 2.6081 | 2.7838 | 2.5853 | 4.3067 | 3.797 | 2.3447 | 1.6333 | 1.391 | 1.0969 | 1.8155 | 0.12024 | 2.4958
Solar | 96.2534 | 121.8201 | 165.1581 | 193.4174 | 212.1052 | 224.1621 | 248.8364 | 244.811 | 210.9736 | 230.7325 | 172.2145 | 137.3466
Wind | 5413.472 | 5358.6762 | 6582.7487 | 6480.9415 | 5878.5352 | 4681.6927 | 4110.4182 | 3305.3382 | 4431.076 | 5786.3087 | 5389.8059 | 4784.1072
* Information for this month has been updated based on final settlements.

## data_Energy by Fuel Chart_1 (hidden)
| Nuclear | Coal | Wind | Solar | Hydro | Biomass | Other | Net DC/BLT | Gas-CC | Gas
Jan* | 3804 | 9732 | 5413 | 96 | 97 | 56 | 3 | -47 | 7425 | 747
Feb* | 3423 | 6902 | 5359 | 122 | 74 | 37 | 3 | -29 | 6626 | 480
Mar* | 3291 | 7069 | 6583 | 165 | 80 | 57 | 3 | -80 | 7982 | 825
Apr* | 1844 | 8744 | 6481 | 193 | 155 | 52 | 4 | -66 | 7680 | 975
May* | 3543 | 9922 | 5879 | 212 | 80 | 41 | 4 | -64 | 9325 | 1162
Jun* | 2826 | 10901 | 4682 | 224 | 84 | 54 | 2 | -55 | 12708 | 2512
Jul* | 2794 | 11642 | 4110 | 249 | 74 | 37 | 2 | 28 | 15827 | 3572
Aug* | 3353 | 11211 | 3305 | 245 | 72 | 41 | 1 | -38 | 15393 | 2777
Sep* | 3505 | 10758 | 4431 | 211 | 42 | 46 | 1 | -78 | 11957 | 1233
Oct* | 3044 | 9417 | 5786 | 231 | 39 | 53 | 2 | -160 | 9688 | 894
Nov* | 3286 | 9273 | 5390 | 172 | 24 | 36 | 0 | -229 | 7330 | 718
Dec* | 3791 | 9569 | 4784 | 137 | 33 | 35 | 2 | -151 | 10308 | 699

## Energy Comparisons
* Information for this month has been updated based on final settlements.
* Information for this month has been updated based on final settlements.

## data_Energy Comparisons_1 (hidden)
| 2016 Actual | 2017 Actual
Jan* | 27538 | 27327
Feb* | 23596 | 22998
Mar* | 24330 | 25974
Apr* | 25072 | 26063
May* | 28542 | 30104
Jun* | 33392 | 33938
Jul* | 38228 | 38336
Aug* | 36473 | 36361
Sep* | 32955 | 32106
Oct* | 29236 | 28995
Nov* | 24505 | 25999
Dec* | 27691 | 29208

## data_Energy Comparisons_2 (hidden)
| 2017 Forecast | 2017 Actual
Jan* | 28143 | 27327
Feb* | 24958 | 22998
Mar* | 25771 | 25974
Apr* | 25873 | 26063
May* | 30087 | 30104
Jun* | 34262 | 33938
Jul* | 36788 | 38336
Aug* | 37816 | 36361
Sep* | 31628 | 32106
Oct* | 27862 | 28995
Nov* | 25195 | 25999
Dec* | 28046 | 29208

## Demand Comparisons
* Information for this month has been updated based on final settlements.
Information is based on Hourly Intervals.
* Information for this month has been updated based on final settlements.
Information is based on Hourly Intervals.

## data_Demand Comparisons_1 (hidden)
| 2016 Actual | 2017 Actual
Jan* | 49263 | 59650
Feb* | 47416 | 42743
Mar* | 43347 | 47116
Apr* | 50932 | 53486
May* | 57224 | 59264
Jun* | 64896 | 67633
Jul* | 67469 | 69512
Aug* | 71110 | 67889
Sep* | 66949 | 63649
Oct* | 59864 | 62333
Nov* | 50012 | 50735
Dec* | 57932 | 54432

## data_Demand Comparisons_2 (hidden)
| 2017 Forecast | 2017 Actual
Jan* | 54417 | 59650
Feb* | 52495 | 42743
Mar* | 46878 | 47116
Apr* | 51622 | 53486
May* | 58908 | 59264
Jun* | 66915 | 67633
Jul* | 68657 | 69512
Aug* | 72934 | 67889
Sep* | 64449 | 63649
Oct* | 56097 | 62333
Nov* | 45791 | 50735
Dec* | 52669 | 54432