| SCR Number | 793 | SCR Title | SSR Related Telemetry for Transmission Service Provider (TSP) Operators |
| --- | --- | --- | --- |
| Impact Analysis Date |  | March 7, 2018 |  |
| Estimated Cost/Budgetary Impact |  | Between $40k and $50k |  |
| Estimated Time Requirements |  | The timeline for implementing this System Change Request (SCR) is dependent upon ERCOT Board prioritization and approval. Please see the Project Priority List (PPL) for additional information. Estimated project duration: 3 to 5 months |  |
| ERCOT Staffing Impacts (across all areas) |  | No impacts to ERCOT staffing. |  |
| ERCOT Computer System Impacts |  | The following ERCOT systems would be impacted: - Energy Management System (EMS) - BI & Data Analytics |  |
| ERCOT Business Function Impacts |  | No impacts to ERCOT business functions. |  |
| Grid Operations & Practices Impacts |  | ERCOT will update grid operations and practices to implement this SCR. |  |

Alternatives for a More Efficient Implementation (include explanation of impacts)

None offered.

Evaluation of Interim Solutions (e.g., manual workarounds)

None offered.

Feasibility of Implementation

Impact on Resource Availability: Not applicable. Impact on Other Projects: Not applicable.

Comments

None.