## Summary
Registered Entity
Date/Time of Survey | 5/10/2018, 11:00 AM
Size and location of customer load, or percentage of connected load, to be interrupted. |  | Frequency set points. | [5 empty] | Any other schemes that are part of or impact the UFLS programs such as related generation protection, islanding schemes, automatic load restoration schemes, and Special Protection Systems. Please indicate any other ERCOT-registered Transmission/Distribution Service Providers (TDSPs) whose load is represented by your company in this survey.
|  | Block 1 |  | Block 2 |  | Block 3
|  | 5% minimum |  | 10% minimum |  | 10% minumim
|  | 59.3 Hz |  | 58.9 Hz |  | 58.5 Hz
Load Area | Total Area Load (MW) | Load Dropped for Block 1 (MW) | % Load Dropped for Block 1 | Load Dropped for Block 2 (MW) | % Load Dropped for Block 2 | Load Dropped for Block 3 (MW) | % Load Dropped for Block 3 | Comments
Total | 0 | 0 | 0% | 0 | 0% | 0 | 0%
Total percentage
#DIV/0!
*Relay data(i.e. buss information, location, and relay ID numbers) is necessary for this Survey. Please enter information on the "RELAY information" tab.

## RELAY information
|  |  |  | Block 1 | Block 2 | Block 3
|  |  |  | 59.3 Hz | 58.9 Hz | 58.5 Hz
Location/Load Area | PSSE Bus No | Circuit Designation | Load (MW) | Load Dropped for Block 1 (MW) | Load Dropped for Block 2 (MW) | Load Dropped for Block 3 (MW)
Example: | [6 empty] | This information will be needed to complete the 2018_UFLS_ERCOT_OG_2.6.1_Survey.
Substation #1 | 1001 | CKT #2a | 4.2 | 4.2
Substation #2 | 1002 | CKT #3b | 1.8 |  | 1.8
Substation #2 | 1002 | CKT #3c |  |  |  | 2.6
Total |  |  | 6 | 4.2 | 1.8 | 2.6