| SCR Number | 793 | SCR Title | SSR Related Telemetry for Transmission Service Provider (TSP) Operators |
| --- | --- | --- | --- |
| Date of Decision |  | March 8, 2018 |  |
| Action |  | Recommended Approval |  |
| Timeline |  | Normal |  |
| Proposed Effective Date |  | Upon system implementation |  |
| Priority and Rank Assigned |  | Priority – 2018; Rank – 2190 |  |
| Supporting Protocol or Guide Sections/Related Documents |  | Protocol Section 3.22.3, Subsynchronous Resonance Monitoring |  |
| System Change Description |  | This System Change Request (SCR) is intended to provide situational awareness of Subsynchronous Resonance (SSR) precursor conditions. |  |
| Reason for Revision |  | Addresses current operational issues. Meets Strategic goals (tied to the ERCOT Strategic Plan or directed by the ERCOT Board). Market efficiencies or enhancements Administrative Regulatory requirements Other: (explain) (please select all that apply) |  |
| Business Case |  | Access to ERCOT-generated status telemetry, derived from monitoring Outages associated with SSR conditions, aids Transmission Service Provider (TSP) operators in the reliable operation of series capacitor banks. TSP operators should have the same situational awareness as ERCOT operators. TSPs can passively monitor affected line statuses, but without the calculated SSR condition monitoring points, TSP operators will not have the same visibility as ERCOT Operations. Preemptively bypassing series compensation to mitigate possible SSR scenarios will be impactful to the system during periods of high wind generation. To ensure reliable operations, all personnel involved with these switching decisions should have the same situational awareness. |  |
| PRS Decision |  | On 11/9/17, PRS unanimously voted to table SCR793 and refer the issue to ROS. All Market Segments were present for the vote. On 2/8/18, PRS unanimously voted to recommend approval of SCR793 as revised by PRS. All Market Segments were present for the vote. On 3/8/18, PRS unanimously voted to endorse and forward to TAC the 2/8/18 PRS Report and Impact Analysis for SCR793 with a recommended priority of 2018 and rank of 2190. All Market Segments were present for the vote. |  |
| Summary of PRS Discussion |  | On 11/9/17, participants discussed the need for the sponsor of SCR793 to provide additional explanation and description of the system changes that would be required by this SCR, and the need for ROS review of the procedures for management of series capacitors and concerns with having multiple entities engaged in the management of series capacitors. Participants also requested WMS review any recommendations provided by ROS for potential market impacts, particularly those related to asymmetrical access to information between Market Participants. On 2/8/18, participants reviewed proposed revisions to the business case and title for SCR793 that clarified that the benefits described apply to all TSPs and not just Cross Texas Transmission. On 3/8/18, participants discussed the Impact Analysis and the appropriate priority and rank for SCR793. |  |

| Sponsor |  |
| --- | --- |
| Name | Bharath K Ravulapati |
| E-mail Address | bravulapati@crosstexas.com |
| Company | Cross Texas Transmission, LLC |
| Phone Number | 512-982-5803 |
| Cell Number | 662-694-9125 |
| Market Segment | Investor Owned Utility (IOU) |

| Market Rules Staff Contact |  |
| --- | --- |
| Name | Kelly Landry |
| E-Mail Address | klandry@ercot.com |
| Phone Number | 512-248-4630 |

| Comments Received |  |
| --- | --- |
| Comment Author | Comment Summary |
| ROS 011218 | Requested PRS continue to table SCR793 to allow further review by the Operations Working Group (OWG). |
| ROS 020218 | Endorsed SCR793 as submitted. |

Market Rules Notes

None

Proposed System Change

Issue:

Transmission Service Provider (TSP) would like Subsynchronous Resonance (SSR) messages via Inter-Control Center Communications Protocol (ICCP).

Resolution:

This request will require -

1.	Either Real-Time Contingency Analysis (RTCA) code changes (or USERCAL implementation)

2.	Common Information Model (CIM) changes

3.	Alarm configuration/model changes

4.	ICCP Handbook change and Market Notice.