## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for February 2018

## Slide 2: Non-IRR GREDP < 85% – February 2018
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 264 | 17 | 21 | 0.40 | 80.95

## Slide 3: IRR Summary – February 2018
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 83.50 | 66.66 | 74.07
GREDP Median (%) | 97.00 | 81.82 | 82.20
Average MW Error | 3.56 | 3.33 | 3.39
Median MW Error | 3.30 | 3.26 | 3.26
Total Intervals Scored | 32,991 | 9,381 | 8,476
100+ Intervals Scored | 59 | 121 | 25
Total Intervals Scored Average | 182.27 | 159.00 | 339.04

## Slide 4: IRR < 95%, ≥ 100 Scored Intervals – February 2018
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 7 | 888 | 937 | 3.65 | 94.77
Unit 8 | 821 | 866 | 3.47 | 94.80
Unit 9 | 691 | 856 | 2.22 | 80.72
Unit 19 | 472 | 500 | 3.24 | 94.40
Unit 21 | 309 | 429 | 5.95 | 72.03
Unit 22 | 380 | 407 | 3.92 | 93.37
Unit 23 | 371 | 406 | 1.65 | 91.38
Unit 25 | 251 | 382 | 6.53 | 65.71
Unit 26 | 346 | 371 | 3.67 | 93.26
Unit 27 | 210 | 362 | 0.42 | 58.01
Unit 28 | 272 | 335 | 1.48 | 81.19
Unit 33 | 231 | 276 | 5.52 | 83.70

## Slide 5: IRR < 95%, ≥ 100 Scored Intervals – February 2018
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 38 | 114 | 244 | 2.37 | 46.72
Unit 40 | 110 | 232 | 1.42 | 47.41
Unit 41 | 205 | 229 | 6.18 | 89.51
Unit 42 | 199 | 217 | 5.23 | 91.71
Unit 43 | 14 | 216 | 3.30 | 6.48
Unit 44 | 204 | 215 | 4.25 | 94.88
Unit 48 | 182 | 192 | 3.26 | 94.79
Unit 50 | 102 | 171 | 2.83 | 59.65
Unit 51 | 67 | 159 | 2.76 | 42.14
Unit 53 | 73 | 137 | 2.78 | 53.28
Unit 56 | 97 | 118 | 2.94 | 82.20
Unit 57 | 102 | 115 | 2.15 | 88.70

## Slide 6: IRR < 95%, ≥ 100 Scored Intervals – February 2018
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 59 | 53 | 104 | 3.55 | 50.96

## Slide 7: IRR ≥ 95%, Scored Intervals ≥ 100 – February 2018
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 2,876 | 2,889 | 4.31 | 99.55
Unit 2 | 2,619 | 2,725 | 4.33 | 96.11
Unit 3 | 2,188 | 2,267 | 3.03 | 98.00
Unit 4 | 2,168 | 2,218 | 3.03 | 99.00
Unit 5 | 1,629 | 1,677 | 4.45 | 97.14
Unit 6 | 1,173 | 1,173 | 0.43 | 100
Unit 10 | 780 | 797 | 1.99 | 97.87
Unit 11 | 777 | 777 | 3.11 | 100
Unit 12 | 765 | 765 | 9.53 | 100
Unit 13 | 731 | 731 | 5.19 | 100
Unit 14 | 606 | 612 | 2.29 | 99.02
Unit 15 | 541 | 550 | 1.04 | 98.36

## Slide 8: IRR ≥ 95%, Scored Intervals ≥ 100 – February 2018
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 16 | 532 | 532 | 3.43 | 100
Unit 17 | 507 | 524 | 3.67 | 96.76
Unit 18 | 494 | 516 | 1.16 | 95.74
Unit 20 | 449 | 462 | 3.21 | 97.19
Unit 24 | 382 | 385 | 2.98 | 99.2
Unit 29 | 300 | 306 | 3.22 | 98.04
Unit 30 | 295 | 304 | 1.31 | 97.04
Unit 31 | 291 | 304 | 2.52 | 95.72
Unit 32 | 293 | 297 | 3.05 | 98.65
Unit 34 | 259 | 272 | 2.50 | 95.22
Unit 35 | 268 | 271 | 3.35 | 98.89
Unit 36 | 256 | 257 | 4.58 | 99.61

## Slide 9: IRR ≥ 95%, Scored Intervals ≥ 100 – February 2018
Unit | Total Intervals Passed | Total Intervals Scored | Std Dev (ATG - Exp MW) | GREDP Monthly Score
Unit 37 | 246 | 253 | 2.59 | 98
Unit 39 | 208 | 234 | 4.20 | 97
Unit 45 | 201 | 204 | 3.95 | 98.53
Unit 46 | 194 | 198 | 2.54 | 97.98
Unit 47 | 178 | 194 | 3.51 | 97
Unit 49 | 173 | 174 | 4.70 | 99.43
Unit 52 | 137 | 139 | 5.78 | 98.56
Unit 54 | 133 | 136 | 2.38 | 97.79
Unit 55 | 118 | 121 | 4.52 | 97.52
Unit 58 | 107 | 108 | 7.00 | 99.07