## Slide 1
Item 3: PRS Report
Martha Henson
PRS Chair
Technical Advisory Committee (TAC) Meeting
ERCOT Public
March 22, 2018

## Slide 2: Summary of PRS Update
Annual Review of Other Binding Documents (OBDs) (Vote)
Pursuant to paragraph (3) of Section 1.1, Summary of the ERCOT Protocols Document, PRS reviewed and unanimously approved the current list of OBDs.
Revision Requests Recommended for Approval by PRS – Unopposed and No Impact (Vote):
NPRR868, As-Built Hub and Load Zone Calculation – URGENT*
(* denotes no impact)

## Slide 3: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed with Impacts (Vote):
NPRR858, Provide Complete Current Operating Plan (COP) Data
  IA: Between $25k and $45k Priority 2018; Rank 2170
NPRR864, RUC Modifications to Consider Market-Based Solutions
  IA: Between $150k and $200k Priority 2018; Rank 2075
NPRR865, Publish RTM Shift Factors for Hubs, Load Zones, and DC Ties
  IA: Between $30k and $40k Priority 2018; Rank 2180
SCR793, SSR Related Telemetry for Transmission Service Provider (TSP) Operators
  IA: Between $40k and $50k Priority 2018; Rank 2190
SCR795, Addition of Intra-Hour Wind Forecast to GTBD Calculation
  IA: Between $30k and $40k Priority 2018; Rank 2200

## Slide 4: Appendix

## Slide 5: NPRR858, Provide Complete Current Operating Plan (COP) Data [Citigroup]
Proposed Effective Date: Upon system implementation - Priority 2018; Rank 2170
ERCOT Impact Analysis: Between $25k and $45k; no impacts to ERCOT staffing; impacts to Data and Information Products (DAIP) and Data Access & Transparency; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR requires ERCOT to publish all Current Operating Plan (COP) data after confidentiality has expired.
PRS Decision: On 2/8/18, PRS voted to recommend approval of NPRR858 as submitted. There was one abstention from the Independent Retail Electric Provider (IREP) (Reliant) Market Segment. On 3/8/18, PRS unanimously voted to endorse and forward to TAC the 2/8/18 PRS Report and the Impact Analysis for NPRR858 with a recommended priority of 2018 and a rank of 2170.

## Slide 6: NPRR864, RUC Modifications to Consider Market-Based Solutions [SENA]
Proposed Effective Date: Upon system implementation - Priority 2018; Rank 2075
ERCOT Impact Analysis: Between $150k and $200k; no impacts to ERCOT staffing; impacts to DAIP, Data Access & Transparency, Market Management Systems (MMS), External Public, and BI & Data Analytics; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR modifies the Reliability Unit Commitment (RUC) engine to scale down commitment costs of fast-start Resources (<=1 hr starts) so that the RUC engine will recommend slow-start Resource commitments only if re-Dispatching of On-Line Resources and potential market-based self-commitments of fast-start Resources will not resolve the reliability issue.
PRS Decision: On 2/8/18, PRS unanimously voted to recommend approval of NPRR864 as amended by the 2/1/18 WMS comments. On 3/8/18, PRS unanimously voted to endorse and forward to TAC the 2/8/18 PRS Report as amended by the 3/1/18 ERCOT comments and revised by PRS and the Impact Analysis for NPRR864 with a recommended priority of 2018 and a rank of 2075.

## Slide 7: NPRR865, Publish RTM Shift Factors for Hubs, Load Zones, and DC Ties [DC Energy]
Proposed Effective Date: Upon system implementation - Priority 2018; Rank 2180
ERCOT Impact Analysis: Between $30k and $40k; no impacts to ERCOT staffing; impacts to MMS, Data Access & Transparency, and DAIP; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This NPRR requires ERCOT to publish Shift Factors for Hubs, Load Zones, and Direct Current Ties (DC Ties) for the Real-Time Market (RTM).
PRS Decision: On 2/8/18, PRS unanimously voted to recommend approval of NPRR865 as submitted. On 3/8/18, PRS unanimously voted to endorse and forward to TAC the 2/8/18 PRS Report and Impact Analysis for NPRR865 with a recommended priority of 2018 and a rank of 2180.

## Slide 8: NPRR868, As-Built Hub and Load Zone Calculation – Urgent [ERCOT]
Proposed Effective Date: May 1, 2018
ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated.
Revision Description: This NPRR modifies the Hub Bus and Load Zone definitions and price calculations to account for the current usage of power flow buses as opposed to Electrical Buses in the Day-Ahead Market (DAM) and Congestion Revenue Right (CRR) Auction systems. In some cases there can be differences between power flow buses and Electrical Buses, and it is more suitable for power flow buses to be used. Real-Time currently uses Electrical Buses for the Hub and Load Zone calculations. Further, the rewritten formulas provide clarification for the scenario when buses are de-energized in contingency analysis.
PRS Decision: On 3/8/18, PRS unanimously voted to grant NPRR868 Urgent status. PRS then unanimously voted to recommend approval of NPRR868 and to forward to TAC.

## Slide 9: SCR793, SSR Related Telemetry for Transmission Service Provider (TSP) Operators [Cross Texas Transmission]
Proposed Effective Date: Upon system implementation - Priority 2018; Rank 2190
ERCOT Impact Analysis: Between $40k and $50k; no impacts to ERCOT staffing; impacts to Energy Management System (EMS) and BI & Data Analytics; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated.
Revision Description: This SCR provides situational awareness of Subsynchronous Resonance (SSR) precursor conditions.
PRS Decision: On 2/8/18, PRS unanimously voted to recommend approval of SCR793 as revised by PRS. On 3/8/18, PRS unanimously voted to endorse and forward to TAC the 2/8/18 PRS Report and Impact Analysis for SCR793 with a recommended priority of 2018 and a rank of 2190.

## Slide 10: SCR795, Addition of Intra-Hour Wind Forecast to GTBD Calculation [ERCOT]
Proposed Effective Date: Upon system implementation - Priority 2018; Rank 2200
ERCOT Impact Analysis: Between $30k and $40k; no impacts to ERCOT staffing; impacts to MMS; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices.
Revision Description: This SCR updates the formula used by the Resource Limit Calculator to calculate the Generation To Be Dispatched (GTBD) value to include the addition of a predicted 5-minute wind ramp (PWRR).
PRS Decision: On 2/8/18, PRS voted to recommend approval of SCR795 as submitted. There was one abstention from the Independent Power Marketer (IPM) (Morgan Stanley) Market Segment. On 3/8/18, PRS unanimously voted to endorse and forward to TAC the 2/8/18 PRS Report and Impact Analysis for SCR795 with a recommended priority of 2018 and a rank of 2200.

## Slide 11: 2018 Release Targets – Board Approved NPRRs / SCRs / xGRRs
Go-live dates can differ from Protocol effective dates – Please refer to market notices for more details
Release targets are subject to change
APPENDIX
Red Text: New additions and target release changes
Strike-Through Text: Previous target release changes
(a), (b), etc. indicates multiple phases
February 2/6 – 2/8 | April 4/3 – 4/5 | May 5/29 – 5/31 | August 8/7 – 8/9 | October 10/23 – 10/25 | December 12/11 – 12/13
NPRR659 NPRR683 NPRR743 NPRR760 NPRR800 NPRR810 PGRR042 NPRR846 | NPRR562(b) NPRR776 SCR792 | NPRR768 NPRR809(b) NPRR815 SCR791 |  | NPRR817 NPRR843 | NPRR519 NPRR620 NPRR741 NPRR755 PGRR057 SCR789
8 | 3 | 4 | 0 | 2 | 6
12/15 – 12/16
(Retail)
6/2 – 6/3
(Retail)
10/27 – 10/28
(Retail)
NS
NS
E
E
E
E
E
I
8/11 – 8/12
(Retail)
4/7 – 4/8
(Retail)
CMM Release 1a
Project Status Codes
NS = Not Started
I = Initiation
P = Planning
E = Execution
H = On Hold
1/1 & 2/1
P
E
P
I
NPRR562(b) – Reporting/posting system changes
NPRR809(b) – Reporting/posting system changes
NPRR831(b) – CRR system changes
E
E
E
CMM Release 1b
TBD Items (and point at which they became “TBD”)
2014 | 2015 | 2016 | 2017
NPRR664 | None | SCR781 P | NPRR702 P, SCR777, NPRR831(b), NPRR749 E, NPRR833 E, NPRR819, NPRR842, NPRR844, SCR794
1/1
2/1
ü
ü
ü
ü
ü
ü
ü
ü