Date:	March 22, 2018

To:	Technical Advisory Committee (TAC) Representatives

From:	Martha Henson, Protocol Revision Subcommittee (PRS) Chair

Subject: Nodal Protocol Revision Requests (NPRRs) and System Change Requests (SCRs)

##### Issue: ##### Consideration of the following NPRRs recommended for approval by PRS: - NPRR858, Provide Complete Current Operating Plan (COP) Data [Citigroup] - NPRR864, RUC Modifications to Consider Market-Based Solutions [SENA] - NPRR865, Publish RTM Shift Factors for Hubs, Load Zones, and DC Ties [DC Energy] - NPRR868, As-Built Hub and Load Zone Calculation – URGENT [ERCOT] - SCR793, SSR Related Telemetry for Transmission Service Provider (TSP) Operators [Cross Texas Transmission] - SCR795, Addition of Intra-Hour Wind Forecast to GTBD Calculation [ERCOT]

##### Background/History: Unless otherwise noted: (i) all Market Segments were present for each vote and (ii) ERCOT Credit Staff and the Credit Work Group (Credit WG) have reviewed the revision request and do not believe it requires changes to credit monitoring activity or the calculation of liability. Revision Requests Recommended for Approval - NPRR858, Provide Complete Current Operating Plan (COP) Data [Citigroup] Proposed Effective Date: Upon system implementation - Priority 2018; Rank 2170 ERCOT Impact Analysis: Between $25k and $45k; no impacts to ERCOT staffing; impacts to Data and Information Products (DAIP) and Data Access & Transparency; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR requires ERCOT to publish all Current Operating Plan (COP) data after confidentiality has expired. PRS Decision: On 2/8/18, PRS voted to recommend approval of NPRR858 as submitted. There was one abstention from the Independent Retail Electric Provider (IREP) (Reliant) Market Segment. On 3/8/18, PRS unanimously voted to endorse and forward to TAC the 2/8/18 PRS Report and the Impact Analysis for NPRR858 with a recommended priority of 2018 and a rank of 2170. - NPRR864, RUC Modifications to Consider Market-Based Solutions [SENA] Proposed Effective Date: Upon system implementation - Priority 2018; Rank 2075 ERCOT Impact Analysis: Between $150k and $200k; no impacts to ERCOT staffing; impacts to DAIP, Data Access & Transparency, Market Management Systems (MMS), External Public, and BI & Data Analytics; ERCOT business processes will be updated; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR modifies the Reliability Unit Commitment (RUC) engine to scale down commitment costs of fast-start Resources (<=1 hr starts) so that the RUC engine will recommend slow-start Resource commitments only if re-Dispatching of On-Line Resources and potential market-based self-commitments of fast-start Resources will not resolve the reliability issue. PRS Decision: On 2/8/18, PRS unanimously voted to recommend approval of NPRR864 as amended by the 2/1/18 WMS comments. On 3/8/18, PRS unanimously voted to endorse and forward to TAC the 2/8/18 PRS Report as amended by the 3/1/18 ERCOT comments and revised by PRS and the Impact Analysis for NPRR864 with a recommended priority of 2018 and a rank of 2075. - NPRR865, Publish RTM Shift Factors for Hubs, Load Zones, and DC Ties [DC Energy] Proposed Effective Date: Upon system implementation - Priority 2018; Rank 2180 ERCOT Impact Analysis: Between $30k and $40k; no impacts to ERCOT staffing; impacts to MMS, Data Access & Transparency, and DAIP; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This NPRR requires ERCOT to publish Shift Factors for Hubs, Load Zones, and Direct Current Ties (DC Ties) for the Real-Time Market (RTM). PRS Decision: On 2/8/18, PRS unanimously voted to recommend approval of NPRR865 as submitted. On 3/8/18, PRS unanimously voted to endorse and forward to TAC the 2/8/18 PRS Report and Impact Analysis for NPRR865 with a recommended priority of 2018 and a rank of 2180. - NPRR868, As-Built Hub and Load Zone Calculation – URGENT [ERCOT] Proposed Effective Date: May 1, 2018 ERCOT Impact Analysis: No budgetary impact; no impacts to ERCOT staffing; no impacts to ERCOT computer systems; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. Revision Description: This NPRR modifies the Hub Bus and Load Zone definitions and price calculations to account for the current usage of power flow buses as opposed to Electrical Buses in the Day-Ahead Market (DAM) and Congestion Revenue Right (CRR) Auction systems. In some cases there can be differences between power flow buses and Electrical Buses, and it is more suitable for power flow buses to be used. Real-Time currently uses Electrical Buses for the Hub and Load Zone calculations. Further, the rewritten formulas provide clarification for the scenario when buses are de-energized in contingency analysis. PRS Decision: On 3/8/18, PRS unanimously voted to grant NPRR868 Urgent status. PRS then unanimously voted to recommend approval of NPRR868 and to forward to TAC. - SCR793, SSR Related Telemetry for Transmission Service Provider (TSP) Operators [Cross Texas Transmission] Proposed Effective Date: Upon system implementation - Priority 2018; Rank 2190 ERCOT Impact Analysis: Between $40k and $50k; no impacts to ERCOT staffing; impacts to Energy Management System (EMS) and BI & Data Analytics; no impacts to ERCOT business processes; ERCOT grid operations and practices will be updated. Revision Description: This SCR provides situational awareness of Subsynchronous Resonance (SSR) precursor conditions. PRS Decision: On 2/8/18, PRS unanimously voted to recommend approval of SCR793 as revised by PRS. On 3/8/18, PRS unanimously voted to endorse and forward to TAC the 2/8/18 PRS Report and Impact Analysis for SCR793 with a recommended priority of 2018 and a rank of 2190. - SCR795, Addition of Intra-Hour Wind Forecast to GTBD Calculation [ERCOT] Proposed Effective Date: Upon system implementation - Priority 2018; Rank 2200 ERCOT Impact Analysis: Between $30k and $40k; no impacts to ERCOT staffing; impacts to MMS; no impacts to ERCOT business processes; no impacts to ERCOT grid operations and practices. Revision Description: This SCR updates the formula used by the Resource Limit Calculator to calculate the Generation To Be Dispatched (GTBD) value to include the addition of a predicted 5-minute wind ramp (PWRR). PRS Decision: On 2/8/18, PRS voted to recommend approval of SCR795 as submitted. There was one abstention from the Independent Power Marketer (IPM) (Morgan Stanley) Market Segment. On 3/8/18, PRS unanimously voted to endorse and forward to TAC the 2/8/18 PRS Report and Impact Analysis for SCR795 with a recommended priority of 2018 and a rank of 2200. Revision Requests Rejected None Revision Requests Withdrawn None Status of Pending Revision Requests (For Information Purposes Only): Revision Requests Scheduled for Impact Analysis Review and Priority Assignment (if applicable) at the April 12, 2018 PRS Meeting - NPRR837, Regional Planning Group (RPG) Process Reform [ERCOT] - NPRR847, Exceptional Fuel Cost Included in the Mitigated Offer Cap [ERCOT] - NPRR853, Availability of ERCOT Estimated Interval Meter Data [ARM] - NPRR857, Creation of Direct Current Tie Operator Market Participant Role [ERCOT] Revision Requests Deferred or Tabled and/or Pending Input from Another Subcommittee - NPRR807, Day-Ahead Market Price Correction [ERCOT] - NPRR823, Amend the Definition of an Affiliate [Dynegy] - NPRR826, Mitigated Offer Caps for RMR Resources [Citigroup] - NPRR832, Disallow PTP Obligation Bids and DAM Energy Bids that Sink at Private Use Network Settlement Points Without a Load Distribution Factor - URGENT [ERCOT] - NPRR838, Updated O&M Cost for RMR Resources [ERCOT] - NPRR845, RMR Process and Agreement Revisions [ERCOT] - NPRR848, Separate Clearing Prices for RRS [Morgan Stanley] - NPRR849, Clarification of the Range of Voltage Set Points at a Generation Resource’s POI [ERCOT] - NPRR850, Market Suspension and Restart [ERCOT] - NPRR851, Procedure for Managing Disconnections for Bidirectional Electrical Connections at Transmission Level Voltages [GSEC] - NPRR856, Treatment of OFFQS Status in Day-Ahead Make Whole and RUC Settlements [ERCOT] - NPRR862, Updates to Address Revisions under PUCT Project 46369 [ERCOT] - NPRR863, Creation of Primary Frequency Response Service Product and Revisions to Responsive Reserve [STEC] - NPRR866, Mapping Registered Distributed Generation and Load Resources to Transmission Loads in the Network Operations Model [ERCOT] New Revision Requests Scheduled for Consideration at the April 12, 2018 PRS Meeting - NPRR867, Revisions to CRR Auction Credit Lock Amount to Reduce Excess Collateral [Credit WG] These Revision Requests and supporting materials are posted on the ERCOT website at the following link: http://www.ercot.com/mktrules/issues/nprr http://www.ercot.com/mktrules/issues/scr