## Slide 1
FIS Data Fields For RARF Replacement Project
Zach Reich
ERCOT Resource Integration
March 29, 2018

## Slide 2: What is RIOO?
Resource Integration & On-going Operations (RIOO) Application.
NDCRC, Others TBD (PHASE 3)
RARF
Replacement (PHASE 2)
GINR Online (PHASE 1)
RIOO
*Note: Timelines are approximate and subject to change!
End of Q2 2019*
End of Q3 2018*
Notes:   Phase 1 – GINR tool built to handle on-line submissions of generation interconnection requests.
  Phase 2 – RARF replacement effort to remove dependence on spreadsheets.

## Slide 3: Screening Study and FIS Process Flow in RIOO:
Screening Study
Steady State
Short Circuit
Facility*
Stability
*May be ran concurrently with other studies
GINR App.
RARF Replacement for FIS Portion
No more RARF spreadsheets!

## Slide 4: Purpose of TSP Feedback About the FIS?
ERCOT wants to assess the MINIMUM requirements needed by TSPs/TOs to perform a particular study of the FIS.
One thing to note: IEs will NOT be able to request an FIS and move on to the next study within the FIS until those required fields are filled in and validated.
The system will allow IEs to enter additional information at all phases of the process. A TSP can request different fields from the IE as req.
Consideration needs to be made to ensure what we are asking the IE to give us will be known at that time.
ERCOT wants to streamline the process and not require unnecessary FIS information by obtaining TSP feedback on their requirements.

## Slide 5: Key Feedback Discussion Points From TSPs:
Unit Information – Nameplate or maximum gross capability is needed.
Reactive power D curves – More useful for the aggregate system.
Transformers – 2 and 3 winding transformer information and data elements in the RARF Replacement project is needed.
Collector system - (Detailed vs. Aggregate). Varies between TSPs, but many ask for both. Phases of each for each FIS study?
Turbine Details – The MVA base (100MVA or otherwise) is needed.
AUX Load – Generally not necessary if under 1MW. IRRs = little AUX.
Protection/Stability – Correct .DYR & .DYR file validations? PSCAD models are required for all wind farms. Practicality of this because it will be difficult to validate.

## Slide 6: Other Items to Note:
There will be a standard Stakeholder process to deliberate and approve all of these changes.
This is an extremely shortened version of discussion topics. The compiled list and spreadsheet from various TSPs are posted at www.ercot.com.
RIOO will be flexible to add/remove/modify fields as required by Protocols & Planning/Operating Guide Revisions.
Careful consideration on what is actually required for a particular FIS study is critical as is the IEs ability to provide that data.

## Slide 7: FIS Field Elements Spreadsheet Discussion:
Here is the consolidated list of comments from the TSPs on the FIS Field elements: Excel spreadsheet.

## Slide 8: Questions and Contact Info:
Contact(s):
  Zach.Reich@ercot.com
  John.Bernecker@ercot.com
  Jay.Teixeira@ercot.com
  ResourceIntegrationDepartment@ercot.com