## Slide 1: Operations Working Group
Chair- Rick Gillean
Vice-Chair- Rickey Floyd
04/05/2018

## Slide 2: NOGRR 174, AVR and PSS Testing Requirements
This Nodal Operating Guide Revision Request (NOGRR) harmonizes the ERCOT Automatic Voltage Regulator (AVR) and Power System Stabilizer (PSS) testing requirements with the recently approved North American Electric Reliability Corporation (NERC) Standard MOD-026-1, Verification of Models and Data for Generator Excitation Control System or Plant Volt/Var Control Functions. NERC has two Standards that will be effective July 1, 2018 and ERCOT has asked OWG to harmonize the Operating Guides with the NERC Standards and this NOGRR does that. ERCOT was supposed to file comments but has yet to do so. The person who submitted the NOGRR was asked to explain the reason behind removing the number of mothball hours a Resource’s Annual Net Capacity Factor. Ms. Hampton pointed out that the Performance Dynamic Control Working Group (PDCWG) crafted the language and could provide an answer.
OWG recommended to send the NOGRR back to the PDCWG for clarification.

## Slide 3: NPRR849, Clarification of the Range of Voltage Set Points at a Generation Resource’s Point of Interconnection (POI) –
This Nodal Protocol Revision Request (NPRR) clarifies the range of voltages at the Point of Interconnection (POI) and circumstances for which a Generation Resource’s reactive capability must be designed to meet and clarifies the ability of ERCOT and the TSP or its designated agent (e.g. Transmission Operator (TO)) to issue an instruction for any available reactive capability at voltages outside of the reactive capability requirements. ERCOT held a face-to-face meeting on February 23, 2018 where interested parties presented their opinions.
ERCOT will be submitting comments in the next couple of weeks that reflect the results of the workshop.

## Slide 4: NPRR851, Procedure for Managing Disconnections for Bidirectional Electrical Connections at Transmission Level Voltages –
This Nodal Protocol Revision Request (NPRR) was developed to fully implement the market design envisioned in NPRR596, External Load Serving Entities. This NPRR establishes a clearly defined disconnection process within ERCOT market rules applicable to a transmission voltage connection to the ERCOT grid which utilizes one electrical connection for both generation and load services.
A representative with Golden Spread Electric Cooperative (GSEC) and ERCOT presented the compromise language that ERCOT will file as comments to NPRR851, Procedure for Managing Disconnections for Bidirectional Electrical Connections at Transmission Level Voltages. A representative with Oncor offered that the new language reflects what is already in the ERCOT Protocols for competitive areas and also establishes the process for non-competitive areas.
OWG recommended to endorse the language.

## Slide 5: Southern Cross Transmission (SCT) –
Directive 9: Ancillary Services; Issues related to Most Severe Single Contingency (MSSC) and the Margin between Minimum Responsive Reserve Service (RRS) Procurement and Contingency Reserve Requirements.
OWG continues to work on SCT Directive 9. ERCOT’s next steps are to bring back a whitepaper reflecting their recommendations to the next OWG meeting for endorsement.