APPROVED
Minutes of the Reliability Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, March 1, 2018 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Bern, Alan | Oncor |  |
| Bunch, Kevin | EDF Energy Services |  |
| Burke, Tom | Golden Spread |  |
| Coleman, Diana | OPUC | Via Teleconference |
| DeTullio, David | Air Liquide |  |
| Downey, Marty | Electranet Power |  |
| Ee, Danny | Austin Energy |  |
| Goff, Eric | CitiGroup Energy |  |
| Greer, Clayton | Morgan Stanley | Via Teleconference |
| Hampton, Brenda | Luminant |  |
| Hudson, Tony | TNMP |  |
| Koellner, Kris | LCRA |  |
| Kroskey, Tony | Brazos |  |
| Kunkel, Dennis | AEPSC |  |
| Lee, Billy | Garland Power & Light |  |
| Mejia, Arnulfo | Brownsville PUB | Alt. Rep. for E. Alvarez |
| Moore, John | STEC |  |
| Palen, John | Reliant Energy Retail Services | Alt. Rep. for R. Bailey |
| Reed, Cyrus | Sierra Club |  |
| Rollow, Brett | E.ON | Alt. Rep. for J. Ayers-Brasher |
| Shaw, Marka | Exelon | Via Teleconference |
| Staples, Boone | Tenaska Power Services |  |
| Woitt, Wes | CenterPoint Energy |  |

The following Proxy was assigned:

Trieu Vo to Billy Lee

| Guests: |  |  |
| --- | --- | --- |
| Alford, Anthony | CenterPoint Energy | Via Teleconference |
| Bruce, Mark | Cratylus Advisors |  |
| Canamar, Jorge | Sharyland Utilities | Via Teleconference |
| Checkley, Jim | Cross Texas Transmission |  |
| Chhajed, Pushkar | LCRA | Via Teleconference |
| Cobos, Lori | Cobos Law Firm |  |
| Cook, Tim | Cross Texas Transmission | Via Teleconference |
| DeWitt, Charles | LCRA | Via Teleconference |
| Eckhoff, Christina | Texas RE | Via Teleconference |
| Filat, Eddie | Sharyland Utilities | Via Teleconference |
| Galliguez, Percy | Brazos |  |
| Gillean, Rick | Cross Texas Transmission |  |
| Gross, Blake | AEPSC |  |
| Henderson, Norris | FERC | Via Teleconference |
| Hughes, Darren | LCRA | Via Teleconference |
| Indalecio, Samantha | AEPSC | Via Teleconference |
| Isaacs, Andrew | Electranix |  |
| Jablonski, Ward | CenterPoint Energy | Via Teleconference |
| Jones, Liz | Oncor |  |
| Juricek, Mike | Oncor | Via Teleconference |
| Khayat, Maribel | CenterPoint Energy | Via Teleconference |
| Kremling, Barry | GVEC |  |
| Lane, Rob | Oncor |  |
| Li, Jun | CenterPoint Energy | Via Teleconference |
| Loyferman, Larisa | CenterPoint Energy | Via Teleconference |
| Majidi, Mohammad | E.ON | Via Teleconference |
| McElrath, Alex | Uniper Energy | Via Teleconference |
| Melaerts, Sebastien | DTE Energy | Via Teleconference |
| Mercado, David | CenterPoint Energy | Via Teleconference |
| Minchew, Christina | WETT | Via Teleconference |
| Mishra, Nitesh | AEPSC | Via Teleconference |
| Mueller, Paula | Texas RE | Via Teleconference |
| Myers, Brad | AEPSC | Via Teleconference |
| Ochola, Maureen | E.ON | Via Teleconference |
| Paretkar, Piyush | Uniper Energy | Via Teleconference |
| Penney, David | Texas RE | Via Teleconference |
| Powell, Christian | LCRA |  |
| Preas, Dylan | LCRA |  |
| Qureshi, Fahad | CenterPoint Energy | Via Teleconference |
| Ranaweera, Aruna | E.ON |  |
| Ravulapati, Bharath | Cross Texas Transmission | Via Teleconference |
| Reid, Mike | Air Liquide |  |
| Reid, Walter | Wind Coalition |  |
| Rice, Steven | GE | Via Teleconference |
| Santos, Juan | Garland Power & Light | Via Teleconference |
| Sauter, Megan | Oncor | Via Teleconference |
| Schmitt, Jennifer | APGE | Via Teleconference |
| Siddiqi, Shams | Crescent Power Inc. | Via Teleconference |
| Slagel, Ron | MICS | Via Teleconference |
| Smith, Caitlin | Jewell & Associates |  |
| Stanfield, Leonard | Invenergy |  |
| Torres, Paula | Trailstone Group | Via Teleconference |
| Turner, David | Lone Star |  |
| Turner, Lucas | STEC | Via Teleconference |
| Turner, Mina | AEPSC | Via Teleconference |
| Urena, Cris | LCRA | Via Teleconference |
| Weldy, Christopher | Oncor | Via Teleconference |
| White, Lauri | AEPSC |  |
| Wiebe, Jacob | Electranix |  |
| Wittmeyer, Bob | Longhorn Power | Via Teleconference |
| Williams, Scot | Oncor | Via Teleconference |
| Yin, Haiping | Oncor | Via Teleconference |
| Ziembko, Chris | Saracen Energy | Via Teleconference |

| ERCOT Staff: |  |  |
| --- | --- | --- |
| Albracht, Brittney |  |  |
| Billo, Jeff |  |  |
| Blevins, Bill |  | Via Teleconference |
| Bracy, Phil |  |  |
| Butler, Luke |  | Via Teleconference |
| Cheng, Yunzhi |  | Via Teleconference |
| Clifton, Suzy |  | Via Teleconference |
| Conto, Jose |  | Via Teleconference |
| Du, Pengwei |  | Via Teleconference |
| Fohn, Doug |  | Via Teleconference |
| Garcia, Freddy |  | Via Teleconference |
| Han, Jungee |  | Via Teleconference |
| Hartmann, Jimmy |  | Via Teleconference |
| Hilliard, Marie |  | Via Teleconference |
| Kane, Erika |  | Via Teleconference |
| Khan, Muhammad |  | Via Teleconference |
| Knapp, Ethan |  |  |
| Krein, Steve |  | Via Teleconference |
| Landry, Kelly |  | Via Teleconference |
| Lasher, Warren |  | Via Teleconference |
| Lee, Alex |  |  |
| Mago, Nitika |  |  |
| Mereness, Matt |  |  |
| Miller, Megan |  | Via Teleconference |
| Nandigam, Kiran |  | Via Teleconference |
| Phillips, Cory |  |  |
| Rajagopalan, Sidharth |  | Via Teleconference |
| Schmall, John |  |  |
| Solis, Stephen |  | Via Teleconference |
| Stice, Clayton |  |  |
| Teixeira, Jay |  | Via Teleconference |
| Thompson, Chad |  |  |
| Wang, Shawn |  | Via Teleconference |
| Williams, Leslie |  |  |
| Wolf, Craig |  | Via Teleconference |
| Woodfin, Dan |  | Via Teleconference |

Unless otherwise indicated, all Market Segments were present for a vote.

# 2018 ROS Chair Alan Bern called the meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Bern reviewed the ERCOT Antitrust Admonition, which was displayed.

# Agenda Review

Mr. Bern reviewed items scheduled for a vote at this meeting and noted changes to the order for which items would be taken up.

# Approval of Meeting Minutes (see Key Documents)

February 1, 2018

David DeTullio moved to approve the February 1, 2018 ROS Minutes as submitted.  Cyrus Reed seconded the motion.  The motion carried unanimously.

Technical Advisory Committee (TAC) Update and Assignments

Mr. Bern reviewed activities of the February 22, 2018 TAC meeting.

2018 ROS Goals Discussion

Market Participants reviewed and offered updates to the ROS Goals for 2018.

Dennis Kunkel moved to approve the 2018 ROS Goals as revised by ROS.  Mr. DeTullio seconded the motion.  The motion carried unanimously.

ERCOT Updates (see Key Documents)

Monthly COP Error Analysis

Alex Lee reviewed the scope of the Monthly COP Error Analysis which will be included in future monthly Operations Reports to ROS.

Operations Report

Nitika Mago presented the Operations Report for January 2018.

System Planning Report

Jeff Billo presented the January 2018 System Planning Report.

Power System Computer Aided Design (PSCAD) Stability Analysis – Panhandle/Valley (see Key Documents)

Andrew Isaacs reviewed the PSCAD Stability analysis study including statistics relevant to Weighted Short Circuit Ratio (WSCR), Dynamic Performance, voltage regulation, and Load Sensitivity in the Panhandle and Valley regions.  Market Participants discussed the recommendations provided by Electranix and requested additional time be dedicated for further consideration on the topic at a future ROS meeting.

New Protocol Revision Subcommittee (PRS) Referrals

No referrals from February 8, 2018 PRS meeting.

Dynamics Working Group (DWG) (see Key Documents)

Jun Li reviewed recent DWG activities and summarized discussions related to Nodal Operating Guide Revision Request (NOGRR) 174, AVR and PSS Testing Requirements.

Operations Working Group (OWG) (see Key Documents)

Ricky Gillean reviewed recent OWG activities and summarized discussions related to Revision Requests considered at the February 15, 2018 OWG meeting.

Planning Working Group (PLWG) (see Key Documents)

Brad Myers reviewed recent PLWG activities and summarized discussions related to Revision Requests considered at the February 26, 2018 PLWG meeting.

SCT Directive #5

Mr. Myers noted that the PLWG determined that a Planning Guide Revision Request (PGRR) would be required to address details describing when a new DC Tie will be added to the Planning models, and that PLWG will seek endorsement of its recommendations on this Directive at an upcoming ROS meeting.

Performance Disturbance Compliance Working Group (PDCWG) (see Key Documents)

Percy Galliguez reviewed PDCWG discussions regarding various proposals related to the concept of a Primary Frequency Response Service Product, including those outlined in NPRR863, Creation of Primary Frequency Response Service Product and Revisions to Responsive Reserve.  Mr. Galliguez noted that there would be additional time allotted for discussion on this subject during an open session at the March 7, 2018 PDCWG meeting.

SCT Directive #8 Recommendation

Matt Mereness reviewed PDCWG discussions and noted that the group reached a consensus that there would not be a need for the Southern Cross DC Tie or entities scheduling across it to provide governor-like frequency response.  Mr. Mereness added that a recommendation will be presented for ROS endorsement at a future meeting.

Revision Requests Tabled at PRS, Previously Referred to ROS (see Key Documents)

Nodal Protocol Revision Request (NPRR) 837, Regional Planning Group (RPG) Process Reform

Wes Woitt moved to recommend approval of NPRR837 as amended by the 2/16/18 ERCOT comments.  Mr. Kunkel seconded the motion.  The motion carried with two abstentions from the Independent Generator (Exelon) and Independent Power Marketer (IPM) (EDF) Market Segments.

NPRR849, Clarification of the Range of Voltage Set Points at a Generation Resource/s POI

NPRR851, Procedure for Managing Disconnections for Bidirectional Electrical Connections at Transmission Level Voltages

NPRR857, Creation of Direct Current Tie Operator Market Participant Role

NPRR863, Creation of Primary Frequency Response Service Product and Revisions to Responsive Reserve

ROS took no action on these items.

Revision Requests Tabled at ROS

PGRR059, Related to NPRR837, Regional Planning Group Process Reform

Mr. Woitt moved to recommend approval of PGRR059 as amended by the 9/8/17 CenterPoint Energy comments.  Mr. Reed seconded the motion.  The motion carried unanimously.

NOGRR 174, AVR and PSS Testing Requirements

ROS took no action on this item.

NOGRR176, Hotline Call Participation

Clayton Greer moved to recommend approval of NOGRR176 as submitted.  Mr. DeTullio seconded the motion.  The motion carried unanimously.

Review of Revision Request Language & Impact Analyses

PGRR060, Clarification of Reliability Performance Criteria

Market Participants considered the revisions proposed to PGRR060 by the PLWG at its February 26, 2018 meeting.

Mr. DeTullio moved to recommend approval of PGRR060 as revised by ROS.  Mr. Woitt seconded the motion.  The motion carried unanimously.

PGRR061, Related to NPRR866, Mapping Registered Distributed Generation and Load Resources to Transmission Loads in the Network Operations Model

Kris Koellner moved to table PGRR061 refer the issue to PLWG.  Mr. Kunkel seconded the motion.  The motion carried unanimously.

Resource Registration Glossary Revision Request (RRGRR) 017, Related to NPRR866, Mapping Registered Distributed Generation and Load Resources to Transmission Loads in the Network Operations Model

Brenda Hampton moved to table RRGRR017 and refer the issue to PLWG.  Mr. Greer seconded the motion.  The motion carried unanimously.

NPRR866, Mapping Registered Distributed Generation and Load Resources to Transmission Loads in the Network Operations Model

Mr. Greer moved to request PRS table NPRR866 to allow for additional review by the PLWG.  Mr. DeTullio seconded the motion.  The motion carried unanimously.

Steady State Working Group (SSWG) (see Key Documents)

Ward Jablonski reviewed recent SSWG activities.

SSWG Procedure Manual

Mr. Jablonski presented updates to the SSWG Procedure Manual.

Mr. Greer moved to approve the updated SSWG Procedure Manual.  Mr. Woitt seconded the motion.  The motion carried unanimously.

Other Business

Review of Open Action Items

Mr. Bern reviewed updates to the Open Action Items List.

Adjournment

Mr. Bern adjourned the March 1, 2018 ROS meeting at 12:16 p.m.

# Footnotes

# Key Documents referenced in these minutes may be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2018/3/1/139256-ROS