## Slide 1
Changes to the Methodology for Setting Maximum Shadow Prices for Network and Power Balance Constraints
April 30th, 2018

## Slide 2: Change to the Maximum Shadow Price for Base Case Constraints

## Slide 3: Generic Shadow Prices Caps for Transmission Constraints
The vast majority of shadow price caps for transmission constraints is driven by the generic values define in section 3.5 of the methodology:
  Base Case Violation: $5,000/MWh
    Base Case violations include Generic Transmission Constraints (GTCs)
  N-1 Constraint Violation
    345 kV: $4,500/MWh
    138 kV: $3,500/MWh
    69 kV: $2,800/MWh
These values have been the same since Nodal go-live.

## Slide 4: Potential Concerns with the Panhandle GTC
The concern arose out of thinking about the Panhandle GTC and interactions with the System-Wide Offer Cap (SWCAP) of $9,000/MWh.
  The Panhandle GTC currently has a shadow price cap of $5,000/MWh.
If the Panhandle GTC needed to be managed in a case in which real-time energy prices outside the Panhandle rose to values above ~$5,000/MWh, economic dispatch would no longer be managing the constraint on its own.
  Exceeding the GTC’s limits could have a significant impact on the stability of the entire Panhandle region.
  The prices above $5,000/MWh could be for a short or long period.
This same situation exists for all base case constraints, although the impact may not be the same.

## Slide 5: Panhandle Wind Curtailments for 2018
Chart: MWs of Panhandle Wind Curtailment for 1/1/18 - 4/18/18 Intervals in which the Panhandle GTC was Binding
| 0-100 | 100-200 | 200-300 | 300-400 | 400-500 | 500-600 | 600-700 | 700-800 | 800-900 | 900-1000 | 1000-1100 | 1100-1200
 | 64.5844 | 83.8592 | 94.4642 | 112.1694 | 123.2939 | 128.2833 | 121.6206 | 110.14 | 65.8928 | 49.8267 | 9.1914 | 0.91444
~964 total hours

## Slide 6: Proposed Change
The proposed change is to make the generic value $9,251/MWh for all base case violations, as opposed to $5,000/MWh.
This would require some minor changes to section 3.5 of the methodology, both the generic value and the associated analysis and examples.

## Slide 7: Historical Intervals with Base Case Constraints at the Shadow Price Cap
Chart: 
It’s uncommon for base case constraints to be at the shadow price cap.
  Less that 40 hours since Nodal Go-Live
We’ve not yet observed cases in which system lambda was above $5,000/MWh and a base constraint was active.
Molina GTC
Bakersfield GTC
Line 6332__A
The two GTCs have since been retired and the transmission line congestion was associated with a planned outage.

## Slide 8: Power Balance Penalty Curve Proposal from Morgan Stanley

## Slide 9: Comparing the Current Curve and the Curve Proposed by Morgan Stanley
Chart: MW Violation
| 0 | 5 | 5 | 10 | 10 | 20 | 20 | 30 | 30 | 40 | 40 | 50 | 50 | 75 | 75 | 100 | 100 | 150 | 150 | 200 | 200 | 500
Current | 250 | 250 | 300 | 300 | 400 | 400 | 500 | 500 | 1000 | 1000 | 2250 | 2250 | 4500 | 4500 | 4500 | 4500 | 6000 | 6000 | 7500 | 7500 | 9001 | 9001
Proposed | 250 | 250 | 300 | 300 | 400 | 400 | 500 | 500 | 1000 | 1000 | 2250 | 2250 | 4500 | 4500 | 7000 | 7000 | 9001 | 9001 | 9001 | 9001 | 9001 | 9001