## Slide 1
Impact of PTP Obligations with links to Options on RENA and DAM Congestion Rent
Jian Chen
Market Analysis and Validation
CMWG
April 30th, 2018

## Slide 2: Impact of PTP with links to Options
DAM Point-to-Point Obligations with links to Options
When DAM clears the PTP Obligations with links to Options, they are treated as other normal PTP Obligations in the DAM optimization engine. However, they will be settled in DAM and Real-Time as only the positive difference between the sink and source Settlement Point Prices, much like Options. As the result, they will:
  Cause missing RT revenue when there is negative difference between the sinks and sources in RT Market
  Cause extra DAM congestion rent to CRR fund when there is negative difference between the sinks and sources in DAM

## Slide 3: Impact of PTP w links to Options since NPRR322
NPRR322 “Real-Time PTP Option Modeling” was implemented on 2/14/2013.
Year | Missing RT Revenue ($ million) | Extra DAM Congestion Rent ($ million)
2013* | -15.2 | 7.6
2014 | -25.1 | 11.4
2015 | -16.5 | 6.5
2016 | -24.0 | 17.5
2017 | -40.4 | 22.0
2018** | -24.5 | 4.0
Total | -145.8 | 69.1
* The study period for 2013 is from 2/15/2013 to 12/31/2013
** The study period for 2018 is from 1/1/2018 to 3/31/2018

## Slide 4: Missing RT Revenue vs. Extra DAM Congestion Rent
Chart: Missing RT Revenue vs. Extra DAM Congestion Rent
| 2013* | 2014 | 2015 | 2016 | 2017 | 2018*
Missing RT Revenue | 15212032.82 | 25141739.2926 | 16510519.4832 | 23995037.3362 | 40428295.1331 | 24510079.0187
Extra DAM Congestion Rent | 7653489.091 | 11379677.803 | 6532403.963 | 17527195.869 | 22003194.86 | 4037863.382