## Slide 1
Transmission Project Information Tracking
(TPIT)

## Slide 2: Goals
Review the purpose of TPIT
TPIT update process
Final versions and posting locations
TPIT update schedule

## Slide 3: Purpose of TPIT
The purpose of the ERCOT Transmission Project and Information Tracking (TPIT) is to track the status of transmission level projects (60kV and above) that have a material impact to the flow of power in the ERCOT system.
The TPIT process communicates the status to the stakeholders through the TPIT workbook. Information provided in the TPIT workbook are transmission projects and their information modeled in the planning database in accordance with current TSP plans as well as additional information; such as the Regional Planning Group (RPG) Review Project Tier and the review status of each project.

## Slide 4: TPIT Update Process
For each update period, ERCOT will email the TPIT workbook to the SSWG distribution list, reflecting the current state of their projects and TPIT information.
In conjunction with SSWG base case building passes, each TSP reviews TPIT and makes the appropriate TPIT information and modeling updates.
At the end of each SSWG case update/build pass, a TPIT workbook will be sent to the SSWG distribution list that reflects any updates during that pass and the SSWG cases.

## Slide 5: Final TPIT
TPIT with Cost
Distributed by email to SSWG listserv
TPIT without Cost
From the final TPIT, the TPIT without Cost workbook is created that includes the Cost Summary Report and is posted on the ERCOT website under Grid Information and Planning.

## Slide 6: TPIT Timeline
TPIT updates are performed in accordance with the SSWG schedule for updating/building steady-state cases.
The schedule below shows the approximate SSWG case update/build cycle.
TPIT Workbooks distributed by ERCOT: | January 1 | March 1 |  |  | August 1
TSP Update modeling and TPIT Data : | As needed during SSWG case update/build |  |  |  | 
TPIT In-service Date: | February 1 |  | June 1 | October 1 | 
SSWG Case Update/Build Complete: | March 1 |  | July 1 |  | 
 |  |  |  | October 15 | 
Final TPIT sent to TSPs: |  |  |  |  | 
ERCOT Publish No Costs TPIT to ERCOT.com: |  |  |  |  |