## Slide 1
PDCWG Report to ROS
Chair: Percy Galliguez, Brazos Electric Power Cooperative, Inc.
Vice Chair: Chad Mulholland, NRG
ROS
May 3rd, 2018

## Slide 2: Report Overview & Notes
Report Overview
  Meeting Minutes
  BAL-001-TRE-1 FMEs & IMFR
    2 FMEs in the month of March
  Frequency Control Report

## Slide 3: Meeting Minutes
PDCWG Meeting 04/11/18
  NPRR863 – Separation of PFR and RRS Ancillary Service. No Updates to NPRR863 provided by STEC Cliff Lange but discussed reliability concerns to 0.036Hz frequency deadband change.
  NOGRR-174 Status and Update. Reviewed ERCOT language changes to be reviewed next by OWG.
  Regulation & Frequency Control Reports
  BAL-001-TRE-001
    Operating Condition Guidelines for PFR Performance
    LCRA-Combined Cycle Steam Droop setting clarification or possible SAR
    Performance Evaluation to check for pass/fail before scoring(Reschedule for next meeting.
    No Evaluation of Resources below LSL(Reschedule for next meeting)

## Slide 4: Frequency Measurable Events Performance

## Slide 5: Frequency Measurable Events
There were 2 FMEs in March
  3/5/2018 06:51:19
    Loss of 513 MW
    Interconnection Frequency Response:
    7 of 53 (1 of 22 RRS Providers) Evaluated Generation Resources had less than 75% of their expected Initial Primary Frequency Response.
    7 of 53( 2 of 22 RRS Providers) Evaluated Generation Resources had less than 75% of their expected Sustained Primary Frequency Response.
  3/24/2018 20:47:14
    Loss of 797 MW
    Interconnection Frequency Response:
    5 of 56(1 of 30 RRS Providers) Evaluated Generation Resources had less than 75% of their expected Initial Primary Frequency Response.
    5 of 56(1 of 30 RRS Providers) Evaluated Generation Resources had less than 75% of their expected Sustained Primary Frequency Response.

## Slide 6: Interconnection Minimum Frequency Response (IMFR) Performance
IMFR Performance currently 1151.05 MW/0.1Hz

## Slide 7: Frequency Control Report
March 2018

## Slide 8: CPS1 Performance

## Slide 9: RMS1 Performance of ERCOT Frequency

## Slide 10: Frequency Profile Analysis

## Slide 11: Time Error Corrections
There were no Time Error Corrections (TEC) in March

## Slide 12: ERCOT Total Energy

## Slide 13: ERCOT Total Energy from Wind Generation

## Slide 14: ERCOT % Energy from Wind Generation

## Slide 15
Questions?