ERCOT VOLTAGE PROFILE WORKING GROUP (VPWG)

## May 2018 Report to ROS

### Recent Meeting April 10

- VPWG is working on SUM/FALL Voltage Profiles and TOs have been actively engaged in tuning the cases and resolving the voltage concerns

- Unusual Limitations on CURLS: VPWG discussed checking of the unit D-Curves submitted with reactive tests and RARF information

- Brad Woods from Texas RE presented on voltage requirements in the NERC Standards

- NPRR776: As of April 10, ERCOT was still waiting on 5-6 TOs for target and measurement values. QSEs/Generators working with ERCOT and TOs on receiving data thru ICCP/SCADA.

- May 31 deadline for QSE provisions to plants (ICCP/SCADA, displays, procedures, etc.)

- All TOs, QSEs and Generators need to update their displays, procedures, training

- TO Update on NPRR776 Implementation:  CPS Energy and AEP shared internal implementation of NPRR776 displays and processes for data or errors

### Future Planned Meeting

- Next VPWG will be held on May 22.

Sharmila Gurrala	Matthew Lewis

VPWG Chair	VPWG Vice-Chair