## Slide 1: Operations Working Group
Chair- Rick Gillean
Vice-Chair- Rickey Floyd
05/03/2018

## Slide 2: Leadership Change
OWG re-nominated Rick Gillean as Chair for the remainder of 2018. This re-nomination was necessary due to Rick changing employment to another entity.

## Slide 3: NOGGR 174, AVR and PSS testing requirements
This Nodal Operating Guide Revision Request (NOGRR) harmonizes the ERCOT Automatic Voltage Regulator (AVR) and Power System Stabilizer (PSS) testing requirements with the recently approved North American Electric Reliability Corporation (NERC) Standard MOD-026-1, Verification of Models and Data for Generator Excitation Control System or Plant Volt/Var Control Functions.
OWG recommended to endorsed the language.

## Slide 4: NOGGR 177, Related to NPRR857, Creation of Direct Current Tie Operator Market Participant Role
This Nodal Operating Guide Revision Request (NOGRR) revises the Nodal Operating Guide (NOG) to be consistent with NPRR857 language relating to Directive 1 of Public Utility Commission of Texas (PUCT) Docket No. 46304-3, Oversight Proceeding Regarding ERCOT Matters arising out of Docket No. 45624 (Application of the City of Garland to Amend A Certificate of Convenience and Necessity for the Rusk to Panola Double-Circuit 345-KV Transmission Line in Rusk and Panola Counties).
OWG recommended to endorse the language.

## Slide 5: NOGGR 178, Clarification of Automatic Under-Frequency Load Shed Requirement
This Nodal Operating Guide Revision Request (NOGRR) clarifies language relating to automatic Load shedding.
OWG has no comments and recommended to move the NOGGR back to ROS for a vote.

## Slide 6: PGRR 61, Mapping Registered Distributed Generation and Load Resources to Transmission Loads in the Network Operations Model
This Planning Guide Revision Request (PGRR) includes changes to the Annual Load Data Request (ALDR) process to include locations for registered Distributed Generation (DG) facilities.
OWG has no operational concerns.

## Slide 7: Southern Cross Transmission (SCT) –
Directive 9: Ancillary Services; Issues related to Most Severe Single Contingency (MSSC) and the Margin between Minimum Responsive Reserve Service (RRS) Procurement and Contingency Reserve Requirements.
OWG continues to work on SCT Directive 9. SCT will address OWG with comments at the next meeting.