## Slide 1: PLWG Report to ROS
(May 3rd, 2018)
PLWG Chair: Brad Myers, AEPSC
PLWG Vice Chair: Jennifer Rochelle, CES-LTD

## Slide 2: NPRR-866/PGRR-061/RRGRR-017 (Registered DER Mapping)
Taken Up By PLWG: 2/26, 3/27, & 4/25
4/25 PLWG Discussion:
  Necessity of NPRR and PGRR
  Clarification of Roles and Responsibilities (DSP vs TSP)
  Reviewed Intended Validation Process
  Made Associated Terminology Edits
Status:
  Close to PLWG Consensus on NPRR, PGRR, & RRGRR
  PLWG Requests One Additional Month
    Review and Formalize 4/25 Desktop Edits

## Slide 3: TPIT Process Updates (1)
Borne Out of NPRR837 (RPG Updates) Development
4/25 ERCOT Presentation
  TPIT & Case-Building: Purpose, Ties, and Timelines
Market Desires
  More Frequent Updates
  TPIT with Cost Information
  Enhanced Project Based Outage Information
    Planning Realm as Opposed to Operational
  Greater Visibility to Large Point Load Additions

## Slide 4: TPIT Process Updates (2)
Alternative Report Considerations
  PUC Monthly Construction Reports
  ERCOT Outage Reports
  RPG Filings
Status:
  Ongoing PLWG Agenda Item
  Review Draft PGRR Language (May PLWG)

## Slide 5: PGRR-062 (GINR Process Updates)
New GINR Database & System Application
  PGRR Inserts GINR Database/App into PG Section 5 as:
    Central Communication Vehicle (IEs, ERCOT, TSPs)
    Source of Record for RARF Data
  Ongoing ERCOT-Hosted Resource Integration Workshops
  External Go-Live: Anticipated 4Q2018
4/25 PLWG Initial Review
  PLWG Desktop Edits + Additional Offline Updates Required
Status:
  Anticipate Future ERCOT Comments
  Second PLWG Review in May