## Slide 1: Planning Geomagnetic Disturbance Task Force (PGDTF) Update to the ROS
May 3, 2018
Dylan Preas
PGDTF Chair
<number>
5/3/2018 ROS Meeting

## Slide 2: GIC System Model Working Session (Geo-magnetically Induced Currents)
TSP-only working session on April 12th (afternoon) and April 13th
Reviewed GIC flow results for TSPs/REs submitted data
Made corrections/updates to the GIC System Model
Ended with a “combined master GIC System Model”
TSP submitted final pass model updated on April 20th
<number>
5/3/2018 ROS Meeting

## Slide 3: RARF Submission Update
RE’s submit GIC System Model data via the RARF
Transformer data provided via the RARF is 96.7%
ERCOT has added GIC data from “pending RARFs”
Vector group identifiers continue to be a problem
5/3/2018 ROS Meeting
<number>
Notes: Transformer data up from 95.8%
<number>

## Slide 4: NERC TPL-007-1 R2
Each responsible entity, as determined in Requirement R1, shall maintain System models and GIC System models of the responsible entity’s planning area for performing the study or studies needed to complete GMD Vulnerability Assessment(s).
NERC enforceable on July 1, 2018
ERCOT is developing an internal process for maintenance of the GIC System Models for the ERCOT region
TSPs will submit GIC System Model data via data requests
5/3/2018 ROS Meeting
<number>

## Slide 5: Planning Guide Section 6: Data/Modeling (included as part of R2 discussion – if needed)
6.11 Process for Developing Geomagnetically-Induced Current (GIC) System Models
(1) To adequately simulate Geomagnetic Disturbance (GMD) events, it is necessary to establish and maintain GIC system models and conduct geomagnetic disturbance vulnerability assessments to determine whether the ERCOT System can withstand performance requirements of the benchmark geomagnetic disturbance event described in North American Electric Reliability Corporation (NERC) Reliability Standards. These models, known as GIC base cases, shall contain appropriate system data, and shall represent projected system conditions that provide a starting point for the required year(s).
(a) Transmission Service Providers (TSPs) and ERCOT shall develop the GIC base cases. These base cases are derived from the steady-state base cases developed by Steady-State Working Group (SSWG) for the near-term transmission planning horizon to ensure consistency between the system topology in the SSWG base cases and GIC system models.
(b) Each TSP, or its Designated Agent, shall provide its respective transmission network GIC model data in accordance with the GIC System Model Procedure Manual.
(c) Each Resource Entity, or its Designated Agent, shall provide its respective Resource Entity-owned generating units, plants, transmission lines, shunt devices and Generation Step Ups (GSUs) connected to the ERCOT System in accordance with the GIC System Model Procedure Manual and the Resource Registration Glossary.
(d) ERCOT shall aggregate the GIC system model data supplied by each TSP and Resource Entity and shall compile and maintain the GIC system models. Upon completion of compiling the data for the GIC base cases, ERCOT shall post these cases on the ERCOT Market Information System (MIS) Certified Transmission Service Provider Information page for review and comments as described in the GIC System Model Procedure Manual.
(e) Guidelines and formats for the GIC system model data and model maintenance can be found in the GIC System Model Procedure Manual.
(f) GIC data is considered Protected Information pursuant to Protocol Section 1.3, Confidentiality.
5/3/2018 ROS Meeting
<number>

## Slide 6: NERC TPL-007-1 R3
5/3/2018 ROS Meeting
<number>

## Slide 7: Upcoming PGDTF Activities
PGDTF Business Meetings on May 10th
  Open meeting
  Update to the ERCOT process for maintaining the GIC System Model (R2)
  Review GMD Vulnerability Assessment Scope
  TSP comments due on April 20th
  TAMU GIC Monitoring Presentation
  Power grid research to deploy real-time a real-time magnetometer and GIC monitor network in Texas
<number>
5/3/2018 ROS Meeting

## Slide 8: Questions
<number>
5/3/2018 ROS Meeting