APPROVED
Minutes of the Reliability Operations Subcommittee (ROS) Meeting

ERCOT Austin – 7620 Metro Center Drive – Austin, Texas 78744

Thursday, April 5, 2018 – 9:30 a.m.

| Attendance |  |  |
| --- | --- | --- |
| Members: |  |  |
| Ayers-Brasher, Jennifer | E.ON |  |
| Bern, Alan | Oncor |  |
| Bunch, Kevin | EDF Energy Services |  |
| Burke, Tom | Golden Spread |  |
| Carter, Matt | Garland Power & Light |  |
| Coleman, Diana | OPUC | Via Teleconference |
| DeTullio, David | Air Liquide |  |
| Downey, Marty | Electranet Power |  |
| Fahey, Matt | Dynegy | Via Teleconference |
| Greer, Clayton | Morgan Stanley |  |
| Hampton, Brenda | Luminant |  |
| Hudson, Tony | TNMP |  |
| Koellner, Kris | LCRA |  |
| Kroskey, Tony | Brazos |  |
| Kunkel, Dennis | AEPSC |  |
| Moore, John | STEC |  |
| Perez, Eliazar | Brownsville PUB | Alt. Rep. for E. Alvarez |
| Reed, Cyrus | Sierra Club |  |
| Shaw, Marka | Exelon |  |
| Staples, Boone | Tenaska Power Services |  |
| Vasquez, Paul | Austin Energy | Alt. Rep. for D. Ee |
| Vo, Trieu | CPS Energy |  |
| Woitt, Wes | CenterPoint Energy |  |

| Guests: |  |  |
| --- | --- | --- |
| Alford, Anthony | CenterPoint Energy | Via Teleconference |
| Blackburn, Don | CenterPoint Energy | Via Teleconference |
| Bruce, Mark | Cratylus Advisors |  |
| Checkley, Jim | Cross Texas Transmission |  |
| Cook, Tim | Cross Texas Transmission | Via Teleconference |
| Corpuz, Genardo | LCRA |  |
| Daigneault, Ralph | Potomac Economics |  |
| Donohoo, Ken | EPE Consulting | Via Teleconference |
| Eckhoff, Christina | Texas RE | Via Teleconference |
| Galliguez, Percy | Brazos |  |
| Gillean, Rick | Cross Texas Transmission |  |
| Gross, Blake | AEPSC |  |
| Gurrala, Sharmila | CPS Energy | Via Teleconference |
| Henderson, Norris | FERC | Via Teleconference |
| Henson, Martha | Oncor |  |
| Hughes, Darren | LCRA | Via Teleconference |
| Jablonski, Ward | CenterPoint Energy | Via Teleconference |
| Juricek, Mike | Oncor | Via Teleconference |
| Kee, David | CPS Energy |  |
| Khayat, Maribel | CenterPoint Energy | Via Teleconference |
| Kremling, Barry | GVEC |  |
| Lane, Rob | Oncor |  |
| Lange, Clif | STEC | Via Teleconference |
| Myers, Brad | AEPSC | Via Teleconference |
| Powell, Christian | LCRA |  |
| Preas, Dylan | LCRA |  |
| Robinson, Rhonda | Calpine | Via Teleconference |
| Rochelle, Jennifer | CES |  |
| Schwarz, Brad | Sharyland Utilities | Via Teleconference |
| Siddiqi, Shams | Crescent Power Inc. | Via Teleconference |
| Sithuraj, Murali | Austin Energy |  |
| Smith, Caitlin | Jewell & Associates |  |
| Stanfield, Leonard | Invenergy |  |
| Urquidez, Omar | CenterPoint Energy | Via Teleconference |
| White, Lauri | AEPSC |  |
| Whitworth, Doug | Texas RE | Via Teleconference |
| Wittmeyer, Bob | Longhorn Power | Via Teleconference |
| Williams, Scot | Oncor | Via Teleconference |

| ERCOT Staff: |  |  |
| --- | --- | --- |
| Albracht, Brittney |  |  |
| Bezzam, Joseph |  | Via Teleconference |
| Billo, Jeff |  |  |
| Bracy, Phil |  |  |
| Du, Pengwei |  | Via Teleconference |
| Hanson, Kevin |  | Via Teleconference |
| Hartmann, Jimmy |  | Via Teleconference |
| Huang, Fred |  | Via Teleconference |
| Landry, Kelly |  | Via Teleconference |
| Mago, Nitika |  |  |
| Matlock, Robert |  | Via Teleconference |
| Mereness, Matt |  |  |
| Phillips, Cory |  |  |
| Pierce, Evan |  |  |
| Sanchez, Daniel |  | Via Teleconference |
| Stice, Clayton |  |  |
| Teixeira, Jay |  |  |
| Thomas, Shane |  |  |
| Thompson, Chad |  |  |
| Woodfin, Dan |  |  |
| Xiao, Hong |  | Via Teleconference |

Unless otherwise indicated, all Market Segments were present for a vote.

- 2018 ROS Chair Alan Bern called the meeting to order at 9:30 a.m.

Antitrust Admonition

Mr. Bern reviewed the ERCOT Antitrust Admonition, which was displayed.

- Agenda Review

Mr. Bern reviewed items scheduled for a vote at this meeting and noted changes to the order for which items would be taken up.

- Approval of Meeting Minutes (see Key Documents)

March 1, 2018

Dennis Kunkel moved to approve the February 1, 2018 ROS Minutes as submitted.  David DeTullio seconded the motion.  The motion carried unanimously.

Technical Advisory Committee (TAC) Update and Assignments

Tom Burke reviewed activities of the March 22, 2018 TAC meeting.

ERCOT Updates (see Key Documents)

Operations Report

Nitika Mago presented the Operations Report for February 2018.

System Planning Report

Jeff Billo presented the February 2018 System Planning Report.

New Protocol Revision Subcommittee (PRS) Referrals

Nodal Protocol Revision Request (NPRR) 866, Mapping Registered Distributed Generation and Load Resources to Transmission Loads in the Network Operations Model

Wes Woitt moved to request PRS table NPRR866 to allow further review by the Planning Working Group (PLWG).  Mr. Kunkel seconded the motion.  The motion carried unanimously.

Revision Requests Tabled at PRS, Previously Referred to ROS (see Key Documents)

NPRR849, Clarification of the Range of Voltage Set Points at a Generation Resource’s POI

NPRR863, Creation of Primary Frequency Response Service Product and Revisions to Responsive Reserve

ROS took no action on these items.

NPRR851, Procedure for Managing Disconnections for Bidirectional Electrical Connections at Transmission Level Voltages

Mr. Burke stated that there were additional comments expected to be filed for NPRR851 and that ROS could choose to wait to take action on this item until the next meeting.  Some Market Participants suggested that the proposed revisions could be considered at PRS without the need for additional review by ROS.  There were no objections.

Mr. Burke moved to recommend approval of NPRR851 as amended by the 3/22/18 ERCOT comments.  Clayton Greer seconded the motion.  The motion carried unanimously.

Review of Revision Request Language & Impact Analyses

Nodal Operating Guide Revision Request (NOGRR) 177, Related to NPRR857, Creation of Direct Current Tie Operator Market Participant Role

Brenda Hampton moved to table NOGRR177 and refer the issue to the Operations Working Group (OWG).  Mr. DeTullio seconded the motion.  The motion carried unanimously.

NOGRR178, Clarification of Automatic Under-Frequency Load Shed Requirement

Matt Mereness provided an overview of NOGRR178.

Wes Woitt moved to table NOGRR178 and refer the issue to the OWG.  Mr. Kunkel seconded the motion.  The motion carried unanimously.

Planning Guide Revision Request (PGRR) 062, Updates to GINR Process

Mr. Burke moved to table PGRR062 and refer the issue to PLWG.  Mr. Greer seconded the motion.  The motion carried unanimously.

NOGRR176, Hotline Call Participation

PGRR059, Related to NPRR837, Regional Planning Group (RPG) Process Reform

PGRR060, Clarification of Reliability Performance Criteria

Market Participants reviewed impact analyses for NOGRR176, PGRR059, and PGRR060.

Diana Coleman moved to endorse and forward to TAC the 3/1/18 ROS Reports and associated Impact Analyses for NOGRR176, PGRR059, and PGRR060.  Mr. Greer seconded the motion.  The motion carried unanimously.

Revision Requests Tabled at ROS

NOGRR174, AVR and PSS Testing Requirements

Resource Registration Glossary Revision Request (RRGRR) 017, Related to NPRR866 Mapping Registered Distributed Generation and Load Resources to Transmission Loads in the Network Operations Model

ROS took no action on these items.

PGRR061, Related to NPRR866 Mapping Registered Distributed Generation and Load Resources to Transmission Loads in the Network Operations Model

Market Participants discussed availability and tracking of Distributed Energy Resource (DER) connection location data including updates for temporary and permanent moves.  Mr. Bern referred the item to the OWG for further consideration.

OWG (see Key Documents)

Rick Gillean reviewed recent OWG activities.

SCT Directive #5 Recommendation (see Key Documents)

Mr. Mereness reviewed the recommendation for Planning Model considerations relevant to Southern Cross Transmission’s entrance into ERCOT as discussed at recent PLWG meetings, noting that a PGRR will be necessary to address when a new DC tie would be added to the Planning Models.

Mr. Greer moved to endorse the recommendation for SCT Directive 5, Planning Model Considerations.  Mr. DeTullio seconded the motion.  The motion carried unanimously.

Performance Disturbance Compliance Working Group (PDCWG) (see Key Documents)

Percy Galliguez reviewed recent PDCWG activites.

SCT Directive #8 Recommendation

Mr. Mereness reviewed discussions regarding frequency response and voltage support relevant to the Southern Cross DC Tie.  Mr. Mereness noted the PDCWG determined that there would not be a need for the Southern Cross DC Tie or entities scheduling across it to provide governor-like frequency response.

Kevin Bunch moved to endorse the recommendation for SCT Directive 8, Frequency Response and Voltage Support.  Marty Downey seconded the motion.  The motion carried unanimously.

Voltage Profile Working Group (VPWG) (see Key Documents)

Sharmila Gurrala reviewed recent VPWG activities.

Steady State Working Group (SSWG) (see Key Documents)

Ward Jablonski reviewed recent SSWG activities.

Planning Geomagnetic Disturbance Task Force (PGDTF) (see Key Documents)

Dylan Preas reviewed recent PGDTF activities.

Black Start Working Group (BSWG)

Evan Pierce reviewed highlights of recent Black Start training events.

Operations Training Working Group (OTWG)

Mr. Pierce reviewed recent OTWG activities.

System Protection Working Group (SPWG) (see Key Documents)

Genardo Corpuz reviewed recent SPWG activities.

Outage Coordination Working Group (OCWG)

Martha Henson reviewed activities of the March 14, 2018 OCWG meeting and summarized discussions regarding economic considerations for major planned outages and potential to minimize impacts to the market.  Ms. Henson noted that many Transmission and/or Distribution Service Providers (TDSPs) already make their own efforts to reduce outage-related market impacts, and that it would be difficult to prescribe a single solution for all TDSPs due to their varying needs and capabilities.

Other Business

Mr. Bern encouraged Market Participants to prepare questions relevant to the PSCAD Analysis presented to ROS in April for discussion at the May 3, 2018 ROS  meeting.

Review of Open Action Items

Mr. Bern reviewed updates to the Open Action Items List.

Adjournment

Mr. Bern adjourned the April 5, 2018 ROS meeting at 11:39 a.m.

- Key Documents referenced in these minutes may be accessed on the ERCOT website at:

http://www.ercot.com/calendar/2018/4/5/139260-ROS